## Basic_Data
20/02/2023 - Environment and Site details - Please note: The proposed phosphorus limits stated in this spreadsheet will be confirmed during NRW's review of permit process.
SAC catchment | River | WWTW | Permit number | Asset number | Discharge location | WB ID | SAC or WFD waterbody | discharge to failing or passing SAC WB stretch- Y/N | Current PE | Current P limit | DWF m3/day | above 20m3 - Yes No | Proposed P permit (Approximators) | Estimated load removed [kg/day]
Dee | Alyn - Leadmill to Hope | MOLD STW | CM0031001 | 491 | SJ2475063140 | GB111067052172 | WFD | WFD | 21275.5932 | 1 | 4125 | Y | No permit change needed | 0
Dee | Morwynion | MINYRHOS (BRYN EGLWYS) SEWAGE TREATME | CM0027201 | 493 | SJ1469047440 | GB111067052100 | WFD | WFD | 25.267 | No permit | 0 | N | No requirement | 0
Usk | Caerfanell - source to conf R Usk | ABER STW | AA0026701 | 30794 | SO1058021480 | GB109056033000 | SAC | Fail | 549.1703 | No permit | 0 | Y | 5 | 0
Usk | Usk conf Afon Crawnon to conf Gavenny R | ABERBAIDEN STW | AB0034101 | 30795 | SO2634614778 | GB109056040082 | SAC | Pass | 4981.9085 | No permit | 1535 | Y | 5 | 0
Tywi | Tywi (Llandovery Bran to Cothi confl) | GOLDEN GROVE SEWAGE TREATMENT WORKS | BJ0078801 | 50625 | SN5891921384 | GB110060036250 | SAC | Pass | 54.6493 | No permit | 10.8 | N | No requirement | 0
Teifi | Cych - headwaters to confluence with Teifi | Abercych Wastewater Treatment Works | BG0034501 | 50527 | SN2215041050 | GB110062039041 | SAC | Fail | 192.5976 | No permit | 34.4 | Y | 5 | 0
Tywi | Gorlech - headwaters to confluence with Cothi | ABERGORLECH WASTEWATER TREATMENT WORK | BN0007002 | 50529 | SN5867133790 | GB110060036030 | WFD | WFD | 44.0756 | No permit | 25.7 | Y | 5 | 0
Dee | Dee - Ceiriog to Alwen | LLIDIART ANNIE STW | CM0013201 | 515 | SJ1882044450 | GB111067052060 | SAC | Fail | 39.6399 | No permit | 15.2 | N | No requirement | 0
Upper Wye | Afon Llynfi - conf Dulas Bk to conf R Wye | ABERLLYNFI (THREE COCKS) STW | AW1000301 | 30797 | SO1731037860 | GB109055036950 | SAC | Fail | 338.9113 | No permit | 66 | Y | 3.5 | 0.12375
Tywi | Cothi - headwaters to confluence with Twrch | PUMPSAINT STW | BN0077401 | 50753 | SN6585140558 | GB110060036050 | WFD | WFD | 30.7933 | No permit | 16.5 | N | No requirement | 0
Dee | Alyn - Leadmill to Hope | TREUDDYN LODGE VILLAS STW | CM0027701 | 529 | SJ2633058220 | GB111067052172 | WFD | WFD | 12.8981 | No permit | 0 | N | No requirement | 0
Teifi | Teifi - Afon Clettwr to Afon Ceri | ADPAR WWTW ADPAR CEREDIGION | BN0112801 | 50533 | SN3049640814 | GB110062043564 | SAC | Fail | 1799.2625 | No permit | 535 | Y | 5 | 0
Dee | Dee - Alwen to Llyn Tegid | LLANFOR STW | CM0160701 | 549 | SH9434036560 | GB111067052240 | SAC | Pass | 120.6959 | No permit | 0 | N | No requirement | 0
Meir | Glaslyn - upstream Colwyn | ABER (NANT GWYNANT) | CG0071301 | 507 | SH6322051120 | GB110065053960 | SAC | Not Assessed | 13.8396 | No permit | 0 | N | No requirement | 0
Dee | Terrig | GRAIANRHYD SEWAGE WORKS | CM0188501 | 663 | SJ2152056070 | GB111067051800 | WFD | WFD | 36.3892 | No permit | 10 | N | No requirement | 0
West Cleddau | Spittal Brook - headwaters to conf with W. Cleddau | AMBLESTON STW | BG0001101 | 50537 | SN0037025240 | GB110061031350 | SAC | Fail | 92.7717 | No permit | 30.5 | Y | 5 | 0
Dee | Dee - Alwen to Llyn Tegid | BALA WWTW | CM0001501 | 508 | SH9378235552 | GB111067052240 | SAC | Pass | 3360.1746 | No permit | 689 | Y | 4 | 0.86125
Dee | #N/A | FENNS BANK STW | CM0095101 | 674 | SJ5123039010 | GB111067052200 | WFD | WFD | 22.022 | No permit | 0 | N | No requirement | 0
Dee | Dee - Chester Weir to Ceiriog | BANGOR ON DEE STW | CM0060701 | 728 | SJ3950046040 | GB111067057080 | SAC | Pass | 999.7382 | No permit | 229 | Y | 5 | 0
Dee | Dee - Chester Weir to Ceiriog | ERBISTOCK STW | CM0112101 | 676 | SJ3547042030 | GB111067057080 | SAC | Pass | 13.8962 | No permit | 1.8 | N | No requirement | 0
Meir | Glaslyn - Nanmor to Colwyn | BEDDGELERT WWTW | CG0024001 | 715 | SH5918047472 | GB110065053910 | SAC | Pass | 708.4402 | No permit | 250.8 | Y | 5 | 0
Dee | Dee - Ceiriog to Alwen | WHITEHURST STW | CM0094201 | 688 | SJ2905040030 | GB111067052060 | SAC | Fail | 22.4923 | No permit | 0 | N | No requirement | 0
Dee | Alwen - Ceirw to Brenig | BETTWS GWERFIL GOCH SEWAGE TREATMENT | CM0026601 | 1042 | SJ0304046310 | GB111067051750 | WFD | WFD | 90.7938 | No permit | 20.5 | Y | 5 | 0
Dee | Alyn - Hope to Dee | GRESFORD STW | CM0040601 | 692 | SJ3488055780 | GB111067052173 | WFD | WFD | 19367.6879 | 1 | 3590 | Y | No permit change needed | 0
Dee | Dee - Ceiriog to Alwen | CEFN MAWR WwTW | CM0101301 | 701 | SJ2745041700 | GB111067052060 | SAC | Fail | 6509.8174 | 1 | 1594 | Y | No permit change needed | 0
Dee | Clywedog - Dee to Gwenfro | ABENBURY STW | CM0110201 | 707 | SJ3655448403 | GB111067052110 | WFD | WFD | 7.1155 | No permit | 0 | N | No requirement | 0
Meir | Glaslyn - upstream Colwyn | BETHANIA (NANT GWYNANT) SEWAGE TREATM | CG0076201 | 716 | SH6266050350 | GB110065053960 | SAC | Not Assessed | 31.7367 | No permit | 1.9 | N | No requirement | 0
Eden | Mawddach - lower | GANLLWYD SEWAGE TREATMENT WORKS | CG0029001 | 816 | SH7280024110 | GB110064048710 | SAC | Pass | 58.8344 | No permit | 13.6 | N | No requirement | 0
Meir | Glaslyn - Nanmor to Colwyn | NANTMOR SEWAGE TREATMENT WORKS | CG0023901 | 929 | SH5957045640 | GB110065053910 | SAC | Pass | 68.2434 | No permit | 0 | N | No requirement | 0
Upper Wye | Afon Cammarch - source to conf R Irfon | BEULAH STW | AW1000501 | 30803 | SN9222151039 | GB109055041880 | SAC | Fail | 143.7262 | No permit | 54 | Y | 3 | 0.135
Teifi | Ceri - Dulas to conf Teifi | BEULAH WWTW INLET SO BEULAH CERED'N | BN0015801 | 50544 | SN2926246224 | GB110062039110 | SAC | Fail | 297.5181 | No permit | 109 | Y | 2 | 0.40875
Teifi | Morgenau - headwaters to confluence with Teifi | BONCATH STW | BG0001201 | 50547 | SN2012039040 | GB110062039050 | WFD | WFD | 171.5026 | No permit | 58.3 | Y | 5 | 0
Gwyrfi | Gwyrfai - downstream of Cwellyn | BETWS GARMON STW | CG0325001 | 3318 | SH5429056740 | GB110065054190 | SAC | Pass | 36.1859 | No permit | 8.4 | N | No requirement | 0
Tywi | Marlais (Brechfa) - headwaters to conf Cothi | BRECHFA STW | BN0000302 | 50550 | SN5305030150 | GB110060036000 | WFD | WFD | 171.1434 | No permit | 43.6 | Y | 5 | 0
Usk | Usk - conf Afon Senni to conf Afon Crawnon | BRECON STW | AB0041501 | 30809 | SO0592127595 | GB109056040081 | SAC | Fail | 9329.1904 | No permit | 2887 | Y | 2 | 10.8262
Dee | Ceirw - Alwen to Medrad | Y MAERDY DINMAEL | CM0038801 | 784 | SJ0071044690 | GB111067051660 | WFD | WFD | 42.3908 | No permit | 0 | N | No requirement | 0
Eden | Eden - upper | BRONABER STW | CG0086701 | 733 | SH7040031390 | GB110064054630 | SAC | Pass | 434.5181 | No permit | 141 | Y | 0.8 | 0.74025
Tywi | Tywi (Llandovery Bran to Cothi confl) | BETHLEHEM STW | BJ0078601 | 50542 | SN6816025200 | GB110060036250 | SAC | Pass | 48.7962 | No permit | 12 | N | No requirement | 0
Dee | Ffrauer | GLANYRAFON SEWAGE TREATMENT WORKS | CM0045101 | 833 | SJ0246042640 | GB111067051630 | WFD | WFD | 38.3892 | No permit | 0 | N | No requirement | 0
Dee | #N/A | BRONNINGTON STW | CM0072001 | 1048 | SJ4865040710 | GB111067052200 | WFD | WFD | 280.0587 | No permit | 125 | Y | 5 | 0
Dee | Morwynion | BRYNEGLWYS STW | CM0032401 | 1046 | SJ1425047250 | GB111067052100 | WFD | WFD | 111.3591 | No permit | 34 | Y | 5 | 0
Dee | Emral Brook | HANMER ARROWY SEWAGE TREATMENT WORKS | CM0095001 | 840 | SJ4613038980 | GB111067052211 | WFD | WFD | 43.5359 | No permit | 4.7 | N | No requirement | 0
Upper Wye | Builth Dulas Bk - source to conf R Wye | BUILTH ROAD STW | AW1000601 | 30821 | SO0214053090 | GB109055037160 | SAC | Fail | 91.4117 | No permit | 26 | Y | 3 | 0.065
Dee | Pulford Brook | LAVISTER STW | CM0077501 | 852 | SJ3767558405 | GB111067052130 | WFD | WFD | 4425.1969 | 1 | 1619 | Y | No permit change needed | 0
Upper Wye | Wye - conf R Irfon to Scithwen Bk | BUILTH WELLS STW | AW1000701 | 30822 | SO0455251471 | GB109055037115 | SAC | Fail | 3704.4266 | No permit | 1622 | Y | 2.5 | 5.0687
Tywi | Dulas - conf with Sannan to confluence with Tywi | Broad Oak WwTW Carmarthenshire | BJ0078701 | 50553 | SN5761222366 | GB110060029310 | WFD | WFD | 64.9801 | No permit | 10.9 | N | No requirement | 0
Tywi | Annell - headwaters to confluence with Cothi | CRUGYBAR | BJ0076101 | 50587 | SN6558037620 | GB110060036070 | WFD | WFD | 39.3196 | No permit | 0 | N | No requirement | 0
Dee | Cegidog | LLANFYNYDD SEWAGE TREATMENT WORKS | CM0011801 | 878 | SJ2762056750 | GB111067051770 | WFD | WFD | 91.3568 | No permit | 19 | N | No requirement | 0
Usk | Usk conf Afon Crawnon to conf Gavenny R | BWLCH (S) STW | AB0049501 | 30825 | SO1545020320 | GB109056040082 | SAC | Pass | 1233.7674 | No permit | 378.5 | Y | 5 | 0
Tywi | Annell - headwaters to confluence with Cothi | CAIO STW | BN0042101 | 50560 | SN6747039690 | GB110060036070 | WFD | WFD | 55.4818 | No permit | 21.8 | Y | 5 | 0
Dee | Llafar | PARC (SW OF BALA) STW | CM0055301 | 887 | SH8774033880 | GB111067051870 | WFD | WFD | 34.9993 | No permit | 0 | N | No requirement | 0
West Cleddau | Camrose Brook - headwaters to conf with W. Cleddau | CAMROSE WASTE WATER TREATMENT PLANT | BG0004901 | 50561 | SM9250020040 | GB110061031180 | SAC | Fail | 241.8132 | No permit | 32 | Y | 4.5 | 0.02
Teifi | Cych - headwaters to confluence with Teifi | CAPEL IWAN STW | BN0054901 | 50563 | SN2930036100 | GB110062039041 | SAC | Fail | 192.813 | No permit | 82 | Y | 1.8 | 0.328
Dee | Alyn - Hope to Dee | HOPE STW | CM0075801 | 899 | SJ3056358092 | GB111067052173 | WFD | WFD | 9081.6379 | 1 | 2237 | Y | No permit change needed | 0
Dee | Dee - Ceiriog to Alwen | Carrog Wastewater Treatment Works | CM0000501 | 779 | SJ1174043710 | GB111067052060 | SAC | Fail | 662.9134 | No permit | 0 | Y | 5 | 0
Dee | Brenig - reservoir and east catchment | PENTRELLYNCYMMER STW | CM0095501 | 907 | SH9738052850 | GB111067051790 | WFD | WFD | 14.6144 | No permit | 0 | N | No requirement | 0
West Cleddau | W Cleddau - headwaters to conf with Cleddau North | CASTLEMORRIS STW | BG0003501 | 50569 | SM9048831957 | GB110061038670 | SAC | Fail | 81.7564 | No permit | 16.8 | N | 4 | 0.021
Teifi | Teifi - Afon Brennig to Afon Dulas | Cellan Wastewater Treatment Works | BN0008101 | 50570 | SN6012049040 | GB110062043566 | SAC | Pass | 185.4113 | No permit | 0 | Y | 5 | 0
Tywi | Twrch - headwaters to confluence with Cothi | FFARMERS STW | BN0077501 | 50608 | SN6480044550 | GB110060036090 | WFD | WFD | 70.4128 | No permit | 17 | N | No requirement | 0
Teifi | Teifi - Afon Ceri to estuary | CENARTH WWTTW CENARTH CEREDIGION | BP0101201 | 51583 | SN2657941662 | GB110062043563 | SAC | Fail | 679.6925 | No permit | 152 | Y | 5 | 0
Tywi | Sawdde - conf with Clydach to confluence with Tywi | CAPEL GWYNFE | BP0164501 | 50631 | SN7266021760 | GB110060029370 | WFD | WFD | 33.1774 | No permit | 0 | N | No requirement | 0
Dee | Cegidog | TREUDDYN BRIDGE TERRACE STW | CM0116701 | 991 | SJ2552057930 | GB111067051770 | WFD | WFD | 16.469 | No permit | 0 | N | No requirement | 0
Dee | Alyn - Leadmill to Hope | TY GWYN WWTW BUCKLEY | CM0081001 | 995 | SJ2789062220 | GB111067052172 | WFD | WFD | 15853.918 | 1 | 4061 | Y | No permit change needed | 0
Dee | Wych Lower (Worthenbury middle) | WORTHENBURY STW | CM0001301 | 1023 | SJ4210045900 | GB111067052220 | WFD | WFD | 9.443 | No permit | 0 | N | No requirement | 0
Tywi | Cennen - headwaters to confluence with Tywi | TRAPP STW | BJ0075101 | 50794 | SN6536218976 | GB110060029280 | WFD | WFD | 19.3322 | No permit | 8.9 | N | No requirement | 0
Dee | Nug | CERRIGYDRUDION STW | CM0052101 | 722 | SH9525848277 | GB111067051710 | WFD | WFD | 368.9651 | No permit | 111 | Y | 1 | 0.555
Dee | Alyn - upstream Dolfechlas Brook | CILCAIN PANTYMWYN STW | CM0024401 | 906 | SJ1910065500 | GB111067051810 | WFD | WFD | 1358.1339 | No permit | 241 | Y | 5 | 0
Teifi | Teifi - Afon Ceri to estuary | CILGERRAN STW | BP0217801 | 50572 | SN1948043240 | GB110062043563 | SAC | Fail | 1033.2254 | No permit | 408 | Y | 5 | 0
Dee | Clywedog - Dee to Gwenfro | BOWLING BANK STW | CM0149401 | 1049 | SJ3990048140 | GB111067052110 | WFD | WFD | 24.0345 | No permit | 0 | N | No requirement | 0
Dee | Alwen - Ceirw to Brenig | LLANFIHANGEL GLYN MYFYR STW | CM0151001 | 1054 | SH9896049460 | GB111067051750 | WFD | WFD | 82.1299 | No permit | 0 | N | No requirement | 0
Dee | Glyn | Llangower STW | CM0066201 | 1055 | SH9044032340 | GB111067051820 | WFD | WFD | 27.8197 | No permit | 0 | N | No requirement | 0
Dee | Dee - Ceiriog to Alwen | LLANGOLLEN WWTW | CM0005401 | 1056 | SJ2342242348 | GB111067052060 | SAC | Fail | 4031.203 | 1 | 1834 | Y | No permit change needed | 0
Dee | Twrch | LLANUWCHLLYN STW | CM0000801 | 1058 | SH8809830300 | GB111067046420 | WFD | WFD | 401.8626 | 2 | 363.2 | Y | No permit change needed | 0
Tywi | Tywi (Llandovery Bran to Cothi confl) | BRYNGWYN STW | BN0267201 | 51439 | SN6735121995 | GB110060036250 | SAC | Pass | 9.4466 | No permit | 6 | N | No requirement | 0
Dee | Ffrauer | GLANYRAFON FOUR CROSSES | CM0190001 | 3089 | SJ0330742947 | GB111067051630 | WFD | WFD | 5.63 | No permit | 1.7 | N | No requirement | 0
Tywi | Sawdde - conf with Clydach to confluence with Tywi | TWYNLLANAN | BP0164601 | 50802 | SN7538024110 | GB110060029370 | WFD | WFD | 35.9178 | No permit | 0 | N | No requirement | 0
Upper Wye | Clywedog Bk - source to conf Bachell Bk | ABBEYCWMHIR WWTW | AN0178601 | 30792 | SO0553170993 | GB109055042090 | SAC | Pass | 16.25 | No permit | 15 | N | No requirement | 0
Upper Wye | Chwefru - source to conf R Irfon | CILMERY STW | AW1001001 | 30844 | SO0080051800 | GB109055042190 | SAC | Fail | 202.3995 | No permit | 23 | Y | 4 | 0.02875
Tywi | Gwenlais - headwaters to confluence with Tywi | CILYCWM STW | BH0050901 | 50573 | SN7545039629 | GB110060036340 | WFD | WFD | 127.4283 | No permit | 38 | Y | 5 | 0
Upper Wye | Edw - conf Clas Bk to conf R Wye | ABEREDW SEWAGE TREATMENT WORKS | AW1000101 | 30796 | SO0772047000 | GB109055037080 | SAC | Fail | 93.0931 | No permit | 14 | N | No requirement | 0
West Cleddau | Cartlett Brook - HW to conf with W. Cleddau | CLARBESTON WASTEWATER TREATMENT WORKS | BG0014501 | 50575 | SN0109620967 | GB110061031330 | SAC | Fail | 331.7801 | No permit | 84 | Y | 1.5 | 0.3675
East Cleddau | Longford Brook - HW to conf with E. Cleddau | CLYNDERWEN STW | BG0029501 | 50576 | SN1239018320 | GB110061030680 | SAC | Not assessed | 1310.5364 | 1 | 182.8 | Y | 0.25 | 0.17137
Upper Wye | Clyro Bk - source to conf R Wye | CLYRO STW | AW1000901 | 30847 | SO2170043800 | GB109055037020 | WFD | WFD | 500.1891 | No permit | 33.6 | Y | 5 | 0
Dee | Dee - Ceiriog to Alwen | CORWEN WWTW FINAL EFFLUENT | CM0018301 | 742 | SJ0827643573 | GB111067052060 | SAC | Fail | 1728.3549 | No permit | 716.1 | Y | 1 | 3.5805
Usk | Clydach - source to conf R Usk | BRYNMAWR STW | AC0085601 | 30820 | SO2080512409 | GB109056033090 | WFD | WFD | 5493.3194 | 1 | 1918 | Y | No permit change needed | 0
Teifi | Grannell - headwaters to confluence with Teifi | Cribyn Wastewater treament works | BG0027001 | 50582 | SN5152051210 | GB110062039230 | SAC | Pass | 215.5206 | No permit | 34.1 | Y | 3.5 | 0.063937
Usk | Usk conf Afon Crawnon to conf Gavenny R | Crickhowell STW | AC0094701 | 30855 | SO2250617473 | GB109056040082 | SAC | Pass | 3116.0757 | No permit | 811.6 | Y | 5 | 0
Meir | Croesor | CROESOR SEWAGE TREATMENT WORKS | CG0133001 | 2591 | SH6299044590 | GB110065053890 | WFD | WFD | 31.8775 | No permit | 24.3 | Y | 5 | 0
Upper Wye | Ithon - conf Camddwr Bk to conf R Wye | CROSSGATES STW | AW1001101 | 30857 | SO0866064240 | GB109055042270 | SAC | Pass | 521.6357 | No permit | 245.6 | Y | 2 | 0.921
Tywi | Tywi (Llandovery Bran to Cothi confl) | CWM IFOR STW | BN0103601 | 50595 | SN6629024940 | GB110060036250 | SAC | Pass | 184.065 | No permit | 92.5 | Y | 5 | 0
Usk | Afon Yscir - conf Yscir Fechan to conf R Usk | CRADOC S T W PHASE 1 | AN0035901 | 30852 | SO0037830142 | GB109056040081 | SAC | Fail | 102.9895 | No permit | 0 | N | No requirement | 0
Tywi | Dulas - conf with Sannan to confluence with Tywi | CWRT HENRI STW | BN0018001 | 50597 | SN5565022700 | GB110060029310 | WFD | WFD | 154.9926 | No permit | 40.4 | Y | 5 | 0
Teifi | Cledlyn - headwaters to confluence with Teifi | CWRTNEWYDD STW | BN0005601 | 50598 | SN4945047100 | GB110062039150 | WFD | WFD | 360.6489 | No permit | 205 | Y | 5 | 0
Tywi | Bran - headwaters to confluence with Crychan | CYNGHORDY STW | BJ0076001 | 50599 | SN8041939810 | GB110060035970 | WFD | WFD | 43.8359 | No permit | 22 | Y | 5 | 0
Upper Wye | Afon Elan - Caban-coch Rsvr to conf R Wye | ELAN GLANYRAFON STW | AN0179501 | 30875 | SN9350065300 | GB109055042260 | SAC | Not Assessed | 16.8324 | No permit | 3.2 | N | No requirement | 0
Upper Wye | Afon Elan - Caban-coch Rsvr to conf R Wye | ELAN VALLEY HOTEL SEWAGE TREATMENT WO | AN0024401 | 30876 | SN9393065620 | GB109055042260 | SAC | Not Assessed | 11.9764 | No permit | 0 | N | No requirement | 0
Upper Wye | Afon Elan - Caban-coch Rsvr to conf R Wye | ELAN VILLAGE STW | AW1001401 | 30877 | SN9357065360 | GB109055042260 | SAC | Not Assessed | 56.1916 | No permit | 0 | N | No requirement | 0
Upper Wye | Wye - conf R Irfon to Scithwen Bk | ERWOOD STW ERWOOD BUILTH WELLS | AW1001501 | 30878 | SO1000043290 | GB109055037115 | SAC | Fail | 121.1509 | No permit | 0 | N | No requirement | 0
Dee | Dee - Alwen to Llyn Tegid | CYNWYD STW FINAL EFFLUENT | CM0149301 | 538 | SJ0528041130 | GB111067052240 | SAC | Pass | 408.2315 | No permit | 98.8 | Y | 5 | 0
Usk | Pill Bk - source to conf Olway Bk | DEVAUDEN STW | AA0001901 | 30862 | ST4727098860 | GB109056026920 | WFD | WFD | 294.1844 | No permit | 58 | Y | 5 | 0
Upper Wye |  | DINGESTOW STW DINGESTOW MONMOUTH | AS1000701 | 30864 | SO4589010050 | #N/A | WFD | WFD | 3.3 | No permit | 0 | N | 5 | N/A
Dee | Ceiriog - confluence Dee to Teirw | DOLYWERN STW | CM0007901 | 786 | SJ2244037250 | GB111067051910 | SAC | Pass | 240.0416 | No permit | 57.9 | Y | 2 | 0.21713
Teifi | Teifi - Afon Clettwr to Afon Ceri | DREFACH/VELINDRE WWTW | BH0060601 | 50604 | SN3533640291 | GB110062039030 | SAC | Fail | 2041.9571 | No permit | 943 | Y | 5 | 0
Upper Wye | Clettwr Bk - source to conf R Wye | GWENDDWR STW | AW1002201 | 30896 | SO0633043400 | GB109055037030 | SAC | Fail | 23.949 | No permit | 7 | N | No requirement | 0
Usk | Olway Bk - conf Nant y Wilcae to R Usk | GWERNESNEY | AB0058501 | 30898 | SO4080001920 | GB109056026940 | WFD | WFD | 36.8283 | No permit | 7.2 | N | No requirement | 0
Upper Wye | Afon Llynfi - conf Dulas Bk to conf R Wye | FELINDRE STW | AW1001701 | 31115 | SO1835036750 | GB109055036950 | SAC | Fail | 170.7724 | No permit | 11 | Y | 5 | 0
Tywi | Cloidach - headwaters to confluence with Cothi | FELINGWM STW | BJ0075601 | 50611 | SN5086924399 | GB110060029040 | WFD | WFD | 37.812 | No permit | 22 | Y | 5 | 0
Tywi | Tywi (Llandovery Bran to Cothi confl) | FFAIRFACH STW | BH0065401 | 50613 | SN6164121126 | GB110060036250 | SAC | Pass | 2840.5717 | No permit | 847 | Y | 5 | 0
Teifi | Cerdin - headwaters to confluence with Teifi | FFOSTRASOL STW | BH0072801 | 50615 | SN3780047600 | GB110062039140 | SAC | Pass | 142.0642 | No permit | 31.8 | Y | 4.5 | 0.019875
Dee | Dee - Chester Weir to Ceiriog | Five fords STW | CM0077801 | 675 | SJ4090047320 | GB111067057080 | SAC | Pass | 123522.3517 | 1 | 27720 | Y | 0.7 | 10.395
Dee | Dee - Ceiriog to Alwen | FRONCYSYLLTE STW | CM0101501 | 666 | SJ2711041960 | GB111067052060 | SAC | Fail | 578.6499 | No permit | 114 | Y | 5 | 0
Dee | Mynach | Frongoch STW | CM0077301 | 691 | SH9056039120 | GB111067051980 | SAC | Pass | 198.956 | No permit | 0 | Y | 5 | 0
Upper Wye | Ithon - conf Camddwr Bk to conf R Wye | LLANDEWI YSTRADENNY STW | AW1002801 | 30937 | SO1055068170 | GB109055042270 | SAC | Pass | 94.5567 | No permit | 0 | N | No requirement | 0
Upper Wye | Garth Dulas - source to conf R Irfon | GARTH STW | AW1002001 | 30882 | SN9520049400 | GB109055041890 | SAC | Fail | 132.081 | No permit | 27.3 | Y | 5 | 0
Upper Wye | Wye - Scithwen Bk to Bredwardine Br (Wales) | GLASBURY STW | AW1002101 | 30884 | SO1800339916 | GB109055037116 | SAC | Pass | 411.793 | No permit | 475 | Y | 5 | 0
Dee | Ceiriog - confluence Dee to Teirw | GLYNCEIRIOG STW | CM0021801 | 834 | SJ2094037830 | GB111067051910 | SAC | Pass | 768.9101 | No permit | 124 | Y | 0.5 | 0.6975
Dee | Dee - Ceiriog to Alwen | Glyndyfrdwy Wastewater Treatment Works | CM0026801 | 667 | SJ1527042950 | GB111067052060 | SAC | Fail | 176.9782 | No permit | 0 | Y | 5 | 0
Upper Wye | Wye - conf R Irfon to Scithwen Bk | LLANFAREDD SEWAGE TREATMENT WORKS | AW1003001 | 30945 | SO0638051270 | GB109055037115 | SAC | Fail | 17.516 | No permit | 6 | N | No requirement | 0
Teifi | Grannell - headwaters to confluence with Teifi | Gorsgoch STS | BG0043501 | 50627 | SN4762050680 | GB110062039230 | SAC | Pass | 49.1726 | No permit | 18.6 | N | 3 | 0.0465
Usk | Usk - conf R Gavenny to conf Olway Bk | GOYTRE SEWAGE TREATMENT WORKS | AC0116401 | 30889 | SO3445505405 | GB109056040083 | SAC | Fail | 1219.815 | No permit | 384 | Y | 1.4 | 1.728
Usk | Clawdd Bk - source to conf R Usk | GREAT OAK STW | AA0027601 | 30891 | SO3834010160 | GB109056032940 | WFD | WFD | 315.4851 | No permit | 12.3 | Y | 5 | 0
Usk | Usk - conf Afon Senni to conf Afon Crawnon | GROESFFORDD STW | AD0018101 | 30893 | SO0737027580 | GB109056040081 | SAC | Fail | 100.0086 | No permit | 36 | Y | 5 | 0
Upper Wye |  | Grosmont Wastewater Treatment Works | AH1001001 | 30894 | SO4089024270 | #N/A | WFD | WFD | 3.3 | No permit | 0 | N | 5 | N/A
Dee | Dee - Ceiriog to Alwen | HALTON Wastewater Treatment Works | CM0022001 | 839 | SJ3042040550 | GB111067052060 | SAC | Fail | 190.8387 | No permit | 50 | Y | 5 | 0
Teifi | Teifi - Afon Clettwr to Afon Ceri | HENLLAN STW | BN0013701 | 50634 | SN3535540248 | GB110062043564 | SAC | Fail | 720.4757 | No permit | 357 | Y | 5 | 0
Usk | Olway Bk - source to conf Nant y Wilcae | LLANISHEN (NR LLANDOGO) | AD0004201 | 30959 | SO4765003090 | GB109056032920 | WFD | WFD | 67.1325 | No permit | 0 | N | No requirement | 0
Dee | Dee - Chester Weir to Ceiriog | HOLT STW | CM0102001 | 721 | SJ4044054810 | GB111067057080 | SAC | Pass | 1097.673 | No permit | 210 | Y | 5 | 0
Usk | Pill Bk - source to conf Olway Bk | LLANSOY SEWAGE TREATMENT WORKS | AN0106401 | 30961 | SO4381602047 | GB109056026920 | WFD | WFD | 51.7005 | No permit | 16.2 | N | No requirement | 0
Upper Wye | Camnant Brook - source to confluence R Edw | HUNDRED HOUSE STW | AW1002501 | 30910 | SO1104054360 | GB109055042370 | SAC | Fail | 115.0367 | No permit | 5.1 | N | 4 | 0.006375
Upper Wye | Wye - conf Afon Elan to conf R Ithon | LLANWRTHWL STW | AW1003801 | 30968 | SN9776063350 | GB109055042250 | SAC | Fail | 90.2434 | No permit | 12 | N | No requirement | 0
West Cleddau | Camrose Brook - headwaters to conf with W. Cleddau | KEESTON WASTEWATER TREATMENT WORKS | BP0087901 | 50644 | SM9081518678 | GB110061031180 | SAC | Fail | 472.4955 | No permit | 129.2 | Y | 1.5 | 0.56525
Teifi | Teifi - Afon Dulas to Afon Clettwr | LAMPETER STW LAMPETER | BP0045001 | 50647 | SN5763047340 | GB110062043565 | SAC | Pass | 3669.2877 | No permit | 1201 | Y | 0.5 | 6.7556
Upper Wye | Wye - Scithwen Bk to Bredwardine Br (Wales) | LLOWES STW | AW1004101 | 30971 | SO1960041590 | GB109055037116 | SAC | Pass | 34.1358 | No permit | 16.4 | N | No requirement | 0
West Cleddau | Western Cleddau - Cleddau North to Anghof conf | LETTERSTON WEST STW | BH0071101 | 50654 | SM9287029020 | GB110061038651 | SAC | Fail | 1093.3453 | No permit | 510 | Y | 2.5 | 1.5938
Lower Wye | R Wye - conf Walford Bk to Bigsweir Br | MONMOUTH STW | AS1003201 | 30988 | SO5153211795 | GB109055037111 | SAC | SAC | 12715.0051 | No permit | 2845 | Y | 2 | 10
Usk | Afon Tarell - source to conf R Usk | LIBANUS STW | AB0076001 | 30926 | SN9965025950 | GB109056033070 | SAC | Fail | 219.8084 | No permit | 114 | Y | 2 | 0.4275
Usk | Berthin Bk - source to conf R Usk | LITTLE MILL STW | AD0002501 | 30928 | SO3375002400 | GB109056026950 | WFD | WFD | 544.8871 | No permit | 82 | Y | 5 | 0
Upper Wye | Afon Marteg - source to conf R Wye | PANTYDWR STW | AW1005001 | 31030 | SN9817074420 | GB109055042310 | SAC | Pass | 81.5828 | No permit | 15 | N | No requirement | 0
Usk | Nant y Wilcae - source to conf Olway Bk | RAGLAN STW CHEPSTOW | AC0140201 | 31060 | SO4163707143 | GB109056032930 | WFD | WFD | 1135.6653 | 1 | 470 | Y | No permit change needed | 0
Dee | Ceiriog - upstream of Teirw | LLANARMON | CM0022101 | 495 | SJ1597032870 | GB111067051610 | SAC | NotAssessed | 147.1253 | No permit | 0 | Y | 1.5 | 0
Dee | Alyn - upstream Dolfechlas Brook | LLANARMONYNIAL STW | CM0001201 | 512 | SJ1902255938 | GB111067051810 | WFD | WFD | 241.3716 | No permit | 64.5 | Y | 5 | 0
Usk | Clawdd Bk - source to conf R Usk | LLANARTH STW | AC0091901 | 30929 | SO3778310477 | GB109056032940 | WFD | WFD | 74.8027 | No permit | 50 | Y | 5 | 0
Usk | Grwyne Fawr - conf Grwyne-Fechan to conf R Usk | LLANBEDR SEWAGE TREATMENT WORKS | AA0003101 | 30930 | SO2381920066 | GB109056032980 | SAC | Pass | 104.3658 | No permit | 39 | Y | 1 | 0.195
Upper Wye | Ithon - conf Gwenlas Bk to conf Camddwr Bk | LLANBISTER SEWAGE TREATMENT WORKS | AW1002601 | 30931 | SO1081073570 | GB109055042140 | SAC | Fail | 63.3051 | No permit | 14.61 | N | 4 | 0.018263
Dee | Dee - Alwen to Llyn Tegid | Llandderfel Wastewater Treatment Works | CM0045201 | 851 | SH9831037010 | GB111067052240 | SAC | Pass | 252.8711 | No permit | 22.7 | Y | 5 | 0
Usk | Olway Bk - source to conf Nant y Wilcae | TRELLEC SEWAGE TREATMENT WORKS | AN0214601 | 31107 | SO4990005500 | GB109056032920 | WFD | WFD | 98.4439 | No permit | 9 | N | No requirement | 0
Usk | Rhiangoll - source to conf R Usk | TRETOWER STW | AN0106601 | 31108 | SO1890020870 | GB109056039990 | SAC | Fail | 75.218 | No permit | 0 | N | No requirement | 0
Usk | Honddu - source to conf R Usk | LLANDDEW STW | AC0140701 | 30935 | SO0513030830 | GB109056040060 | SAC | Fail | 151.772 | No permit | 21 | Y | 4 | 0.02625
East Cleddau | Longford Brook - HW to conf with E. Cleddau | LLANDDEWI VELFREY STW | BG0013201 | 50658 | SN1421016830 | GB110061030680 | SAC | Not assessed | 174.108 | No permit | 92 | Y | 1 | 0.46
Upper Wye | Mithil Bk - source to conf R Ithon | LLANDEGLEY STW | AW1002701 | 30940 | SO1378063110 | GB109055041960 | SAC | Fail | 19.4224 | No permit | 13 | N | 1 | 0.065
Usk | Usk - conf Afon Senni to conf Afon Crawnon | COEDWAUNGAER STW SENNYBRIDGE , | AB0043501 | 33718 | SN9255029380 | GB109056040081 | SAC | Fail | 106.7561 | No permit | 0 | N | No requirement | 0
Teifi | Brefi - headwaters to confluence with Teifi | LLANDEWI BREFI WWTW LLANDEWI BREFI | BG0023501 | 50657 | SN6570955176 | GB110062039250 | SAC | Not Assessed | 293.6865 | 2 | 144 | Y | 1.5 | 0.09
Tywi | Bran - conf with Crychan to conf with Tywi | LLANDOVERY WWTW | BN0202701 | 50659 | SN7613033180 | GB110060035950 | WFD | WFD | 1942.1062 | No permit | 705 | Y | 5 | 0
Dee | Ceidiog | LLANDRILLO STW | CM0006001 | 898 | SJ0355037480 | GB111067051880 | WFD | WFD | 463.7969 | No permit | 71.3 | Y | 5 | 0
Upper Wye | Ithon - conf Camddwr Bk to conf R Wye | LLANDRINDOD WELLS STW | AW1002901 | 30942 | SO0490760500 | GB109055042270 | SAC | Pass | 6359.8419 | 1.25 | 1790 | Y | 0.8 | 1.0069
Teifi | Teifi - Afon Clettwr to Afon Ceri | Llandysul Wastewater Treatment Works | BG0010201 | 50660 | SN4191040290 | GB110062043564 | SAC | Fail | 1534.3285 | No permit | 689 | Y | 5 | 0
Usk | Usk - conf R Gavenny to conf Olway Bk | LLANELLEN STW | AB0046101 | 30943 | SO3030011150 | GB109056040083 | SAC | Fail | 345.4852 | No permit | 107.5 | Y | 5 | 0
Eden | Mawddach - lower | LLANFACHRETH STW | CG0110901 | 712 | SH7537322343 | GB110064048710 | SAC | Pass | 65.1707 | No permit | 32.8 | Y | 5 | 0
Gwyrfi | Gwyrfai - downstream of Cwellyn | LLANFAGLAN WWTW | CG0078101 | 873 | SH4662659370 | GB110065054190 | SAC | Pass | 4877.9658 | 1 | 1305.5 | Y | 0.7 | 0.48956
Usk | Usk - conf R Gavenny to conf Olway Bk | LLANFAIR SEWAGE TREATMENT WORKS | AD0001501 | 30944 | SO3500006770 | GB109056040083 | SAC | Fail | 73.0727 | No permit | 44.5 | Y | 5 | 0
Teifi | Teifi - Afon Dulas to Afon Clettwr | LLANFIHANGEL-AR-ARTH STW | BN0020802 | 50664 | SN4549040120 | GB110062043565 | SAC | Pass | 241.3058 | No permit | 56.3 | Y | 5 | 0
Upper Wye | Dulas Bk - source to conf Afon Llynfi | LLANFILO STW | AW1003201 | 30947 | SO1172033900 | GB109055036920 | SAC | Fail | 56.4742 | No permit | 13 | N | 2 | 0.04875
Usk | Usk - conf R Gavenny to conf Olway Bk | LLANFOIST WASTEWATER TREATMENT WORKS | AB0038201 | 30948 | SO3008213206 | GB109056040083 | SAC | Fail | 17616.9467 | No permit | 5723 | Y | 2 | 21.4612
Meir | Gaseg | LLANFROTHEN STW | CG0078701 | 553 | SH6058041600 | GB110065053840 | WFD | WFD | 149.6639 | No permit | 57 | Y | 5 | 0
Tywi | Sannan - headwaters to confluence with Dulas | LLANFYNYDD STW | BN0077601 | 50665 | SN5566027107 | GB110060036200 | WFD | WFD | 157.1548 | No permit | 68 | Y | 5 | 0
Usk | Nant Menasgin - source to conf R Usk | LLANFYRNACH STW LLANFYRNACH , | AD0002101 | 30949 | SO0785025830 | GB109056033010 | SAC | Fail | 231.6159 | No permit | 32.7 | Y | 2.5 | 0.10219
Tywi | Sawdde - conf with Clydach to confluence with Tywi | LLANGADOG STW | BG0040001 | 50667 | SN6989028140 | GB110060029370 | WFD | WFD | 1243.881 | No permit | 427 | Y | 5 | 0
Upper Wye | Irfon - conf Cledan to conf R Wye | LLANGAMMARCH WELLS STW | AW1003301 | 30950 | SN9370047400 | GB109055037090 | SAC | Fail | 207.0584 | No permit | 0 | Y | 5 | 0
Upper Wye | Wye - conf Afon Tarenig to conf Afon Bidno | LLANGURIG STW | AW1003601 | 30955 | SN9090079600 | GB109055042320 | SAC | Pass | 164.7705 | No permit | 36 | Y | 5 | 0
Usk | Usk - conf Olway Bk to New Br | LLANGYBI SEWAGE TREATMENT WORKS | AB0046601 | 30956 | ST3847796090 | GB109056026890 | SAC | Fail | 413.612 | No permit | 204 | Y | 5 | 0
Teifi | Dulas - headwaters to conf Teifi | LLANGYBI SEWAGE TREATMENT WORKS | BG0021501 | 50672 | SN6048053020 | GB110062039240 | SAC | Pass | 95.5643 | No permit | 24 | Y | 5 | 0
Upper Wye | Digedi Bk - source to conf R Wye | LLANIGON STW | AW1003701 | 30958 | SO2042040490 | GB109055036980 | WFD | WFD | 190.863 | No permit | 32.3 | Y | 5 | 0
Usk | Usk - conf R Gavenny to conf Olway Bk | LLANOVER STW | AB0043401 | 30960 | SO3195009360 | GB109056040083 | SAC | Fail | 130.4884 | No permit | 86.6 | Y | 5 | 0
Tywi | Marlais - headwaters to conf Cothi | LLANSAWEL WASTEWATER TREATMENT WORKS | BH0062601 | 50686 | SN6239536140 | GB110060036080 | WFD | WFD | 158.3556 | No permit | 57 | Y | 5 | 0
Usk | Usk - conf Afon Senni to conf Afon Crawnon | LLANSPYDDID STW | AB0056601 | 30962 | SO0109028290 | GB109056040081 | SAC | Fail | 134.2402 | No permit | 0 | Y | 5 | 0
Upper Wye | Irfon - conf Cledan to conf R Wye | LLANWRTYD WELLS STW | AW1003901 | 30969 | SN9003046320 | GB109055037090 | SAC | Fail | 793.8088 | No permit | 382.1 | Y | 2 | 1.4329
Teifi | Teifi - Afon Dulas to Afon Clettwr | LLANYBYDDER WWTW CEREDIGION | BJ0091401 | 50692 | SN5172443265 | GB110062043565 | SAC | Pass | 1750.6679 | No permit | 1019 | Y | 2.5 | 3.1844
Upper Wye | Ithon - conf Camddwr Bk to conf R Wye | LLANYRE STW | AW1004001 | 30970 | SO0526062340 | GB109055042270 | SAC | Pass | 320.4658 | No permit | 80 | Y | 5 | 0
Teifi | Teifi - Afon Ceri to estuary | LLECHRYD STW | BG0024901 | 50694 | SN2125043340 | GB110062043563 | SAC | Fail | 760.0933 | No permit | 138.3 | Y | 5 | 0
Upper Wye | Wye - Scithwen Bk to Bredwardine Br (Wales) | LLYSWEN STW | AW1004201 | 30975 | SO1336938152 | GB109055037116 | SAC | Pass | 390.6942 | No permit | 132 | Y | 5 | 0
Dee | Alyn - upstream Dolfechlas Brook | MAES Y GROES STW | CM0071201 | 516 | SJ1919063490 | GB111067051810 | WFD | WFD | 1315.3746 | No permit | 523 | Y | 5 | 0
West Cleddau | W Cleddau - headwaters to conf with Cleddau North | MATHRY STW | BG0009701 | 50703 | SM8833931395 | GB110061038670 | SAC | Fail | 382.3911 | No permit | 151 | Y | 1 | 0.755
Tywi | Bran - headwaters to confluence with Ydw | MYDDFAI STW | BH0050801 | 50713 | SN7753529762 | GB110060036220 | WFD | WFD | 42.3245 | No permit | 28 | Y | 5 | 0
Upper Wye | Wye - conf Afon Elan to conf R Ithon | NEWBRIDGEONWYE STW | AW1004401 | 31002 | SO0146058122 | GB109055042250 | SAC | Fail | 664.8161 | No permit | 280 | Y | 5 | 0
Teifi | Dulas - headwaters to confluence with Cych | NEWCHAPEL STW | BP0219501 | 50722 | SN2247039080 | GB110062039010 | SAC | Fail | 107.8462 | No permit | 46.6 | Y | 3.2 | 0.10485
Dee | Dee - Chester Weir to Ceiriog | OVERTON WWTW | CM0188601 | 885 | SJ3662541598 | GB111067057080 | SAC | Pass | 988.3712 | No permit | 257.2 | Y | 5 | 0
Upper Wye | Bach Howey Bk - source to conf R Wye | PAINSCASTLE STW | AW1004901 | 31028 | SO1713046220 | GB109055037060 | SAC | Fail | 83.8691 | No permit | 14 | N | 3.5 | 0.02625
Dee | Ceiriog - confluence Dee to Teirw | PANDY SEWAGE TREATMENT WORKS | CM0022201 | 886 | SJ1968035880 | GB111067051910 | SAC | Pass | 150.4323 | No permit | 0 | Y | 5 | 0
Upper Wye |  | PANDY STW PANDY MONMOUTHSHIRE | AH1002901 | 31029 | SO3351822842 | #N/A | WFD | WFD | 3.3 | No permit | 176 | N | 5 | N/A
West Cleddau | Cleddau North - H'waters to conf with W. Cled | PANTEG STW | BG0014001 | 50730 | SM9280034810 | GB110061038680 | SAC | Not Assessed | 41.7117 | No permit | 15.3 | N | 0.8 | 0.080325
Teifi | Clywedog - headwaters to confluence with Teifi | LLANFAIR CLYDOGAU WASTEWATER TREATMEN | BH0070801 | 50662 | SN6220651252 | GB110062039200 | WFD | WFD | 46.1454 | No permit | 15 | N | No permit, DWF <20m3/d | 0
Teifi | Tyweli - confluence with Talog to confluence with Teifi | PENCADER STW | BG0007801 | 50736 | SN4456036590 | GB110062039020 | SAC | Pass | 1135.864 | No permit | 439 | Y | 3.5 | 0.82312
Dee | Emral Brook | PENLEY STW | CM0118501 | 893 | SJ4148040460 | GB111067052211 | WFD | WFD | 1059.5655 | No permit | 182 | Y | 0.9 | 0.93275
Teifi | Teifi - Afon Clettwr to Afon Ceri | PENTRECWRT STW | BG0036101 | 50741 | SN3888039110 | GB110062043564 | SAC | Fail | 301.2628 | No permit | 56 | Y | 5 | 0
Upper Wye | Ithon - conf Camddwr Bk to conf R Wye | PENYBONT (NR LLANDRINDOD WELLS) SWK | AN0115601 | 33074 | SO1163063840 | GB109055042270 | SAC | Pass | 148.0275 | No permit | 29 | Y | 5 | 0
Dee | Alyn - upstream Dolfechlas Brook | PENYSTRYT STW | CM0043501 | 914 | SJ1950051800 | GB111067051810 | WFD | WFD | 312.935 | No permit | 36 | Y | 5 | 0
Tywi | Cothi - confluence with Marlais to confl with Tywi | PONTARGOTHI WWTW | BN0002601 | 50716 | SN5044621217 | GB110060036300 | WFD | WFD | 597.548 | No permit | 171 | Y | 5 | 0
Dee | Ceiriog - confluence Dee to Teirw | PONTFADOG STW | CM0021701 | 926 | SJ2417038440 | GB111067051910 | SAC | Pass | 179.0765 | No permit | 0 | Y | 1 | 0
East Cleddau | Syfynwy - Llys-y-fran to conf with E Cleddau | LLYSYFRAN DAM | BP0366401 | 50696 | SN0378724195 | GB110061030700 | SAC | Pass | 27.655 | No permit | 14.5 | N | No requirement | 0
East Cleddau | E. Cleddau - conf with Wern to conf with Syfynwy | MAENCLOCHOG STW CLYNDERWEN | BG0000401 | 50698 | SN0753726866 | GB110061038290 | SAC | Pass | 294.7724 | 2 | 59.1 | Y | No permit change needed | 0
Teifi | Teifi - headwaters to confluence with Meurig | Pontrhydfendigaid Wastewater Treatment Works | BN0040202 | 50749 | SN7278266709 | GB110062043540 | SAC | Pass | 647.8594 | No permit | 238.4 | Y | 1.8 | 0.9536
Meir | Glaslyn - tidal to Afon Croesor | Prenteg WwTW | CG0015001 | 528 | SH5930041310 | GB110065053860 | SAC | Pass | 1071.7925 | No permit | 0 | Y | 5 | 0
West Cleddau | Anghof - headwaters to conf with Western Cleddau | PUNCHESTON WASTEWATER TREATMENT WORKS | BG0017601 | 50754 | SN0098029830 | GB110061038690 | SAC | Fail | 177.3129 | No permit | 36.4 | Y | 5 | 0
Tywi | Tywi - conf with Doethie to conf with Llandovery Bran | RHANDIRMWYN | BH0050701 | 50762 | SN7800034180 | GB110060036350 | SAC | Pass | 188.0203 | No permit | 0 | Y | 5 | 0
Upper Wye | Wye - conf Afon Marteg to conf Afon Elan | RHAYADER STW | AW1005201 | 31062 | SN9783067290 | GB109055042280 | SAC | Pass | 2211.9917 | No permit | 857 | Y | 3 | 2.1425
Dee | Dolfechlas Brook | RHOSESMOR STW | CM0044201 | 501 | SJ2100068150 | GB111067056870 | WFD | WFD | 624.0781 | No permit | 174 | Y | 5 | 0
Teifi | Morgenau - headwaters to confluence with Teifi | Pontrhydyceirt STW Pontrhydyceirt | BG0023001 | 50748 | SN2110042600 | GB110062039050 | WFD | WFD | 113.3947 | No permit | 18.2 | N | No requirement | 0
Gwyrfi | Gwyrfai - upstream of Cwellyn | RhydDdu STW | CG0024101 | 987 | SH5705053080 | GB110065054191 | SAC | Pass | 172.4357 | No permit | 0 | Y | 5 | 0
Teifi | Ceri - headwaters to conf Dulas | RHYDLEWIS STW RHYDLEWIS LLANDYSSUL | BP0013501 | 51638 | SN3459447314 | GB110062039190 | SAC | Fail | 154.225 | No permit | 66 | Y | 4.5 | 0.04125
Dee | Dolfechlas Brook | RHYDYMWYN STW | CM0004201 | 687 | SJ2090066500 | GB111067056870 | WFD | WFD | 575.3781 | No permit | 192 | Y | 5 | 0
Tywi | Myddfi - headwaters to confluence with Tywi | SALEM STW | BP0219002 | 50770 | SN6212026640 | GB110060029380 | WFD | WFD | 153.325 | No permit | 56 | Y | 5 | 0
Teifi | Morgenau - headwaters to confluence with Teifi | RHOSHILL SEWAGE TREATMENT WORKS | BG0038101 | 50764 | SN1944040130 | GB110062039050 | WFD | WFD | 38.8978 | No permit | 10 | N | No permit, DWF <20m3/d | 0
Dee | Meloch | SARNAU WWTW | CM0094501 | 959 | SH9711039340 | GB111067051960 | SAC | Fail | 25.3685 | No permit | 3.95 | N | 1.8 | 0.0158
Usk | Usk - conf Afon Senni to conf Afon Crawnon | SENNYBRIDGE ARMY CAMP STW | AC0140301 | 31078 | SN9253029450 | GB109056040081 | SAC | Fail | 869.1526 | No permit | 451 | Y | 3.5 | 0.84562
West Cleddau | Rudbaxton Water - HW to conf with W. Cleddau | SPITTAL WWTW SPITTAL PEMBS | BG0016901 | 50778 | SM9734822501 | GB110061031190 | SAC | Fail | 313.0913 | No permit | 81.4 | Y | 0.6 | 0.4477
Teifi | Clettwr - headwaters to confluence with Teifi | TALGARREG WWTW TALGARREG CEREDIGION | BG0011001 | 50786 | SN4249851050 | GB110062039220 | SAC | Fail | 68.2211 | No permit | 18 | N | 3.5 | 0.03375
Upper Wye | Afon Llynfi - conf Dulas Bk to conf R Wye | TALGARTH STW | AW1005301 | 31098 | SO1507334806 | GB109055036950 | SAC | Fail | 2740.7155 | 2 | 841 | Y | 0.25 | 1.8397
Tywi | Ddu - headwaters to confluence with Dulais | TALLEY WWTW | BN0085301 | 50787 | SN6405031782 | GB110060036260 | WFD | WFD | 232.9369 | No permit | 128 | Y | 5 | 0
Usk | Caerfanell - source to conf R Usk | TALYBONT SEWAGE TREATMENT WORKS | AD0001701 | 31099 | SO1206923056 | GB109056033000 | SAC | Fail | 344.7204 | No permit | 89 | Y | 1 | 0.445
Usk | Usk - conf R Gavenny to conf Olway Bk | The Bryn | AA0017501 | 30819 | SO3338209730 | GB109056040083 | SAC | Fail | 146.8132 | No permit | 83 | Y | 5 | 0
East Cleddau | Syfynwy - Llys-y-fran to conf with E Cleddau | WALTON EAST STW | BN0083801 | 50805 | SN0236023050 | GB110061030700 | SAC | Pass | 77.0895 | No permit | 16.4 | N | No requirement | 0
Upper Wye | Tirabad Dulas - source to conf R Irfon | TIRABAD SEWAGE TREATMENT WORKS | AW2000201 | 31096 | SN8792041480 | GB109055036690 | SAC | Pass | 39.9178 | No permit | 12 | N | 4 | 0.015
Usk | Usk - conf Afon Hydfer to conf Afon Senni | Trecastle | AD0000901 | 31104 | SN8800028850 | GB109056039980 | SAC | Fail | 244.3365 | No permit | 46 | Y | 0.75 | 0.24438
West Cleddau | W Cleddau - Anghof conf to Cartlett Brook conf | TREFFGARNE STW | BN0071601 | 50796 | SM9585022950 | GB110061031340 | SAC | Fail | 141.1205 | No permit | 0 | Y | 5 | 0
Teifi | Teifi - conf with Meurig to conf with Brennig | TREGARON WWTW TREGARON CEREDIGION | BH0057801 | 50797 | SN6726159165 | GB110062043501 | SAC | Pass | 900.3679 | No permit | 520.4 | Y | 2 | 1.9515
Upper Wye | Irfon - conf Cledan to conf R Wye | Cefn Gorwydd Wastewater Treatment Wor | AN0180001 | 72737 | SN8991245976 | GB109055037090 | SAC | Fail | 31.2001 | No permit | 0 | N | No requirement | 0
Dee | Nug | CEFN BRITH STW | CG0328301 | 73720 | SH9333050240 | GB111067051710 | WFD | WFD | 104.7163 | No permit | 0 | N | No requirement | 0
Dee |  | TREGEIRIOG SEWAGE TREATMENT WORKS | CM0021901 | 981 | SJ1793033630 | GB111067051610 | SAC | NotAssessed | 59.1027 | No permit | 13.6 | N | 4 | 0.017
Dee | Cegidog | TREUDDYN STW | CM0066101 | 859 | SJ2563057990 | GB111067051770 | WFD | WFD | 1108.7754 | No permit | 275 | Y | 5 | 0
Dee | Alwen - above Afon Brenig | ALWEN STW | CM0128001 | 70042 | SH9593052627 | GB111067051760 | WFD | WFD | 2.55 | No permit | 0 | N | No requirement | 0
Usk | Usk - conf R Gavenny to conf Olway Bk | USK STW | AB0044801 | 31114 | ST3868099449 | GB109056040083 | SAC | Fail | 2978.6649 | No permit | 579 | Y | 5 | 0
Gwyrfi | Gwyrfai - downstream of Cwellyn | WAUNFAWR STW | CG0134001 | 1031 | SH5280358902 | GB110065054190 | SAC | Pass | 1027.2896 | No permit | 387 | Y | 1.6 | 1.6447
West Cleddau | Anghof - headwaters to conf with Western Cleddau | WOLFSCASTLE STW | BH0068601 | 50811 | SM9584026660 | GB110061038690 | SAC | Fail | 580.0172 | No permit | 77.3 | Y | 4.5 | 0.048313