## Emergency Overflow EDM return
|  | Annual Emergency Overflow EDM Return | [5 empty] | Version 22/12/22
Water Company: | Dwr Cymru Welsh Water | Year reported below: |  |  | 2022 | Date return submitted to NRW: |  | 2023-02-28
[6 empty] | General site information | [6 empty] | Annual EDM data
NRW permit reference | Permitted site name | No. of "effluents and discharge points" | Sample point reference | EDM effective date | EDM surrender date | Water company's asset ID | Water company's sewerage catchment | EO asset type | NRW's Environment Team | Receiving WFD waterbody ID (where applicable) | Receiving WFD waterbody name (where applicable) | Outlet discharge NGR | Name of shellfish water | No. of block counted spills - annual (no.) Det: 3355 | No. of significant block counted spills - annual (no.) Det: 1787 | Duration of all spills - annual (hrs) Det: 3105 | Duration of significant spills - annual (hrs) Det: 1788 | Shellfish water trigger limit (no.) | Has shellfish water trigger been exceeded? (yes/no) | Date shellfish water trigger exceeded Det: 1784 | Percentage time EDM operational - annual (%) Det: 3103 | Primary reason if % time operational <90% - annual Det: 1780 | Date range/s data unavailable | Additional comments
AN0061001 | KNAPP SEWAGE PUMPING STATION BARRY | 1 | N/A | N/A | N/A | 33097 | COG MOORS | EO at pumping station | Cardiff & Vale of Glamorgan Environment Team |  |  | ST 10340 66234 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 19.88 | Comms failure / issue | 11/05/2022 - 08/11/2022, 15/11/2022 - 21/11/2022, 26/11/2022 - 11/12/2022
AN0107701 | WENVOE SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 32637 | COG MOORS | EO at pumping station | Cardiff & Vale of Glamorgan Environment Team | GB110058026420 | Cadoxton - headwaters to tidal limit | ST 12791 72990 | N/A | 19 | 16 | 101 | 100.25 | N/A | N/A | N/A | 99.97
AN0122301 | GELLI CROSSING PUMPING STATION RHON | 1 | N/A | N/A | N/A | 32333 | CARDIFF BAY | EO at pumping station | Bridgend, Rhondda Cynon Taff and Merthyr Tydfil Environment Team | GB109057027200 | Rhondda R - source to conf Afon Rhondda Fach | SS 98074 95158 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 99.99
AN0351701 | Bryn Y Gwenin SPS Abergavenny | 1 | N/A | N/A | N/A | 73103 | LLANFOIST (ABERGAVENNY) | EO at pumping station | Monmouthshire & Torfaen Environment Team | GB109055029630 | Llanymynech Bk - source to conf R Trothy | SO 33556 16173 | N/A | 123 | 122 | 2781.25 | 2781 | N/A | N/A | N/A | 99.98
BE0006401 | LLANMADOC PS NO. 1 EMERGEN | 1 | N/A | N/A | N/A | 73043 | LLANMADOC | EO at pumping station | Swansea Environment Team | GB110059025610 | Burry Pill - headwaters to tidal limit | SS 44670 93360 | N/A | 30 | 25 | 108.25 | 107 | N/A | N/A | N/A | 99.97
BE0006402 | LLANMADOC P.S.NO 2 EMERGEN | 1 | N/A | N/A | N/A | 50902 | LLANMADOC | EO at pumping station | Swansea Environment Team |  |  | SS 44000 93800 | N/A | 11 | 8 | 50 | 49.25 | N/A | N/A | N/A | 95.3
BE0010501 | BALDWINS CRESCENT SPS | 1 | N/A | N/A | N/A | 72659 | SWANSEA BAY | EO at pumping station | Neath Port Talbot Environment Team |  |  | SS 69537 92653 | N/A | 39 | 38 | 124 | 123.75 | N/A | N/A | N/A | 100
BE0010502 | TEMPORARY INCREASED DIS. FROM | 1 | N/A | N/A | N/A | 50918 | SWANSEA BAY | EO at pumping station | Neath Port Talbot Environment Team |  |  | SS 69900 92600 | N/A | 22 | 20 | 49.25 | 48.75 | N/A | N/A | N/A | 90.68
BE0022301 | CASWELL BAY CAR PARK SPS CASWELL | 1 | N/A | N/A | N/A | 52450 | SWANSEA BAY | EO at pumping station | Swansea Environment Team |  |  | SS 59367 87711 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.99
BF0147004 | SSO AT STATION ROAD P.S. KIDWELLY | 1 | N/A | N/A | N/A | 51960 | KIDWELLY | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 40530 06640 | N/A | 14 | 14 | 6.5 | 6.5 | N/A | N/A | N/A | 99.95
BF0177707 | CWM CAPEL PS BURRY PORT | 1 | N/A | N/A | N/A | 51970 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 45500 02000 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 100
BF0177708 | SHORELINE PS BURRY PORT | 1 | N/A | N/A | N/A | 51971 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 44200 00400 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.99
BH0057004 | PENYCWM PS | 1 | N/A | N/A | N/A | 51996 | NEWGALE | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 84800 23300 | N/A | 8 | 8 | 23 | 23 | N/A | N/A | N/A | 99.9
BN0007001 | ABERGORLECH SPS | 1 | N/A | N/A | N/A | 73178 | ABERGORLECH | EO at pumping station | Carmarthenshire Environment Team | GB110060036030 | Gorlech - headwaters to confluence with Cothi | SN 58593 33635 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 58.2163 | Telemetry or data archiving failure / issue | 01/01/2022 - 31/05/2022
BN0266801 | EMERGENCY DISCHARGE FROM LLANG | 1 | N/A | N/A | N/A | 73039 | LLANGWM | EO at pumping station | Pembrokeshire Environment Team | GB531006114100 | MILFORD HAVEN INNER | SM 99270 09170 | N/A | 75 | 75 | 1333.5 | 1333.5 | N/A | N/A | N/A | 96.35
BP0060302 | FRESHWATER OUTFALL PUMPING STATION | 1 | N/A | N/A | N/A | 50620 | FRESHWATER EAST | EO at pumping station | Pembrokeshire Environment Team |  |  | SS 01550 97750 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.69
BP0111201 | BROADHAVEN NORTH PUMPING STATION | 1 | N/A | N/A | N/A | 50847 | WALTON WEST | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 86410 13141 | N/A | 7 | 3 | 4 | 3 | N/A | N/A | N/A | 97.14
BP0112602 | VALLEY RD P S'S (4 & 4A) SAUNDERSFO | 1 | N/A | N/A | N/A | 52894 | TENBY | EO at pumping station | Pembrokeshire Environment Team |  |  | SN 12240 05340 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 100
BP0237701 | NEW HEDGES PS ROWSTON HOLIDAY PARK | 1 | N/A | N/A | N/A | 70824 | TENBY | EO at pumping station | Pembrokeshire Environment Team |  |  | SN 13050 02370 | N/A | 9 | 9 | 22.75 | 22.75 | N/A | N/A | N/A | 100
BP0238301 | ABERPORTH HEADLAND PS ABERPORTH , | 1 | N/A | N/A | N/A | 70735 | ABERPORTH | EO at pumping station | Ceredigion Environment Team | GB651009030000 | Cardigan Bay Central | SN 26090 51650 | N/A | 1 | 1 | 0.25 | 0.25 | N/A | N/A | N/A | 100
BP0251903 | STORM TANKS AT TENBY HEADWORKS TE | 1 | N/A | N/A | N/A | 53131 | TENBY | EO at WwTW | Pembrokeshire Environment Team | GB110061025150 | Ritec - headwaters to tidal limit | SN 12870 00370 | N/A | 14 | 14 | 96.5 | 96.5 | N/A | N/A | N/A | 100
BP0254201 | PS AT CLARACH BAY HOL VILLAGE CLARA | 1 | N/A | N/A | N/A | 70761 | ABERYSTWYTH (GLAN YR AFON) | EO at pumping station | Ceredigion Environment Team | GB110063041610 | Clarach - headwaters to tidal limit | SN 58900 83770 | N/A | 17 | 16 | 154.25 | 154 | N/A | N/A | N/A | 99.6
BP0257501 | Emergency Overflow at Ty Draw Lane SPS | 1 | N/A | N/A | N/A | 73110 | AFAN NEW WORKS | EO at pumping station | Bridgend, Rhondda Cynon Taff and Merthyr Tydfil Environment Team | GB611008590001 | Bristol Channel Outer North | SS 78690 79592 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.88
BP0267401 | LAMACK VALE PS LAMACK VALE TENBY , | 1 | N/A | N/A | N/A | 70819 | TENBY | EO at pumping station | Pembrokeshire Environment Team | GB110061025150 | Ritec - headwaters to tidal limit | SN 12300 01200 | N/A | 9 | 6 | 10.75 | 10 | N/A | N/A | N/A | 99.96
BP0273801 | LITTLE HAVEN SPS HEAD OF BEACH LIT | 1 | N/A | N/A | N/A | 70820 | WALTON WEST | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 85700 12910 | N/A | 5 | 5 | 20.75 | 20.75 | N/A | N/A | N/A | 99.12
BP0305901 | LANGLAND SPS LANGLAND SWANSEA | 1 | N/A | N/A | N/A | 52451 | SWANSEA BAY | EO at pumping station | Swansea Environment Team | GB611008590001 | Bristol Channel Outer North | SS 60589 87127 | N/A | 5 | 3 | 24.75 | 24.25 | N/A | N/A | N/A | 99.99
BP0345601 | CAREW/MILTON WWTWS PEMBROKESHIRE | 1 | N/A | N/A | N/A | 72908 | CAREW | EO at WwTW | Pembrokeshire Environment Team |  |  | SN 03920 03349 | N/A | 126 | 122 | 2760.25 | 2759.25 | N/A | N/A | N/A | 100
BP0350201 | GWBERT SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 72662 | CARDIGAN | EO at pumping station | Ceredigion Environment Team | GB511006206900 | TEIFI ESTUARY | SN 15917 50347 | N/A | 4 | 3 | 16.75 | 16.5 | N/A | N/A | N/A | 100
BW4100901 | LIMESLADE PUMPING STATION SWANSEA | 1 | N/A | N/A | N/A | 71007 | SWANSEA BAY | EO at pumping station | Swansea Environment Team |  |  | SS 62508 87168 | N/A | 8 | 5 | 22.5 | 21.75 | N/A | N/A | N/A | 99.9
CG0051702 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 1 | 1 | 1.5 | 1.5 | N/A | N/A | N/A | 99.56
CG0091701 | PONT Y BRENIN PS | 1 | N/A | N/A | N/A | 2211 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team | GB110102058900 | Lleiniog | SH 60880 78930 | N/A | 9 | 7 | 12 | 11.5 | N/A | N/A | N/A | 99.68
CG0091801 | LLEINIOG PS | 1 | N/A | N/A | N/A | 2212 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 62090 79150 | N/A | 30 | 27 | 105.25 | 104.5 | N/A | N/A | N/A | 41.23 | Sensor failure / issue | 25/02/2022 - 27/09/2022
CG0105301 | SPS IND ESTATE LLANDUDNO | 1 | N/A | N/A | N/A | 70667 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 79790 78520 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.82
CG0146301 | WEST END PS BEAUMARIS ANGLESEY | 1 | N/A | N/A | N/A | 2223 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 60220 75880 | N/A | 22 | 22 | 64.75 | 64.75 | N/A | N/A | N/A | 100
CG0146401 | RHIANFA PS LLANDEGFAN | 1 | N/A | N/A | N/A | 2224 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 57080 73300 | N/A | 17 | 16 | 22 | 21.75 | N/A | N/A | N/A | 82.91 | Sensor failure / issue | 14/05/2022 - 15/07/2022
CG0146501 | GLYN GARTH PS LLANDEGFAN | 1 | N/A | N/A | N/A | 2225 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 57470 73680 | N/A | 20 | 17 | 29.5 | 28.75 | N/A | N/A | N/A | 99.98
CG0147801 | MALLTRAETH VILLAGE PUMPING STATION | 1 | N/A | N/A | N/A | 2235 | MALLTRAETH | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 40904 68871 | N/A | - | - | - | - | N/A | N/A | N/A | 0 | Comms failure / issue | 01/01/2022 - 31/12/2022
CG0147901 | CYNLAI PS LLANGOED ANGLESEY | 1 | N/A | N/A | N/A | 2236 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 62460 79520 | N/A | 4 | 3 | 9.75 | 9.5 | N/A | N/A | N/A | 98.62
CG0312601 | FRYARS BAY P.S- SCREENED EMERG | 1 | N/A | N/A | N/A | 2210 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 61150 77910 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.97
CG0314702 | TALYBONT STW | 1 | N/A | N/A | N/A | 72302 | TALYBONT | EO at WwTW | Mon ac Arfon Environment Team | GB110065058520 | Ogwen - lower | SH 60218 70166 | N/A | 1 | 1 | 1 | 1 | N/A | N/A | N/A | 100
CG0314801 | YNYS LAS PS | 1 | N/A | N/A | N/A | 2991 | BORTH | EO at pumping station | Ceredigion Environment Team |  |  | SN 61010 92550 | N/A | 2 | 2 | 10.5 | 10.5 | N/A | N/A | N/A | 99.96
CG0315301 | PENRHYN BAY LLANDUNDNO ROAD - | 1 | N/A | N/A | N/A | 70673 | GANOL | EO at pumping station | Conwy Environment Team | GB110066059902 | Ganol East | SH 82430 80940 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.94
CG0316401 | FORYD RD EMERGENCY KINMEL BAY , | 1 | N/A | N/A | N/A | 2656 | KINMEL BAY | EO at pumping station | Conwy Environment Team |  |  | SH 98620 80230 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 98.36
CG0317101 | BOOT & SHIP PS , , | 1 | N/A | N/A | N/A | 3103 | GREENFIELD | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 20960 76300 | N/A | 8 | 7 | 43 | 42.75 | N/A | N/A | N/A | 99.45
CG0317701 | PRESTATYN NANT HALL PS NANT HALL RO | 1 | N/A | N/A | N/A | 2811 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07240 83230 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 100
CG0317702 | PRESTATYN NANT HALL PS NANT HALL RO | 1 | N/A | N/A | N/A | 2811 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07240 83230 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 100
CG0324401 | FLINT STW (THE MEADOWS) , , | 1 | N/A | N/A | N/A | 3146 | FLINT | EO at WwTW | Flintshire & Wrexham Environment Team | GB111067056940 | Swinchiard Brook | SJ 23990 72770 | N/A | 3 | 2 | 3.25 | 3 | N/A | N/A | N/A | 100
CG0340904 | BRYNSCIENCYN PS , , | 1 | N/A | N/A | N/A | 70542 | BRYNSIENCYN (NEW STW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 49450 66320 | N/A | 6 | 6 | 21.75 | 21.75 | N/A | N/A | N/A | 99.98
CG0341302 | CRICCIETH EAST PS , , | 1 | N/A | N/A | N/A | 71643 | CRICCIETH | EO at pumping station | Dwyfor ac Meirionnydd Environment Team | GB651009350000 | Tremadog Bay | SH 50700 37900 | N/A | 20 | 20 | 182.25 | 182.25 | N/A | N/A | N/A | 96.48
CG0341402 | CRICCIETH WEST PS , , | 1 | N/A | N/A | N/A | 3210 | CRICCIETH | EO at pumping station | Dwyfor ac Meirionnydd Environment Team | GB651009350000 | Tremadog Bay | SH 49400 37530 | N/A | 33 | 33 | 263.25 | 263.25 | N/A | N/A | N/A | 99.38
CG0342903 | LLANFAES PS (EMERGENCY) , , | 1 | N/A | N/A | N/A | 70522 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 60850 77780 | N/A | 4 | 4 | 24.75 | 24.75 | N/A | N/A | N/A | 99.94
CG0342905 | MOUNT FIELD P.S. BEAUMARIS , | 1 | N/A | N/A | N/A | 3221 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 61170 76190 | N/A | 43 | 43 | 213 | 213 | N/A | N/A | N/A | 93.0365
CG0348401 | FLINT BARDYN PS , , | 1 | N/A | N/A | N/A | 2392 | FLINT | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 24820 73230 | N/A | 32 | 32 | 13.25 | 13.25 | N/A | N/A | N/A | 98.09
CG0349401 | FELINHELI PS (OPP SEA CADET CORPS) | 1 | N/A | N/A | N/A | 70518 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 52060 67240 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.98
CG0349501 | FELINHELI PS (QUAY COTTAGE) , , | 1 | N/A | N/A | N/A | 3266 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB110065058490 | Nant-y-Garth (Menai Strait) | SH 52320 67580 | N/A | 12 | 12 | 80.75 | 80.75 | N/A | N/A | N/A | 99.97
CG0349701 | FELINHELI PS (ADJ TO QUAY TOILETS) | 1 | N/A | N/A | N/A | 70519 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 52430 67800 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.98
CG0351701 | BEACH ROAD PS BANGOR , | 1 | N/A | N/A | N/A | 2063 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 58690 73410 | N/A | 5 | 5 | 5 | 5 | N/A | N/A | N/A | 95.9
CG0363402 | LLYN Y FELIN PS (EMERGENCY) , , | 1 | N/A | N/A | N/A | 70533 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55420 71400 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.44
CG0363502 | PS NO 1 (FAELOG CAUSEWAY) (EMERGENC | 1 | N/A | N/A | N/A | 70536 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 56160 72210 | N/A | 52 | 52 | 292.75 | 292.75 | N/A | N/A | N/A | 99.99
CG0363602 | PS NO 2 (PORTH WRACH) (EMERGENCY) | 1 | N/A | N/A | N/A | 3262 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55840 71760 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.98
CG0363702 | PS NO 3 (SUSPENSION BRIDGE) (EMERGE | 1 | N/A | N/A | N/A | 70540 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55630 71520 | N/A | 109 | 109 | 1640.25 | 1640.25 | N/A | N/A | N/A | 99.97
CG0365101 | GLAENTRAETH ESTATE PS BANGOR , | 1 | N/A | N/A | N/A | 70664 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB110065058540 | Cegin | SH 59370 72230 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.59
CG0366201 | TREBORTH STW (FINAL) BANGOR | 1 | N/A | N/A | N/A | 2989 | TREBORTH (NEW) | EO at WwTW | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 53790 70850 | N/A | 19 | 19 | 16.25 | 16.25 | N/A | N/A | N/A | 99.81
CG0368701 | WOODLANDS P.S WOODLANDS ESTATE MARL | 1 | N/A | N/A | N/A | 72797 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 79820 79500 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 100
CG0369401 | PS OFF LLANELION ROAD COLWYN BAY | 1 | N/A | N/A | N/A | 70565 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 86930 77780 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 98.92
CG0375401 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 10 | 10 | 23.5 | 23.5 | N/A | N/A | N/A | 96.61
CG0375402 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 2 | 2 | 1 | 1 | N/A | N/A | N/A | 99.56
CG0377602 | GANOL STW PS GLAN CONWY CORNER | 1 | N/A | N/A | N/A | 71921 | GANOL | EO at WwTW | Conwy Environment Team |  |  | SH 80620 77320 | N/A | 1 | 1 | 0.25 | 0.25 | N/A | N/A | N/A | 99.67
CG0377702 | GANOL STW PS GLAN CONWY CORNER | 1 | N/A | N/A | N/A | 71921 | GANOL | EO at WwTW | Conwy Environment Team |  |  | SH 80620 77320 | N/A | 1 | 1 | 0.25 | 0.25 | N/A | N/A | N/A | 99.67
CG0383001 | RHOSNEIGR SPS RHOSNEIGR | 1 | N/A | N/A | N/A | 71924 | RHOSNEIGR / BRYN DU | EO at pumping station | Mon ac Arfon Environment Team | GB621010380000 | Caernarfon Bay North | SH 31330 72221 | N/A | 22 | 22 | 263.25 | 263.25 | N/A | N/A | N/A | 99.96
CG0393901 | PENMAENMAWR WWTW PENMAENMAWR | 1 | N/A | N/A | N/A | 70011 | PENMAENMAWR | EO at WwTW | Conwy Environment Team | GB671010400000 | Conwy Bay | SH 73220 78110 | N/A | 16 | 16 | 20.25 | 20.25 | N/A | N/A | N/A | 99.99
CG0415701 | COLEG NORMAL SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 71508 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 56219 71784 | N/A | 7 | 2 | 3 | 1.75 | N/A | N/A | N/A | 99.98
CM0034601 | ARGOED PS | 1 | N/A | N/A | N/A | 2106 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 11460 83560 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.98
CM0034901 | FFYNNON WEST PS | 1 | N/A | N/A | N/A | 2723 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 13310 82420 | N/A | 11 | 10 | 100.5 | 100.25 | N/A | N/A | N/A | 98.99
CM0035301 | STATION ROAD PS TALACRE | 1 | N/A | N/A | N/A | 2380 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 12000 84330 | N/A | 2 | 2 | 10.75 | 10.75 | N/A | N/A | N/A | 92.68
CM0036001 | LOWER DYSERTH PS | 1 | N/A | N/A | N/A | 70583 | DYSERTH | EO at pumping station | Denbighshire Environment Team | GB110066059990 | Glanfyddion Cut | SJ 05160 79750 | N/A | 7 | 7 | 4 | 4 | N/A | N/A | N/A | 99.98
CM0038901 | TAI TREVOR PS LLANNERCHYMOR | 1 | N/A | N/A | N/A | 70661 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team | GB111067057050 | Nant Sir Roger (Dee estuary) | SJ 18470 78690 | N/A | 4 | 2 | 5 | 4.5 | N/A | N/A | N/A | 99.97
CM0052701 | MARINE PARK PS | 1 | N/A | N/A | N/A | 1202 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 05353 82194 | N/A | 2 | 0 | 0.5 | 0 | N/A | N/A | N/A | 100
CM0052801 | CORONATION GARDENS PS | 1 | N/A | N/A | N/A | 2188 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07600 83450 | N/A | 21 | 14 | 45.5 | 43.75 | N/A | N/A | N/A | 97.56
CM0070801 | MOSTYN ARMS PS MOSTYN | 1 | N/A | N/A | N/A | 2104 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 15290 81050 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 98.95
CM0070901 | MOSTYN DOCKS CAR PARK - SSO | 1 | N/A | N/A | N/A | 2105 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 15570 80960 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 18.63 | Sensor failure / issue | 09/03/2022 - 31/12/2022
CM0148301 | PRESTATYN SEVEN SISTERS ROAD SPS | 1 | N/A | N/A | N/A | 1193 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 06410 83320 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.95
WQD004967 | DYFATTY PARK SPS | 1 | N/A | N/A | N/A | 72181 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team | GB110059032310 | Loughor - confluence with Aman to tidal limit | SN 45756 00984 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.97
CM0102002 | HOLT STW | 1 | N/A | N/A | N/A | 2900 | HOLT | EO at WwTW | Flintshire & Wrexham Environment Team | GB111067057080 | Dee - Chester Weir to Ceiriog | SJ 40320 54460 | N/A | 0 | 0 | 0 | 0 |  |  |  | 100
BM0004401 | EWENNY P.STN. NO. 1 EMERGEN | 1 | N/A | N/A | N/A | 73035 | PENYBONT (MERTHYR MAWR) | EO at pumping station |  |  |  |  | N/A | 1 | 1 | 2 | 2 |  |  |  | 100
CG0089501 | ABERDESACH PS | 1 | N/A | N/A | N/A | 2117 | PONTLLYFNI | EO at pumping station |  |  |  |  | N/A | 91 | 76 | 118.25 | 114.5 |  |  |  | 99.91
CG0089701 | PONTLLYFNI PS | 1 | N/A | N/A | N/A | 2119 | PONTLLYFNI | EO at pumping station |  |  |  |  | N/A | 77 | 77 | 425.25 | 425.25 |  |  |  | 100
AG0009501 | CREIGIAU PS | 1 | N/A | N/A | N/A | 32822 | CREIGIAU | EO at pumping station |  |  |  |  | N/A | 36 | 36 | 283.5 | 283.5 |  |  |  | 100
AN0328601 | Dan y Gollen SPS, Crickhowell, Powys | 1 | N/A | N/A | N/A | 73291 | CRICKHOWELL | EO at pumping station |  |  |  |  | N/A | 0 | 0 | 0 | 0 |  |  |  | 100
BN0072502 | RED ROSES STW | 1 | N/A | N/A | N/A | 51688 | RED ROSES | EO at WwTW |  |  |  |  | N/A | 60 | 60 | 386.75 | 386.75 |  |  |  | 99.96
BP0112402 | MILFORD STREET PUMPING STATION (NO. 1 & 1A) COMMON OVERFLOW | 1 | N/A | N/A | N/A | 70823 | TENBY | EO at pumping station |  |  |  |  | N/A | 2 | 2 | 5.75 | 5.75 |  |  |  | 100
BP0234801 | FELIN FRAN PUMPING STATION, LLANGADOG, DYFED | 1 | N/A | N/A | N/A | 71257 | LLANGADOG | EO at pumping station |  |  |  |  | N/A | 2 | 2 | 9.5 | 9.5 |  |  |  | 100
CG0083004 | MACHYNLLETH STW | 1 | N/A | N/A | N/A | 2935 | MACHYNLLETH | EO at WwTW |  |  |  |  | N/A | 3 | 3 | 0.75 | 0.75 |  |  |  | 99.78
CM0144301 | CROOKED HORN SPS NO 3 BRYNFORD | 1 | N/A | N/A | N/A | 2726 | MOSTYN | EO at pumping station |  |  |  |  | N/A | 23 | 23 | 18.75 | 18.75 |  |  |  | 75.26 | Comms failure / issue
AN0217901 | PENYBONT P.S. | 1 | N/A | N/A | N/A | 70320 | PENYBONT | EO at pumping station |  |  |  |  | N/A | 19 | 19 | 179.5 | 179.5 |  |  |  | 99.99
BG0028801 | ALLTYBLACA PS ALLTYBLACCA LLANYBYDD | 1 | N/A | N/A | N/A | 70295 | LLANYBYDDER | EO at pumping station |  |  |  |  | N/A | 121 | 121 | 2268 | 2268 |  |  |  | 85.4 | Telemetry or data archiving failure / issue
BN0000301 | BRECHFA STW - EMERGENCY DISCHA | 1 | N/A | N/A | N/A | 52807 | BRECHFA | EO at WwTW |  |  |  |  | N/A | 102 | 100 | 1476.5 | 1476 |  |  |  | 100
BN0002602 | PONTARGOTHI P.S.EMERG. | 1 | N/A | N/A | N/A | 52815 | NANTGAREDIG | EO at pumping station |  |  |  |  | N/A | 48 | 48 | 573.25 | 573.25 |  |  |  | 99.88
BN0037002 | ALLTWALIS PS | 1 | N/A | N/A | N/A | 52059 | ALLTWALLIS | EO at pumping station |  |  |  |  | N/A | 45 | 40 | 211.75 | 210.5 |  |  |  | 99.99
BN0077502 | FARMERS STW EMERG. | 1 | N/A | N/A | N/A | 73440 | FARMERS | EO at WwTW |  |  |  |  | N/A | 5 | 4 | 6.25 | 6 |  |  |  | 100
BO5106701 | HEN PARC LANE PUMPING STATION | 1 | N/A | N/A | N/A | 73099 | GOWERTON | EO at pumping station |  |  |  |  | N/A | 19 | 18 | 56.75 | 56.5 |  |  |  | 89.21 | Comms failure / issue
BP0015603 | IDOLE CWMFFRWD SEWERAGE SCHEME | 1 | N/A | N/A | N/A | 52071 | PARC-Y-SPLOTTS | EO at pumping station |  |  |  |  | N/A | 49 | 49 | 317.25 | 317.25 |  |  |  | 99.9
BP0220801 | LLANDDAROG PS EO CWMISFAEL CARMS | 1 | N/A | N/A | N/A | 70289 | LLANDDAROG | EO at pumping station |  |  |  |  | N/A | 56 | 48 | 277.5 | 275.5 |  |  |  | 99.98
BP0251201 | PENIEL PS PENIEL CARMARTHEN , | 1 | N/A | N/A | N/A | 70880 | PARC-Y-SPLOTTS | EO at pumping station |  |  |  |  | N/A | - | - | - | - |  |  |  | 0 | Sensor failure / issue | 01/01/2022 - 31/12/2022
BP0270601 | CWMANN SPS(EMERG'Y) CWMANN LAMPETER | 1 | N/A | N/A | N/A | 70756 | LAMPETER | EO at pumping station |  |  |  |  | N/A | 9 | 8 | 9.25 | 9 |  |  |  | 99.68
BP0308301 | TALLEY WWTW INLET PUMPING STATION | 1 | N/A | N/A | N/A | 52810 | TALLEY | EO at WwTW |  |  |  |  | N/A | 30 | 27 | 139.75 | 139 |  |  |  | 99.5976
CG0322301 | KELSTERTON PUMP STN. , , | 1 | N/A | N/A | N/A | 3175 | CONNAHS QUAY | EO at pumping station |  |  |  |  | N/A | 1 | 0 | 0.25 | 0 |  |  |  | 99.85
CG0367601 | LLANLLECHID SPS , , | 1 | N/A | N/A | N/A | 73477 | BETHESDA | EO at pumping station |  |  |  |  | N/A | 3 | 3 | 6.75 | 6.75 |  |  |  | 99.94
CG0433001 | HOLYHEAD WWTW FINAL EFFLUENT PS | 1 | N/A | N/A | N/A | 74889 | HOLYHEAD | EO at WwTW |  |  |  |  | N/A | 105 | 105 | 177.25 | 177.25 |  |  |  | 99.96
CG0193001 | PENDYFFRYN SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 2215 | HOLYHEAD | EO at pumping station |  |  |  |  | N/A | 23 | 23 | 461.25 | 461.25 |  |  |  | 100

## Unpermitted SO EDM return
|  | Annual Unpermitted Storm Overflow EDM Return (inc permitted EOs acting as SOs) | [5 empty] | Version 22/12/22
Water Company: | Dwr Cymru Welsh Water | Year reported below: |  |  | 2022 | Date return submitted to NRW: |  | 2023-02-28
[6 empty] | General site information | [6 empty] | Annual EDM data
NRW permit reference (only complete if permitted as an EO, use N/A if unpermitted asset/unpermitted reference if available) | Site name | No. of "effluents and discharge points" | Sample point reference | EDM effective date | EDM surrender date | Water company's asset ID | Water company's sewerage catchment | Unpermitted storm overflow asset type | NRW's Environment Team | Receiving WFD waterbody ID (where applicable) | Receiving WFD waterbody name (where applicable) | Outlet discharge NGR | Name of shellfish water | No. of block counted spills - annual (no.) Det: 3355 | No. of significant block counted spills - annual (no.) Det: 1787 | Duration of all spills - annual (hrs) Det: 3105 | Duration of significant spills - annual (hrs) Det: 1788 | Shellfish water trigger limit (no.) | Has shellfish water trigger been exceeded? (yes/no) | Date shellfish water trigger exceeded Det: 1784 | Percentage time EDM operational - annual (%) Det: 3103 | Primary reason if % time operational <90% - annual Det: 1780 | Date range/s data unavailable | Additional comments
Unpermitted-72760 | Libanus Road CSO Gorseinon | 1 |  |  |  | 72760 | Gowerton | CSO on sewer network |  |  |  | SH8809830300 |  | 43 | 43 | 40 | 40 |  |  |  | 99.85
Unpermitted-75163 | Penygroes CSO | 1 |  |  |  | 75163 | GARNSWLLT | CSO on sewer network |  |  |  | SN5911313426 |  | 2 | 2 | 0.5 | 0.5 |  |  |  | 16.26 | Other – you must give explanation in "additional comments" box | 01/01/2022 - 02/11/2022 | EDM installed November 2022
Unpermitted-2019 | Conwy Harbour CSO | 1 |  |  |  | 2019 | GANOL | CSO on sewer network |  |  |  | SH 78235 77674 |  | - | - | - | - |  |  |  | 0 | Telemetry or data archiving failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-2148 | Slaughterhouse CSO, Blaenau Ffestiniog | 1 |  |  |  | 2148 | BLAENAU FFESTINIOG | CSO on sewer network |  |  |  | SH 69356 46091 |  | 3 | 3 | 1.5 | 1.5 |  |  |  | 96.19
Unpermitted-2218 | Holyhead CSO | 1 |  |  |  | 2218 | Trearddur Bay | CSO on sewer network |  |  |  | SH2797978337 |  | 0 | 0 | 0 | 0 |  |  |  | 34.26 | Comms failure / issue
Unpermitted-2276 | Dee Road CSO, Connahs Quay | 1 |  |  |  | 2276 | CONNAHS QUAY | CSO on sewer network |  |  |  | SJ 29825 68896 |  | - | - | - | - |  |  |  | 0 | Comms failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-2356 | Bro Alun CSO, Mold | 1 |  |  |  | 2356 | MOLD | CSO on sewer network |  |  |  | SJ 24069 64526 |  | 33 | 33 | 29.25 | 29.25 |  |  |  | 99.4
Unpermitted-2492 | 31 Trofryn CSO, Penycae | 1 |  |  |  | 2492 | FIVE FORDS (WREXHAM) | CSO on sewer network |  |  |  | SJ 28874 45120 |  | 39 | 39 | 26.25 | 26.25 |  |  |  | 77.06 | Comms failure / issue
Unpermitted-2707 | Tre Taliesin SPS | 1 |  |  |  | 2707 | BORTH | Storm discharge at pumping station |  |  |  | SN 65659 91486 |  | 35 | 35 | 194.75 | 194.75 |  |  |  | 61.1 | Telemetry or data archiving failure / issue
Unpermitted-2744 | Tal-y-Bont SPS Overflow | 1 |  |  |  | 2744 | TALYBONT (NE of Aberystwyth) | Storm discharge at pumping station |  |  |  | SN 65373 89128 |  | 0 | 0 | 0 | 0 |  |  |  | 99.98
Unpermitted-2770 | Isallt Bach SPS, Trearddur Bay | 1 |  |  |  | 2770 | HOLYHEAD | Storm discharge at pumping station |  |  |  | SH 24870 79498 |  | 23 | 23 | 16 | 16 |  |  |  | 100
Unpermitted-2775 | Tai Lleuar CSO, Pontllyfni | 1 |  |  |  | 2775 | PONTLLYFNI | CSO on sewer network |  |  |  | SH 43483 52608 |  | 0 | 0 | 0 | 0 |  |  |  | 74.53 | Comms failure / issue
Unpermitted-2794 | Flint Castle No1 SPS | 1 |  |  |  | 2794 | Flint | Storm discharge at pumping station |  |  |  | SJ2462673542 |  | 0 | 0 | 0 | 0 |  |  |  | 99.98
Unpermitted-2891 | Trefnant WwTW | 1 |  |  |  | 2891 | TREFNANT | Discharge from Storm tank at WwTW |  |  |  | SJ 06086 71702 |  | 93 | 93 | 614 | 614 |  |  |  | 100
Unpermitted-2901 | Lavister WwTW Overflow | 1 |  |  |  | 2901 | LAVISTER | Discharge from Storm tank at WwTW |  |  |  | SJ 37680 58299 |  | 86 | 86 | 674.25 | 674.25 |  |  |  | 99.95
Unpermitted-2907 | Glyn Ceiriog WwTW | 1 |  |  |  | 2907 | GLYNCEIRIOG | Discharge from Storm tank at WwTW |  |  |  | SJ 20946 37844 |  | 65 | 65 | 212 | 212 |  |  |  | 99.99
Unpermitted-2912 | Connahs Quay WwTW Storm overflow | 1 |  |  |  | 2912 | CONNAHS QUAY | Discharge from Storm tank at WwTW |  |  |  | SJ 30244 69386 |  | 3 | 3 | 1.25 | 1.25 |  |  |  | 99.71
Unpermitted-2930 | Llanuwchllyn WwTW | 1 |  |  |  | 2930 | LLANUWCHLLYN | Inlet CSO at WwTW |  |  |  | SH 8809830300 |  | 208 | 208 | 2819 | 2819 |  |  |  | 99.95
Unpermitted-2992 | Llanfachraeth WwTW | 1 |  |  |  | 2992 | LLANFACHRAETH | Inlet CSO at WwTW |  |  |  | SH7537322343 |  | 6 | 6 | 117 | 117 |  |  |  | 83.68 | Other – you must give explanation in "additional comments" box | 01/01/2022 - 01/03/2022 | EDM installed March 2022
Unpermitted-2998 | Llangybi WwTW, Pwllheli | 1 |  |  |  | 2998 | LLANGYBI (W OF Porthmadog) | Inlet CSO at WwTW |  |  |  | SH 43098 40337 |  | 153 | 153 | 2867.75 | 2867.75 |  |  |  | 58.35 | Telemetry or data archiving failure / issue | 12/05/2022 - 10/06/2022
Unpermitted-30806 | Bonvilston East WwTW Overflow | 1 |  |  |  | 30806 | BONVILSTON (EAST) | Inlet CSO at WwTW |  |  |  | ST 07148 73686 |  | - | - | - | - |  |  |  | 0 | Sensor failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-31103 | Tintern WwTW | 1 |  |  |  | 31103 | TINTERN | Inlet CSO at WwTW |  |  |  | SO 53498 00427 |  | 49 | 49 | 18 | 18 |  |  |  | 100
Unpermitted-31962 | Ddole Rd SPS, Llandrindod Wells | 1 |  |  |  | 31962 | LLANDRINDOD WELLS | Storm discharge at pumping station |  |  |  | SO 05975 62443 |  | - | - | - | - |  |  |  | 0 | Sensor failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-32106 | Rear of Bush Hotel CSO, Abertillery | 1 |  |  |  | 32106 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21636 04103 |  | 0 | 0 | 0 | 0 |  |  |  | 99.99
Unpermitted-32118 | Woodland Rd Recreation Ground CSO, Cwmbran | 1 |  |  |  | 32118 | PONTHIR | CSO on sewer network |  |  |  | ST 30128 95489 |  | 123 | 123 | 992 | 992 |  |  |  | 94.79
Unpermitted-32269 | Taff Terrace CSO, Abercynon | 1 |  |  |  | 32269 | CYNON | CSO on sewer network |  |  |  | ST 08099 94178 |  | 10 | 10 | 8.75 | 8.75 |  |  |  | 89.63 | Comms failure / issue
Unpermitted-32285 | Martins Terrace CSO, Abercynon | 1 |  |  |  | 32285 | CYNON | CSO on sewer network |  |  |  | ST 08320 94733 |  | 4 | 4 | 1 | 1 |  |  |  | 99.95
Unpermitted-32331 | Rear of William St CSO, Ystrad | 1 |  |  |  | 32331 | CARDIFF BAY | CSO on sewer network |  |  |  | SS 98424 95037 |  | 41 | 41 | 50.75 | 50.75 |  |  |  | 65.14 | Comms failure / issue
Unpermitted-32405 | River Row CSO, Abercynon | 1 |  |  |  | 32405 | CYNON | CSO on sewer network |  |  |  | ST 08308 95101 |  | 91 | 91 | 1211.25 | 1211.25 |  |  |  | 99.12
Unpermitted-32487 | Pit Place CSO, Cwmbach | 1 |  |  |  | 32487 | CYNON | CSO on sewer network |  |  |  | SO 02317 01955 |  | - | - | - | - |  |  |  | 0 | Comms failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-32602 | Rear of No134 Gladstone Rd CSO | 1 |  |  |  | 32602 | Cog Moors (Barry West) | CSO on sewer network |  |  |  | ST1149968209 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 98.56
Unpermitted-32603 | Rear of No144 Gladstone Rd CSO | 1 |  |  |  | 32603 | Cog Moors (Barry West) | CSO on sewer network |  |  |  | ST1149968209 |  | 2 | 0 | 0.5 | 0 |  |  |  | 99.17
Unpermitted-33313 | Lewistown Park CSO, Treforest | 1 |  |  |  | 33313 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08239 89574 |  | - | - | - | - |  |  |  | 0 | Sensor failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-33314 | 95 James St CSO, Pontypridd | 1 |  |  |  | 33314 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08210 89587 |  | 21 | 21 | 12.75 | 12.75 |  |  |  | 87.8 | Comms failure / issue | 20/10/2022 - 28/11/2022
Unpermitted-33315 | 38 Poplar Rd CSO, Rhydyfelin | 1 |  |  |  | 33315 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 09575 87970 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-33316 | Llys Tripp CSO, Gwaelod-y-Garth | 1 |  |  |  | 33316 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 12121 83213 |  | 6 | 4 | 10 | 9.5 |  |  |  | 16.67 | Sensor failure / issue | 03/03/2022 - 31/12/2022
Unpermitted-33347 | Prospect Place CSO, Llanhilleth | 1 |  |  |  | 33347 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 22255 00510 |  | 9 | 9 | 2.25 | 2.25 |  |  |  | 99.88
Unpermitted-33356 | No32 Castle St CSO, Abertillery | 1 |  |  |  | 33356 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21743 03743 |  | 48 | 48 | 24.75 | 24.75 |  |  |  | 100
Unpermitted-33357 | ABERTILLERY ROSEHAYWORTH | 1 |  |  |  | 33357 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 20598 05237 |  | 0 | 0 | 0 | 0 |  |  |  | 99.53
Unpermitted-33367 | Beaufort Terrace Clubhouse CSO, Ebbw Vale | 1 |  |  |  | 33367 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 16885 11002 |  | 5 | 5 | 1.5 | 1.5 |  |  |  | 99.98
Unpermitted-33375 | Holland St CSO, Ebbw Vale | 1 |  |  |  | 33375 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 16806 09188 |  | 17 | 17 | 7 | 7 |  |  |  | 73.18 | Comms failure / issue | 26/09/2022 - 31/12/2022
Unpermitted-33383 | Muriel Terrace CSO, Dowlais | 1 |  |  |  | 33383 | CILFYNYDD | CSO on sewer network |  |  |  | SO 06882 08035 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-33395 | Castle Coch SPS | 1 |  |  |  | 33395 | NASH | Storm discharge at pumping station |  |  |  | ST 42371 88567 |  | 86 | 86 | 395.5 | 395.5 |  |  |  | 99.89
Unpermitted-33403 | 31 Allt-Yr-Yn Avenue CSO, Newport | 1 |  |  |  | 33403 | NASH | CSO on sewer network |  |  |  | ST 30351 88451 |  | 5 | 5 | 2 | 2 |  |  |  | 74.36 | Comms failure / issue | 24/09/2022 - 31/12/2022
Unpermitted-33520 | Westville CSO, Abertysswg | 1 |  |  |  | 33520 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 13206 05355 |  | 0 | 0 | 0 | 0 |  |  |  | 96.67
Unpermitted-33569 | Mill Lane SPS, Usk | 1 |  |  |  | 33569 | USK | Storm discharge at pumping station |  |  |  | SO 37695 00102 |  | 40 | 40 | 47.5 | 47.5 |  |  |  | 99.44
Unpermitted-33625 | Erwood SPS | 1 |  |  |  | 33625 | ERWOOD | Storm discharge at pumping station |  |  |  | SO 09712 43074 |  | 24 | 24 | 78 | 78 |  |  |  | 99.95
Unpermitted-33643 | Mill St SPS, Rhayader | 1 |  |  |  | 33643 | rhayader | Storm discharge at pumping station |  |  |  | SN 29681 67735 |  | 6 | 6 | 17.5 | 17.5 |  |  |  | 100
Unpermitted-75078 | Ty Sign Primary School CSO, Risca | 1 |  |  |  | 75078 | CARDIFF BAY | CSO on sewer network |  |  |  | ST2443189805 |  | 0 | 0 | 0 | 0 |  |  |  | 35.19 | Other – you must give explanation in "additional comments" box | 01/01/2022 - 25/08/2022 | EDM installed August 2022
Unpermitted-75109 | Varteg Road CSO, Blaenafon | 1 |  |  |  | 75109 | PONTHIR | CSO on sewer network |  |  |  | SO2519008609 |  | - | - | - | - |  |  |  | 0
Unpermitted-70290 | Llangeitho stw | 1 |  |  |  | 70290 | LLANGEITHO | Inlet CSO at WwTW |  |  |  | SN 61073 58744 |  | - | - | - | - |  |  |  | 0 | Telemetry or data archiving failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-50704 | Meidrim WwTW | 1 |  |  |  | 50704 | MEIDRIM | Inlet CSO at WwTW |  |  |  | SN 28875 20347 |  | 45 | 45 | 202 | 202 |  |  |  | 100
Unpermitted-51710 | Oakridge Acres SPS | 1 |  |  |  | 51710 | TENBY | Storm discharge at pumping station |  |  |  | SN1183200809 |  | 48 | 48 | 35 | 35 |  |  |  | 78.22 | Comms failure / issue | 01/01/2022 - 19/03/2022
Unpermitted-51924 | Bwrw Rd CSO, Loughor | 1 |  |  |  | 51924 | GOWERTON | CSO on sewer network |  |  |  | SS 56352 97834 |  | 90 | 90 | 530.75 | 530.75 |  |  |  | 99.4
Unpermitted-51947 | Newton Lady Housty CSO | 1 |  |  |  | 51947 | SWANSEA BAY | CSO on sewer network |  |  |  | SS6163688231 |  | 0 | 0 | 0 | 0 |  |  |  | 15.88 | Comms failure / issue
Unpermitted-52043 | London Close CSO, Cwmafan | 1 |  |  |  | 52043 | AFAN NEW WORKS | CSO on sewer network |  |  |  | SS7781891809 |  | 109 | 109 | 1032.25 | 1032.25 |  |  |  | 99.89
Unpermitted-52106 | Cynonville CSO, Port Talbot | 1 |  |  |  | 52106 | AFAN NEW WORKS | CSO on sewer network |  |  |  | SS8189795102 |  | 13 | 13 | 14 | 14 |  |  |  | 56.75 | Comms failure / issue
Unpermitted-52297 | LOUGHOR APPROX 100YDS D/S CONF LLIW&LLAN | 1 |  |  |  | 52297 | Gowerton | CSO on sewer network |  |  |  | SS5807097258 |  | 49 | 49 | 68.75 | 68.75 |  |  |  | 56.68 | Sensor failure / issue
Unpermitted-52408 | Riverside Cottages CSO, Coytrahen | 1 |  |  |  | 52408 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89056 85422 |  | 11 | 11 | 68.75 | 68.75 |  |  |  | 94.52
Unpermitted-52435 | Brynmenyn CSO | 1 |  |  |  | 52435 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS8947883345 |  | 0 | 0 | 0 | 0 |  |  |  | 56.69 | Comms failure / issue
Unpermitted-52459 | BISHOPSTON G CHURCH LANE PS | 1 |  |  |  | 52459 | Bishopston | Storm discharge at pumping station |  |  |  | SS5773089380 |  | 0 | 0 | 0 | 0 |  |  |  | 96.65
Unpermitted-52469 | Newton Rd CSO | 1 |  |  |  | 52469 | Swansea Port Tennent | CSO on sewer network |  |  |  | SS6163688233 |  | 79 | 79 | 109.5 | 109.5 |  |  |  | 87.86 | Comms failure / issue | 08/01/2022 - 19/02/2022
Unpermitted-52472 | Ynys Y Mond Rd CSO, Glais | 1 |  |  |  | 52472 | SWANSEA BAY | CSO on sewer network |  |  |  | SN 70244 00796 |  | 17 | 17 | 17.5 | 17.5 |  |  |  | 100
Unpermitted-52804 | Ffostrasol WwTW | 1 |  |  |  | 52804 | FFOSTRASOL | Inlet CSO at WwTW |  |  |  | SN3746247438 |  | 51 | 51 | 55 | 55 |  |  |  | 99.6
Unpermitted-52821 | Wick WwTW Overflow | 1 |  |  |  | 52821 | Wick | Discharge from Storm tank at WwTW |  |  |  | SS9289872792 |  | 104 | 104 | 1275.25 | 1275.25 |  |  |  | 99.98
Unpermitted-70420 | Malpas Park CSO, Newport | 1 |  |  |  | 70420 | NASH | CSO on sewer network |  |  |  | ST 30318 90003 |  | 38 | 38 | 201.5 | 201.5 |  |  |  | 99.34
Unpermitted-70689 | No168 Oxford St CSO, Blaengarw | 1 |  |  |  | 70689 | Sweetwells | CSO on sewer network |  |  |  | SS9047790764 |  | 0 | 0 | 0 | 0 |  |  |  | 42.05 | Comms failure / issue | 08/08/2022 - 06/12/2022
Unpermitted-70696 | Mill Street CSO, Cwmfelin | 1 |  |  |  | 70696 | MAESTEG | CSO on sewer network |  |  |  | SS 86387 89958 |  | 1 | 1 | 2.75 | 2.75 |  |  |  | 10.4 | Comms failure / issue | 28/01/2022- 13/03/2022, 30/03/2022 - 28/05/2022, 04/06/2022 - 14/11/2022
Unpermitted-70716 | 34 High St CSO, Pontycymer | 1 |  |  |  | 70716 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90464 91112 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 100
Unpermitted-70877 | Llanfihangel-Ar-Arth WwTW Storm | 1 |  |  |  | 70877 | LLANFIHANGEL-AR-ARTH | Inlet CSO at WwTW |  |  |  | SN4550540130 |  | 35 | 35 | 141.5 | 141.5 |  |  |  | 100
Unpermitted-70930 | Carmarthen Decorators CSO | 1 |  |  |  | 70930 | Parc-y-Splott (Carmarthen) | CSO on sewer network |  |  |  | SN4194719726 |  | 101 | 101 | 468.25 | 468.25 |  |  |  | 99.73
Unpermitted-70961 | No6 Heol Dyfan CSO, Morriston | 1 |  |  |  | 70961 | SWANSEA BAY | CSO on sewer network |  |  |  | SS 66771 99095 |  | 11 | 11 | 4.75 | 4.75 |  |  |  | 55.83 | Comms failure / issue
Unpermitted-71079 | Newton Road (Underhill Park) CSO | 1 |  |  |  | 71079 | SWANSEA BAY | CSO on sewer network |  |  |  | SS6163588233 |  | 9 | 9 | 8.25 | 8.25 |  |  |  | 63 | Comms failure / issue
Unpermitted-71239 | Graig House CSO, Rassau Rd, | 1 |  |  |  | 71239 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 14948 11574 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 88.92 | Other – you must give explanation in "additional comments" box | 01/01/2022 - 10/02/2022 | EDM installed February 2022
Unpermitted-71286 | Caerleon Rd CSO, Ponthir | 1 |  |  |  | 71286 | PONTHIR | CSO on sewer network |  |  |  | ST 33312 92270 |  | 84 | 84 | 211.25 | 211.25 |  |  |  | 97.67
Unpermitted-71317 | Drury Lane CSO, Aberaeron | 1 |  |  |  | 71317 | ABERAERON | CSO on sewer network |  |  |  | SN 45578 62980 |  | 13 | 13 | 5.5 | 5.5 |  |  |  | 99.95
Unpermitted-71371 | Temple St CSO, Llandrindod Wells | 1 |  |  |  | 71371 | LLANDRINDOD WELLS | CSO on sewer network |  |  |  | SO 05919 60863 |  | 4 | 4 | 1.5 | 1.5 |  |  |  | 28.8 | Comms failure / issue
Unpermitted-71377 | Llangorse SPS | 1 |  |  |  | 71377 | TALGARTH | Storm discharge at pumping station |  |  |  | SO1279028081 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-71398 | RAILWAY TERRACE, CWYMLLYNFELL | 1 |  |  |  | 71398 | Ystradgynlais | CSO on sewer network |  |  |  | SN7484112904 |  | 78 | 78 | 252.5 | 252.5 |  |  |  | 99.43
Unpermitted-71402 | 3 Brynymor Rd CSO | 1 |  |  |  | 71402 | Gowerton | CSO on sewer network |  |  |  | SS5826897073 |  | 2 | 2 | 0.75 | 0.75 |  |  |  | 57.77 | Comms failure / issue
Unpermitted-71408 | 72 Bethel Rd CSO, Lower Cwmtwrch | 1 |  |  |  | 71408 | YSTRADGYNLAIS | CSO on sewer network |  |  |  | SN 77212 09822 |  | 77 | 77 | 685.75 | 685.75 |  |  |  | 99.59
Unpermitted-71427 | Swan Rd CSO, Baglan | 1 |  |  |  | 71427 | AFAN NEW WORKS | CSO on sewer network |  |  |  | SS 74092 93272 |  | 73 | 73 | 95.75 | 95.75 |  |  |  | 99.49
Unpermitted-71430 | 22 Cricklewood Close CSO Bridgend | 1 |  |  |  | 71430 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89219 80727 |  | 7 | 7 | 2.25 | 2.25 |  |  |  | 99.92
Unpermitted-71442 | No2 Oxford St CSO, Pontycymmer | 1 |  |  |  | 71442 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90378 91471 |  | 34 | 34 | 47.25 | 47.25 |  |  |  | 100
Unpermitted-71445 | Yr Hafon CSO, Pontycymmer | 1 |  |  |  | 71445 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90667 90137 |  | 7 | 7 | 2.25 | 2.25 |  |  |  | 99.59
Unpermitted-71570 | Woodfield Rd CSO, Blackwood | 1 |  |  |  | 71570 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 17874 96609 |  | 49 | 49 | 78.25 | 78.25 |  |  |  | 99.46
Unpermitted-71640 | 2 Pont Rectory Lane CSO, Llanllyfni | 1 |  |  |  | 71640 | LLANLLYFNI | CSO on sewer network |  |  |  | SH 47112 52112 |  | 17 | 17 | 5.75 | 5.75 |  |  |  | 99.96
Unpermitted-71663 | Penally Rd CSO | 1 |  |  |  | 71663 | COG MOORS | CSO on sewer network |  |  |  | ST 15371 75950 |  | 0 | 0 | 0 | 0 |  |  |  | 99.99
Unpermitted-71691 | School St CSO, Tirphil | 1 |  |  |  | 71691 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 14056 03309 |  | 0 | 0 | 0 | 0 |  |  |  | 96.59
Unpermitted-71696 | 30 Church St CSO, Ystrad Mynach | 1 |  |  |  | 71696 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 14411 94272 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-71953 | Eureka Place CSO, Ebbw Vale | 1 |  |  |  | 71953 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 16732 09239 |  | 28 | 28 | 9.25 | 9.25 |  |  |  | 99.89
Unpermitted-72018 | Rock Park Close CSO, Llandrindod Wells | 1 |  |  |  | 72018 | LLANDRINDOD WELLS | CSO on sewer network |  |  |  | SO 05383 61117 |  | 74 | 74 | 262.5 | 262.5 |  |  |  | 99.48
Unpermitted-72330 | Pwll y Glaw CSO, Front of No 2 | 1 |  |  |  | 72330 | Afan Baglan | CSO on sewer network |  |  |  | SS7932093214 |  | 8 | 1 | 2.25 | 0.5 |  |  |  | 99.99
Unpermitted-72428 | Pentre Felin CSO, Betws Y Coed | 1 |  |  |  | 72428 | BETWS-Y-COED | CSO on sewer network |  |  |  | SH 79268 56746 |  | 0 | 0 | 0 | 0 |  |  |  | 31.71 | Comms failure / issue
Unpermitted-72447 | 25 Cricklewood Close CSO Bridgend | 1 |  |  |  | 72447 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89242 80702 |  | 9 | 9 | 4.5 | 4.5 |  |  |  | 100
Unpermitted-72560 | Cynon Terrace CSO, Penrhiwceiber | 1 |  |  |  | 72560 | CYNON | CSO on sewer network |  |  |  | ST 06157 97505 |  | 71 | 71 | 31.5 | 31.5 |  |  |  | 100
Unpermitted-72597 | 15 Alexandra Rd CSO, Treforest | 1 |  |  |  | 72597 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 07889 89742 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 98.31
Unpermitted-72624 | Blaen-y-Cwm Rd CSO, Blaenau | 1 |  |  |  | 72624 | Rhondda Valleys Trunk Sewer | CSO on sewer network |  |  |  | SS9245999043 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 99.96
Unpermitted-72631 | 9 Countess Place CSO, Penarth | 1 |  |  |  | 72631 | COG MOORS | CSO on sewer network |  |  |  | ST 17673 71410 |  | 7 | 7 | 1.75 | 1.75 |  |  |  | 100
Unpermitted-72669 | Foundry View CSO, Aberdare | 1 |  |  |  | 72669 | CYNON | CSO on sewer network |  |  |  | SO 01384 00419 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-72681 | Glyndwr Avenue CSO, Pontypridd | 1 |  |  |  | 72681 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08853 88094 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-72709 | 4 HILLCREST ROAD CSO, MONMOUTH | 1 |  |  |  | 72709 | MONMOUTH (WYESHAM) | CSO on sewer network |  |  |  | SO 51525 12148 |  | 58 | 58 | 118 | 118 |  |  |  | 100
Unpermitted-72710 | 24 HILLCREST ROAD CSO, MONMOUTH | 1 |  |  |  | 72710 | MONMOUTH (WYESHAM) | CSO on sewer network |  |  |  | SO 51525 12148 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-72762 | Higher Berse Rd CSO, Wrexham | 1 |  |  |  | 72762 | FIVE FORDS (WREXHAM) | CSO on sewer network |  |  |  | SJ 30375 51502 |  | 23 | 23 | 77 | 77 |  |  |  | 100
Unpermitted-72770 | Bryngoleu St CSO, Cefn Fforest | 1 |  |  |  | 72770 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 16358 97343 |  | 9 | 9 | 2.25 | 2.25 |  |  |  | 99.97
Unpermitted-72835 | The Nook CSO Oxwich | 1 |  |  |  | 72835 | Oxwich | CSO on sewer network |  |  |  | SS4989686605 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-73001 | Park Hill CSO, Penrhiwceiber Rd, Mountain Ash | 1 |  |  |  | 73001 | CYNON | CSO on sewer network |  |  |  | ST 05402 98130 |  | 2 | 2 | 0.5 | 0.5 |  |  |  | 100
Unpermitted-73031 | Rogart Terrace SPS, Glyncoch | 1 |  |  |  | 73031 | CARDIFF BAY | Storm discharge at pumping station |  |  |  | ST0800491608 |  | 42 | 23 | 32 | 27.25 |  |  |  | 99.79
Unpermitted-73044 | Forge Bridge SPS, Machen | 1 |  |  |  | 73044 | CARDIFF BAY | Storm discharge at pumping station |  |  |  | ST 21006 89041 |  | 6 | 6 | 2.25 | 2.25 |  |  |  | 99.59
Unpermitted-73047 | St Clears Car Park SPS Overflow | 1 |  |  |  | 73047 | ST. CLEARS | Storm discharge at pumping station |  |  |  | SN2802616374 |  | 15 | 15 | 4.5 | 4.5 |  |  |  | 100
Unpermitted-73061 | CSO in rear of 79 St Annes Drive, Llantwit Fardre | 1 |  |  |  | 73061 | RHIWSAESON (NEW) | CSO on sewer network |  |  |  | ST 07807 84615 |  | 7 | 7 | 5.5 | 5.5 |  |  |  | 99.28
Unpermitted-73072 | 18 Wainfelin Rd CSO, Pontypool | 1 |  |  |  | 73072 | PONTHIR | CSO on sewer network |  |  |  | SO 27681 01523 |  | 25 | 25 | 15.75 | 15.75 |  |  |  | 97.26
Unpermitted-73075 | Bridgend Rd CSO, Llanharan | 1 |  |  |  | 73075 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | ST 00112 82858 |  | 1 | 1 | 0.5 | 0.5 |  |  |  | 99.99
Unpermitted-73180 | MANORDEILO SPS CSO | 1 |  |  |  | 73180 | Llangadog | Storm discharge at pumping station |  |  |  | SO1293826455 |  | 113 | 111 | 2366 | 2365.5 |  |  |  | 97.77
Unpermitted-73219 | Ivr Tor CSO, Wainfelin Rd, Pontypool | 1 |  |  |  | 73219 | PONTHIR | CSO on sewer network |  |  |  | SO 27725 01491 |  | 19 | 19 | 10.75 | 10.75 |  |  |  | 97.11
Unpermitted-73254 | Blaenavon RFC | 1 |  |  |  | 73254 | Eastern Valley | CSO on sewer network |  |  |  | SO2578108822 |  | 0 | 0 | 0 | 0 |  |  |  | 95.91
Unpermitted-73314 | Duke St CSO, Aberdare | 1 |  |  |  | 73314 | CYNON | CSO on sewer network |  |  |  | SO0044002668 |  | 68 | 68 | 46 | 46 |  |  |  | 99.74
Unpermitted-73315 | Duffryn Rd CSO, Mountain Ash | 1 |  |  |  | 73315 | CYNON | CSO on sewer network |  |  |  | ST 04383 99837 |  | 37 | 37 | 40.75 | 40.75 |  |  |  | 99.79
Unpermitted-73316 | Ty Mawr Rd CSO, Pontypridd | 1 |  |  |  | 73316 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 05828 90680 |  | 4 | 2 | 1.75 | 1.25 |  |  |  | 99.94
Unpermitted-73328 | Glanowen Rd CSO | 1 |  |  |  | 73328 | Swansea Port Tennent | CSO on sewer network |  |  |  | SS6498094197 |  | 6 | 6 | 1.5 | 1.5 |  |  |  | 99.68
Unpermitted-73332 | Richmond Road CSO, Connahs Quay | 1 |  |  |  | 73332 | CONNAHS QUAY | CSO on sewer network |  |  |  | SJ2961168748 |  | 13 | 13 | 22.5 | 22.5 |  |  |  | 100
Unpermitted-73334 | 153 Foryd Rd CSO, Kinmel Bay | 1 |  |  |  | 73334 | KINMEL BAY | CSO on sewer network |  |  |  | SH9887780353 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-73425 | Llanwrthwl WwTW | 1 |  |  |  | 73425 | LLANWRTHWL | Inlet CSO at WwTW |  |  |  | SN9779663387 |  | - | - | - | - |  |  |  | 0 | Comms failure / issue | 01/01/2022 - 31/12/2022
Unpermitted-73430 | Nanternis WwTW | 1 |  |  |  | 73430 | NANTERNIS | Discharge from Storm tank at WwTW |  |  |  | SN3687157153 |  | 125 | 125 | 1710.5 | 1710.5 |  |  |  | 100
Unpermitted-73436 | Porthgain WwTW | 1 |  |  |  | 73436 | PORTHGAIN | Inlet CSO at WwTW |  |  |  | SM8143232536 |  | 29 | 29 | 161.75 | 161.75 |  |  |  | 99.94
Unpermitted-73438 | Caio WwTW | 1 |  |  |  | 73438 | CAIO | Inlet CSO at WwTW |  |  |  | SN6747039692 |  | 32 | 32 | 607.75 | 607.75 |  |  |  | 100
Unpermitted-73493 | Llansteffan WwTW | 1 |  |  |  | 73493 | LLANSTEPHAN | Inlet CSO at WwTW |  |  |  | SN3557510988 |  | 83 | 83 | 528.75 | 528.75 |  |  |  | 99.89
Unpermitted-73568 | Pontrhydyceirt WwTW | 1 |  |  |  | 73568 | PONTRHYDYCEIRT | Inlet CSO at WwTW |  |  |  | SN2114142538 |  | 0 | 0 | 0 | 0 |  |  |  | 67.94 | Telemetry or data archiving failure / issue
Unpermitted-73571 | Rhossili WwTW | 1 |  |  |  | 73571 | RHOSSILLI | Inlet CSO at WwTW |  |  |  | SS4282887660 |  | 12 | 12 | 16.75 | 16.75 |  |  |  | 99.99
Unpermitted-73721 | O/S 23 Y Gaer Dafen CSO Llanelli | 1 |  |  |  | 73721 | LLANELLI COASTAL | CSO on sewer network |  |  |  | SN5275801737 |  | 13 | 1 | 3.75 | 0.75 |  |  |  | 94.83
Unpermitted-73799 | Ysgol Griffith Jones CSO | 1 |  |  |  | 73799 | St Clears | CSO on sewer network |  |  |  | SN2852616632 |  | 48 | 41 | 94.75 | 93 |  |  |  | 100
Unpermitted-74688 | 57 Glandwr St CSO, Abertillery | 1 |  |  |  | 74688 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21132 04442 |  | 0 | 0 | 0 | 0 |  |  |  | 100
Unpermitted-74689 | Pontypridd Railway Station CSO | 1 |  |  |  | 74689 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 07140 89974 |  | 16 | 16 | 8 | 8 |  |  |  | 96.21
Unpermitted-74695 | 48 Eaton St CSO, Swansea | 1 |  |  |  | 74695 | SWANSEA BAY | CSO on sewer network |  |  |  | SS 65429 95398 |  | 1 | 1 | 0.25 | 0.25 |  |  |  | 92.74
Unpermitted-74727 | Forgeside Rd CSO, Blaenavon | 1 |  |  |  | 74727 | PONTHIR | CSO on sewer network |  |  |  | SO 24642 08481 |  | 57 | 57 | 1220.5 | 1220.5 |  |  |  | 99.72
Unpermitted-74766 | Tan Y Bryn Gardens CSO, Llwydcoed | 1 |  |  |  | 74766 | CYNON | CSO on sewer network |  |  |  | SN 99185 04316 |  | 53 | 53 | 156.25 | 156.25 |  |  |  | 99.29
Unpermitted-74812 | Mach Worth Rd CSO, Porthcawl | 1 |  |  |  | 74812 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS8196376550 |  | 32 | 32 | 19 | 19 |  |  |  | 99.98
Unpermitted-74868 | Crown St CSO, Caernarfon | 1 |  |  |  | 74868 | CAERNARFON | CSO on sewer network |  |  |  | SH4789562943 |  | 0 | 0 | 0 | 0 |  |  |  | 3.02 | Comms failure / issue
Unpermitted-74870 | Bryngwran WwTW Storm Overflow | 1 |  |  |  | 74870 | BRYNGWRAN | Inlet CSO at WwTW |  |  |  | SH 34374 77485 |  | 231 | 231 | 2854.5 | 2854.5 |  |  |  | 99.97
Unpermitted-74958 | LLANELLI TROSTRE ROAD NO 2 SPS | 1 |  |  |  | 74958 | LLANELLI COASTAL | Storm discharge at pumping station |  |  |  | SS5186799225 |  | 13 | 13 | 85.75 | 85.75 |  |  |  | 86.63 | Sensor failure / issue | 14/04 - 21/04/2022, 17/05/2022, 21/05/2022, 24/05/2022, 17/06/2022, 29/06 - 01/07/2022, 06/07/2022, 15 - 16/08/2022
Unpermitted-74960 | Llangernyw WwTW Storm Overflow | 1 |  |  |  | 74960 | LLANGERNYW | Inlet CSO at WwTW |  |  |  | SH8776667575 |  | 137 | 137 | 2509 | 2509 |  |  |  | 99.99
Unpermitted-75024 | Paddys Goose CSO, Tonypandy | 1 |  |  |  | 75024 | CARDIFF BAY | CSO on sewer network |  |  |  | SS9964192360 |  | 83 | 83 | 246.75 | 246.75 |  |  |  | 99.26

## Drop downs (hidden)
Drop down options
Storm discharge asset type | Y/N | Reasons for <90%
Same as EA
CSO on sewer network | Yes | Access – unable to retrieve data from non-telemetry data logger | Yes | (NB: not to be used for delayed access to fix existing fault)
Storm discharge at pumping station | No | Capital / maintenance works affected EDM operation | Yes
Inlet CSO at WwTW |  | Comms failure / issue | Yes
Discharge from Storm tank at WwTW |  | Installation set-up / design issue | Yes
Other storm discharge asset type (detailed comment required) |  | No longer operational as an overflow – permit revoked or to be revoked | Yes
|  | Power failure / issue | Yes
EO at pumping station |  | Sensor failure / issue | No - additional
EO at WwTW |  | Telemetry or data archiving failure / issue | Yes
Other EO asset type (detailed comment required) |  | Other – you must give explanation in "additional comments" box | Yes
Yes
No - additional
No category for “unable to determine” or “under investigation”. Reporting period is Jan – Dec 2021. Return due in February 2022. Expect investigations into low EDM operability provided to have been complete by the time of submission.