## Emergency Overflow EDM return
|  | Annual Emergency Overflow (EO) EDM Return | [5 empty] | Version 22/12/22
Water Company: | Dwr Cymru Welsh Water | Year reported below: |  |  | 2023 | Date return submitted to NRW: |  | 2024-02-29
[6 empty] | General site information | [6 empty] | Annual EDM data
NRW permit reference | Permitted site name | No. of "effluents and discharge points" | Sample point reference | EDM effective date | EDM surrender date | Water company's asset ID | Water company's sewerage catchment | EO asset type | NRW's Environment Team | Receiving WFD waterbody ID (where applicable) | Receiving WFD waterbody name (where applicable) | Outlet discharge NGR | Name of shellfish water | No. of block counted spills - annual (no.) Det: 3355 | No. of significant block counted spills - annual (no.) Det: 1787 | Duration of all spills - annual (hrs) Det: 3105 | Duration of significant spills - annual (hrs) Det: 1788 | Shellfish water trigger limit (no.) | Has shellfish water trigger been exceeded? (yes/no) | Date shellfish water trigger exceeded Det: 1784 | Percentage time EDM operational - annual (%) Det: 3103 | Primary reason if % time operational <90% - annual Det: 1780 | Date range/s data unavailable | Additional comments
AG0009501 | CREIGIAU PS | 1 | N/A | N/A | N/A | 32822 | CREIGIAU | EO at pumping station |  |  |  |  | N/A | 67 | 65 | 386.5 | 386 | N/A | N/A | N/A | 99.9486
AN0061001 | KNAPP SEWAGE PUMPING STATION BARRY | 1 | N/A | N/A | N/A | 33097 | COG MOORS | EO at pumping station | Cardiff & Vale of Glamorgan Environment Team |  |  | ST 10340 66234 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.07
AN0107701 | WENVOE SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 32637 | COG MOORS | EO at pumping station | Cardiff & Vale of Glamorgan Environment Team | GB110058026420 | Cadoxton - headwaters to tidal limit | ST 12791 72990 | N/A | 53 | 48 | 146 | 144.75 | N/A | N/A | N/A | 99.96
AN0122301 | GELLI CROSSING PUMPING STATION RHON | 1 | N/A | N/A | N/A | 32333 | CARDIFF BAY | EO at pumping station | Bridgend, Rhondda Cynon Taff and Merthyr Tydfil Environment Team | GB109057027200 | Rhondda R - source to conf Afon Rhondda Fach | SS 98074 95158 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.97
AN0217901 | PENYBONT P.S. | 1 | N/A | N/A | N/A | 70320 | PENYBONT | EO at pumping station |  |  |  |  | N/A | 55 | 55 | 831.75 | 831.75 | N/A | N/A | N/A | 100
AN0328601 | Dan y Gollen SPS, Crickhowell, Powys | 1 | N/A | N/A | N/A | 73291 | CRICKHOWELL | EO at pumping station |  |  |  |  | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.98
AN0351701 | Bryn Y Gwenin SPS Abergavenny | 1 | N/A | N/A | N/A | 73103 | LLANFOIST (ABERGAVENNY) | EO at pumping station | Monmouthshire & Torfaen Environment Team | GB109055029630 | Llanymynech Bk - source to conf R Trothy | SO 33556 16173 | N/A | 14 | 14 | 120.25 | 120.25 | N/A | N/A | N/A | 100
BE0006401 | LLANMADOC PS NO. 1 EMERGEN | 1 | N/A | N/A | N/A | 73043 | LLANMADOC | EO at pumping station | Swansea Environment Team | GB110059025610 | Burry Pill - headwaters to tidal limit | SS 44670 93360 | N/A | 21 | 9 | 12 | 9 | N/A | N/A | N/A | 99.98
BE0006402 | LLANMADOC P.S.NO 2 EMERGEN | 1 | N/A | N/A | N/A | 50902 | LLANMADOC | EO at pumping station | Swansea Environment Team |  |  | SS 44000 93800 | N/A | 7 | 6 | 81.25 | 81 | N/A | N/A | N/A | 99.58
BE0010501 | BALDWINS CRESCENT SPS | 1 | N/A | N/A | N/A | 72659 | SWANSEA BAY | EO at pumping station | Neath Port Talbot Environment Team |  |  | SS 69537 92653 | N/A | 51 | 51 | 127 | 127 | N/A | N/A | N/A | 99.94
BE0010502 | TEMPORARY INCREASED DIS. FROM | 1 | N/A | N/A | N/A | 50918 | SWANSEA BAY | EO at pumping station | Neath Port Talbot Environment Team |  |  | SS 69900 92600 | N/A | 76 | 73 | 321.25 | 320.5 | N/A | N/A | N/A | 95.13
BE0022301 | CASWELL BAY CAR PARK SPS CASWELL | 1 | N/A | N/A | N/A | 52450 | SWANSEA BAY | EO at pumping station | Swansea Environment Team |  |  | SS 59367 87711 | N/A | 3 | 3 | 1.75 | 1.75 | N/A | N/A | N/A | 99.97
BF0147004 | SSO AT STATION ROAD P.S. KIDWELLY | 1 | N/A | N/A | N/A | 51960 | KIDWELLY | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 40530 06640 | N/A | 32 | 32 | 78.75 | 78.75 | N/A | N/A | N/A | 99.95
BF0177707 | CWM CAPEL PS BURRY PORT | 1 | N/A | N/A | N/A | 51970 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 45500 02000 | N/A | 2 | 1 | 2 | 1.75 | N/A | N/A | N/A | 99.95
BF0177708 | SHORELINE PS BURRY PORT | 1 | N/A | N/A | N/A | 51971 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 44200 00400 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.73
BG0028801 | ALLTYBLACA PS ALLTYBLACCA LLANYBYDD | 1 | N/A | N/A | N/A | 70295 | LLANYBYDDER | EO at pumping station |  |  |  |  | N/A | 175 | 175 | 3499 | 3499 | N/A | N/A | N/A | 92.24
BH0057004 | PENYCWM PS | 1 | N/A | N/A | N/A | 51996 | NEWGALE | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 84800 23300 | N/A | 3 | 1 | 1 | 0.5 | N/A | N/A | N/A | 99.6
BM0004401 | EWENNY P.STN. NO. 1 EMERGEN | 1 | N/A | N/A | N/A | 73035 | PENYBONT (MERTHYR MAWR) | EO at pumping station |  |  |  |  | N/A | 12 | 11 | 80.5 | 80.25 | N/A | N/A | N/A | 99.83
BN0000301 | BRECHFA STW - EMERGENCY DISCHARGE | 1 | N/A | N/A | N/A | 52807 | BRECHFA | EO at WwTW |  |  |  |  | N/A | 158 | 157 | 2502.75 | 2502.5 | N/A | N/A | N/A | 99.95
BN0002602 | PONTARGOTHI P.S.EMERG. | 1 | N/A | N/A | N/A | 52815 | NANTGAREDIG | EO at pumping station |  |  |  |  | N/A | 47 | 46 | 717 | 716.75 | N/A | N/A | N/A | 99.76
BN0007001 | ABERGORLECH SPS | 1 | N/A | N/A | N/A | 73178 | ABERGORLECH | EO at pumping station | Carmarthenshire Environment Team | GB110060036030 | Gorlech - headwaters to confluence with Cothi | SN 58593 33635 | N/A | 20 | 20 | 282.25 | 282.25 | N/A | N/A | N/A | 99.96
BN0037002 | ALLTWALIS PS | 1 | N/A | N/A | N/A | 52059 | ALLTWALLIS | EO at pumping station |  |  |  |  | N/A | 65 | 57 | 695 | 693 | N/A | N/A | N/A | 99.94
BN0072502 | RED ROSES STW | 1 | N/A | N/A | N/A | 51688 | RED ROSES | EO at WwTW |  |  |  |  | N/A | 105 | 94 | 1183.25 | 1180.5 | N/A | N/A | N/A | 99.95
BN0077502 | FARMERS STW EMERG. | 1 | N/A | N/A | N/A | 73440 | FARMERS | EO at WwTW |  |  |  |  | N/A | 19 | 19 | 192.75 | 192.75 | N/A | N/A | N/A | 12.32 | Installation set-up / design issue | 01/01/2023 - 16/11/2023
BN0266801 | EMERGENCY DISCHARGE FROM LLANGWM SPS | 1 | N/A | N/A | N/A | 73039 | LLANGWM | EO at pumping station | Pembrokeshire Environment Team | GB531006114100 | MILFORD HAVEN INNER | SM 99270 09170 | N/A | 77 | 75 | 766.75 | 766.25 | N/A | N/A | N/A | 99.88
BO5106701 | HEN PARC LANE PUMPING STATION | 1 | N/A | N/A | N/A | 73099 | GOWERTON | EO at pumping station |  |  |  |  | N/A | 10 | 7 | 12.25 | 11.5 | N/A | N/A | N/A | 37.27 | Comms failure / issue | 29/04/2023-15/05/2023, 03/06/2023 - 31/12/2023
BP0015603 | IDOLE CWMFFRWD SEWERAGE SCHEME | 1 | N/A | N/A | N/A | 52071 | PARC-Y-SPLOTTS | EO at pumping station |  |  |  |  | N/A | 115 | 110 | 1791.25 | 1790 | N/A | N/A | N/A | 99.77
BP0060302 | FRESHWATER OUTFALL PUMPING STATION | 1 | N/A | N/A | N/A | 50620 | FRESHWATER EAST | EO at pumping station | Pembrokeshire Environment Team |  |  | SS 01550 97750 | N/A | 2 | 2 | 11.75 | 11.75 | N/A | N/A | N/A | 99.97
BP0111201 | BROADHAVEN NORTH PUMPING STATION | 1 | N/A | N/A | N/A | 50847 | WALTON WEST | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 86410 13141 | N/A | 23 | 13 | 24.25 | 21.75 | N/A | N/A | N/A | 98.55
BP0112402 | MILFORD STREET PUMPING STATION (NO. 1 & 1A) COMMON OVERFLOW | 1 | N/A | N/A | N/A | 70823 | TENBY | EO at pumping station |  |  |  |  | N/A | 6 | 6 | 5.5 | 5.5 | N/A | N/A | N/A | 99.98
BP0112602 | VALLEY RD P S'S (4 & 4A) SAUNDERSFO | 1 | N/A | N/A | N/A | 52894 | TENBY | EO at pumping station | Pembrokeshire Environment Team |  |  | SN 12240 05340 | N/A | 10 | 6 | 19.25 | 18.25 | N/A | N/A | N/A | 99.93
BP0220801 | LLANDDAROG PS EO CWMISFAEL CARMS | 1 | N/A | N/A | N/A | 70289 | LLANDDAROG | EO at pumping station |  |  |  |  | N/A | 86 | 79 | 824.5 | 822.75 | N/A | N/A | N/A | 99.91
BP0234801 | FELIN FRAN PUMPING STATION, LLANGADOG, DYFED | 1 | N/A | N/A | N/A | 71257 | LLANGADOG | EO at pumping station |  |  |  |  | N/A | 14 | 14 | 105.75 | 105.75 | N/A | N/A | N/A | 99.99
BP0237701 | NEW HEDGES PS ROWSTON HOLIDAY PARK | 1 | N/A | N/A | N/A | 70824 | TENBY | EO at pumping station | Pembrokeshire Environment Team |  |  | SN 13050 02370 | N/A | 25 | 22 | 75 | 74.25 | N/A | N/A | N/A | 99.98
BP0238301 | ABERPORTH HEADLAND PS ABERPORTH , | 1 | N/A | N/A | N/A | 70735 | ABERPORTH | EO at pumping station | Ceredigion Environment Team | GB651009030000 | Cardigan Bay Central | SN 26090 51650 | N/A | 1 | 1 | 0.25 | 0.25 | N/A | N/A | N/A | 99.98
BP0251201 | PENIEL PS PENIEL CARMARTHEN , | 1 | N/A | N/A | N/A | 70880 | PARC-Y-SPLOTTS | EO at pumping station |  |  |  |  | N/A | - | - | - | - | N/A | N/A | N/A | 0 | Sensor failure / issue | 01/01/2023 - 31/12/2023
BP0251903 | STORM TANKS AT TENBY HEADWORKS TE | 1 | N/A | N/A | N/A | 53131 | TENBY | EO at WwTW | Pembrokeshire Environment Team | GB110061025150 | Ritec - headwaters to tidal limit | SN 12870 00370 | N/A | 16 | 16 | 186.75 | 186.75 | N/A | N/A | N/A | 99.85
BP0254201 | PS AT CLARACH BAY HOL VILLAGE CLARA | 1 | N/A | N/A | N/A | 70761 | ABERYSTWYTH (GLAN YR AFON) | EO at pumping station | Ceredigion Environment Team | GB110063041610 | Clarach - headwaters to tidal limit | SN 58900 83770 | N/A | 32 | 31 | 449.5 | 449.25 | N/A | N/A | N/A | 98.72
BP0257501 | Emergency Overflow at Ty Draw Lane SPS | 1 | N/A | N/A | N/A | 73110 | AFAN NEW WORKS | EO at pumping station | Bridgend, Rhondda Cynon Taff and Merthyr Tydfil Environment Team | GB611008590001 | Bristol Channel Outer North | SS 78690 79592 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.9
BP0267401 | LAMACK VALE PS LAMACK VALE TENBY , | 1 | N/A | N/A | N/A | 70819 | TENBY | EO at pumping station | Pembrokeshire Environment Team | GB110061025150 | Ritec - headwaters to tidal limit | SN 12300 01200 | N/A | 11 | 7 | 17.25 | 16.25 | N/A | N/A | N/A | 99.97
BP0270601 | CWMANN SPS(EMERG'Y) CWMANN LAMPETER | 1 | N/A | N/A | N/A | 70756 | LAMPETER | EO at pumping station |  |  |  |  | N/A | 9 | 9 | 21 | 21 | N/A | N/A | N/A | 99.88
BP0273801 | LITTLE HAVEN SPS HEAD OF BEACH LIT | 1 | N/A | N/A | N/A | 70820 | WALTON WEST | EO at pumping station | Pembrokeshire Environment Team |  |  | SM 85700 12910 | N/A | 16 | 14 | 168.5 | 168 | N/A | N/A | N/A | 95.78
BP0305901 | LANGLAND SPS LANGLAND SWANSEA | 1 | N/A | N/A | N/A | 52451 | SWANSEA BAY | EO at pumping station | Swansea Environment Team | GB611008590001 | Bristol Channel Outer North | SS 60589 87127 | N/A | 12 | 8 | 6.25 | 5.25 | N/A | N/A | N/A | 100
BP0308301 | TALLEY WWTW INLET PUMPING STATION | 1 | N/A | N/A | N/A | 52810 | TALLEY | EO at WwTW |  |  |  |  | N/A | 76 | 74 | 848.75 | 848.25 | N/A | N/A | N/A | 100
BP0345601 | MILTON SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 72908 | CAREW | EO at WwTW | Pembrokeshire Environment Team |  |  | SN 03920 03349 | N/A | 62 | 58 | 204.5 | 203.5 | N/A | N/A | N/A | 96.1
BP0350201 | GWBERT SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 72662 | CARDIGAN | EO at pumping station | Ceredigion Environment Team | GB511006206900 | TEIFI ESTUARY | SN 15917 50347 | N/A | 16 | 16 | 89 | 89 | N/A | N/A | N/A | 99.97
BW4100901 | LIMESLADE PUMPING STATION SWANSEA | 1 | N/A | N/A | N/A | 71007 | SWANSEA BAY | EO at pumping station | Swansea Environment Team |  |  | SS 62508 87168 | N/A | 19 | 6 | 12 | 8.75 | N/A | N/A | N/A | 99.82
CG0051702 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 1 | 1 | 1 | 1 | N/A | N/A | N/A | 98.01
CG0083004 | MACHYNLLETH STW | 1 | N/A | N/A | N/A | 2935 | MACHYNLLETH | EO at WwTW |  |  |  |  | N/A | 2 | 2 | 0.5 | 0.5 | N/A | N/A | N/A | 93.13
CG0089501 | ABERDESACH PS | 1 | N/A | N/A | N/A | 2117 | PONTLLYFNI | EO at pumping station |  |  |  |  | N/A | 104 | 87 | 144 | 139.75 | N/A | N/A | N/A | 99.86
CG0089701 | PONTLLYFNI PS | 1 | N/A | N/A | N/A | 2119 | PONTLLYFNI | EO at pumping station |  |  |  |  | N/A | 87 | 74 | 545.5 | 542.25 | N/A | N/A | N/A | 100
CG0091701 | PONT Y BRENIN PS | 1 | N/A | N/A | N/A | 2211 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team | GB110102058900 | Lleiniog | SH 60880 78930 | N/A | 11 | 10 | 26.75 | 26.5 | N/A | N/A | N/A | 99.98
CG0091801 | LLEINIOG PS | 1 | N/A | N/A | N/A | 2212 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 62090 79150 | N/A | 59 | 55 | 257.25 | 256.25 | N/A | N/A | N/A | 99.92
CG0105301 | SPS IND ESTATE LLANDUDNO | 1 | N/A | N/A | N/A | 70667 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 79790 78520 | N/A | 2 | 2 | 18.75 | 18.75 | N/A | N/A | N/A | 98.55
CG0146301 | WEST END PS BEAUMARIS ANGLESEY | 1 | N/A | N/A | N/A | 2223 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 60220 75880 | N/A | 33 | 33 | 109.75 | 109.75 | N/A | N/A | N/A | 100
CG0146401 | RHIANFA PS LLANDEGFAN | 1 | N/A | N/A | N/A | 2224 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 57080 73300 | N/A | 30 | 27 | 57.75 | 57 | N/A | N/A | N/A | 99.9
CG0146501 | GLYN GARTH PS LLANDEGFAN | 1 | N/A | N/A | N/A | 2225 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 57470 73680 | N/A | 43 | 40 | 213.25 | 212.5 | N/A | N/A | N/A | 99.97
CG0147801 | MALLTRAETH VILLAGE PUMPING STATION | 1 | N/A | N/A | N/A | 2235 | MALLTRAETH | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 40904 68871 | N/A | 5 | 4 | 6.25 | 6 | N/A | N/A | N/A | 72.39 | Comms failure / issue | 06/05/2023-12/07/2023, other frequent short duration intermittent data loss for year
CG0147901 | CYNLAI PS LLANGOED ANGLESEY | 1 | N/A | N/A | N/A | 2236 | LLANGOED | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 62460 79520 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.97
CG0193001 | PENDYFFRYN SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 2215 | HOLYHEAD | EO at pumping station |  |  |  |  | N/A | 5 | 4 | 9.25 | 9 | N/A | N/A | N/A | 99.97
CG0312601 | FRYARS BAY P.S- SCREENED EMERG | 1 | N/A | N/A | N/A | 2210 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 61150 77910 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.97
CG0314702 | TALYBONT STW | 1 | N/A | N/A | N/A | 72302 | TALYBONT | EO at WwTW | Mon ac Arfon Environment Team | GB110065058520 | Ogwen - lower | SH 60218 70166 | N/A | 6 | 3 | 12 | 11.25 | N/A | N/A | N/A | 99.95
CG0314801 | YNYS LAS PS | 1 | N/A | N/A | N/A | 2991 | BORTH | EO at pumping station | Ceredigion Environment Team |  |  | SN 61010 92550 | N/A | 43 | 41 | 576.75 | 576.25 | N/A | N/A | N/A | 99.99
CG0315301 | LLANDUDNO ROAD (PENRHYN BAY) PUMPING STATION | 1 | N/A | N/A | N/A | 70673 | GANOL | EO at pumping station | Conwy Environment Team | GB110066059902 | Ganol East | SH 82430 80940 | N/A | 5 | 4 | 9.25 | 9 | N/A | N/A | N/A | 99.82
CG0316401 | FORYD RD EMERGENCY KINMEL BAY , | 1 | N/A | N/A | N/A | 2656 | KINMEL BAY | EO at pumping station | Conwy Environment Team |  |  | SH 98620 80230 | N/A | 3 | 3 | 33.25 | 33.25 | N/A | N/A | N/A | 99.96
CG0317101 | BOOT & SHIP PS , , | 1 | N/A | N/A | N/A | 3103 | GREENFIELD | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 20960 76300 | N/A | 2 | 1 | 2.25 | 2 | N/A | N/A | N/A | 99.95
CG0317701 | PRESTATYN NANT HALL PS NANT HALL RO | 1 | N/A | N/A | N/A | 2811 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07240 83230 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.98
CG0317702 | PRESTATYN NANT HALL PS NANT HALL RO | 1 | N/A | N/A | N/A | 2811 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07240 83230 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.98
CG0322301 | KELSTERTON PUMP STN. , , | 1 | N/A | N/A | N/A | 3175 | CONNAHS QUAY | EO at pumping station |  |  |  |  | N/A | 7 | 3 | 2.75 | 1.75 | N/A | N/A | N/A | 98.27
CG0324401 | FLINT STW (THE MEADOWS) , , | 1 | N/A | N/A | N/A | 3146 | FLINT | EO at WwTW | Flintshire & Wrexham Environment Team | GB111067056940 | Swinchiard Brook | SJ 23990 72770 | N/A | 2 | 2 | 4.5 | 4.5 | N/A | N/A | N/A | 99.95
CG0340904 | BRYNSCIENCYN PS , , | 1 | N/A | N/A | N/A | 70542 | BRYNSIENCYN (NEW STW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 49450 66320 | N/A | 7 | 7 | 27.25 | 27.25 | N/A | N/A | N/A | 99.97
CG0341302 | CRICCIETH EAST PS , , | 1 | N/A | N/A | N/A | 71643 | CRICCIETH | EO at pumping station | Dwyfor ac Meirionnydd Environment Team | GB651009350000 | Tremadog Bay | SH 50700 37900 | N/A | 41 | 39 | 470.5 | 470 | N/A | N/A | N/A | 89.79 | Comms failure / issue | Frequent short duration intermittent data loss for year.
CG0341402 | CRICCIETH WEST PS , , | 1 | N/A | N/A | N/A | 3210 | CRICCIETH | EO at pumping station | Dwyfor ac Meirionnydd Environment Team | GB651009350000 | Tremadog Bay | SH 49400 37530 | N/A | 42 | 42 | 339 | 339 | N/A | N/A | N/A | 99.2
CG0342903 | LLANFAES PS (EMERGENCY) , , | 1 | N/A | N/A | N/A | 70522 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team |  |  | SH 60850 77780 | N/A | 5 | 5 | 57.75 | 57.75 | N/A | N/A | N/A | 99.9
CG0342905 | MOUNT FIELD P.S. BEAUMARIS , | 1 | N/A | N/A | N/A | 3221 | BEAUMARIS AND LLANFAES (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 61170 76190 | N/A | 44 | 44 | 212.5 | 212.5 | N/A | N/A | N/A | 99.64
CG0348401 | FLINT BARDYN PS , , | 1 | N/A | N/A | N/A | 2392 | FLINT | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 24820 73230 | N/A | 70 | 70 | 76.25 | 76.25 | N/A | N/A | N/A | 99.95
CG0349401 | FELINHELI PS (OPP SEA CADET CORPS) | 1 | N/A | N/A | N/A | 70518 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 52060 67240 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 99.97
CG0349501 | FELINHELI PS (QUAY COTTAGE) , , | 1 | N/A | N/A | N/A | 3266 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB110065058490 | Nant-y-Garth (Menai Strait) | SH 52320 67580 | N/A | 18 | 18 | 40.25 | 40.25 | N/A | N/A | N/A | 99.98
CG0349701 | FELINHELI PS (ADJ TO QUAY TOILETS) | 1 | N/A | N/A | N/A | 70519 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 52430 67800 | N/A | 1 | 1 | 0.5 | 0.5 | N/A | N/A | N/A | 99.97
CG0351701 | BEACH ROAD PS BANGOR , | 1 | N/A | N/A | N/A | 2063 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 58690 73410 | N/A | 4 | 4 | 4 | 4 | N/A | N/A | N/A | 99.99
CG0363402 | LLYN Y FELIN PS (EMERGENCY) | 1 | N/A | N/A | N/A | 70533 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55420 71400 | N/A | 28 | 28 | 271.75 | 271.75 | N/A | N/A | N/A | 99.64
CG0363502 | PS NO 1 (FAELOG CAUSEWAY) (EMERGENCY) | 1 | N/A | N/A | N/A | 70536 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 56160 72210 | N/A | 79 | 79 | 718.75 | 718.75 | N/A | N/A | N/A | 99.98
CG0363602 | PS NO 2 (PORTH WRACH) (EMERGENCY) | 1 | N/A | N/A | N/A | 3262 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55840 71760 | N/A | 2 | 2 | 5 | 5 | N/A | N/A | N/A | 99.96
CG0363702 | PS NO 3 (SUSPENSION BRIDGE) (EMERGENCY) | 1 | N/A | N/A | N/A | 70540 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 55630 71520 | N/A | 131 | 131 | 1510.75 | 1510.75 | N/A | N/A | N/A | 99.94
CG0365101 | GLAENTRAETH ESTATE PS BANGOR , | 1 | N/A | N/A | N/A | 70664 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB110065058540 | Cegin | SH 59370 72230 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.74
CG0366201 | TREBORTH STW (FINAL) BANGOR | 1 | N/A | N/A | N/A | 2989 | TREBORTH (NEW) | EO at WwTW | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 53790 70850 | N/A | 15 | 15 | 28.25 | 28.25 | N/A | N/A | N/A | 99.25
CG0367601 | LLANLLECHID SPS , , | 1 | N/A | N/A | N/A | 73477 | BETHESDA | EO at pumping station |  |  |  |  | N/A | 2 | 2 | 12 | 12 | N/A | N/A | N/A | 99.97
CG0368701 | WOODLANDS P.S WOODLANDS ESTATE MARL | 1 | N/A | N/A | N/A | 72797 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 79820 79500 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.97
CG0369401 | PS OFF LLANELION ROAD COLWYN BAY | 1 | N/A | N/A | N/A | 70565 | GANOL | EO at pumping station | Conwy Environment Team |  |  | SH 86930 77780 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.66
CG0375401 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 22 | 22 | 140.75 | 140.75 | N/A | N/A | N/A | 98.01
CG0375402 | PORTHMADOG STW STORM STORAGE PORT | 1 | N/A | N/A | N/A | 71922 | PORTHMADOG | EO at WwTW | Dwyfor ac Meirionnydd Environment Team |  |  | SH 57360 38900 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 98.01
CG0377602 | GANOL STW PS GLAN CONWY CORNER | 1 | N/A | N/A | N/A | 71921 | GANOL | EO at WwTW | Conwy Environment Team |  |  | SH 80620 77320 | N/A | 2 | 2 | 0.5 | 0.5 | N/A | N/A | N/A | 99.56
CG0377702 | GANOL STW PS GLAN CONWY CORNER | 1 | N/A | N/A | N/A | 71921 | GANOL | EO at WwTW | Conwy Environment Team |  |  | SH 80620 77320 | N/A | 2 | 2 | 0.5 | 0.5 | N/A | N/A | N/A | 99.56
CG0383001 | RHOSNEIGR SPS RHOSNEIGR | 1 | N/A | N/A | N/A | 71924 | RHOSNEIGR / BRYN DU | EO at pumping station | Mon ac Arfon Environment Team | GB621010380000 | Caernarfon Bay North | SH 31330 72221 | N/A | 39 | 39 | 645.75 | 645.75 | N/A | N/A | N/A | 99.99
CG0393901 | PENMAENMAWR WWTW PENMAENMAWR | 1 | N/A | N/A | N/A | 70011 | PENMAENMAWR | EO at WwTW | Conwy Environment Team | GB671010400000 | Conwy Bay | SH 73220 78110 | N/A | 16 | 16 | 20.25 | 20.25 | N/A | N/A | N/A | 99.98
CG0415701 | COLEG NORMAL SEWAGE PUMPING STATION | 1 | N/A | N/A | N/A | 71508 | TREBORTH (NEW) | EO at pumping station | Mon ac Arfon Environment Team | GB681010120000 | Menai Strait | SH 56219 71784 | N/A | 5 | 1 | 3.25 | 2.25 | N/A | N/A | N/A | 99.88
CG0433001 | HOLYHEAD WWTW FINAL EFFLUENT PS | 1 | N/A | N/A | N/A | 74889 | HOLYHEAD | EO at WwTW |  |  |  |  | N/A | 142 | 142 | 610 | 610 | N/A | N/A | N/A | 99.99
CM0034601 | ARGOED PS | 1 | N/A | N/A | N/A | 2106 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 11460 83560 | N/A | 1 | 1 | 1.75 | 1.75 | N/A | N/A | N/A | 99.98
CM0034901 | FFYNNON WEST PS | 1 | N/A | N/A | N/A | 2723 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 13310 82420 | N/A | 16 | 16 | 215.75 | 215.75 | N/A | N/A | N/A | 99.95
CM0035301 | STATION ROAD PS TALACRE | 1 | N/A | N/A | N/A | 2380 | LLANASA | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 12000 84330 | N/A | 18 | 13 | 74.75 | 73.5 | N/A | N/A | N/A | 99.95
CM0036001 | LOWER DYSERTH PS | 1 | N/A | N/A | N/A | 70583 | DYSERTH | EO at pumping station | Denbighshire Environment Team | GB110066059990 | Glanfyddion Cut | SJ 05160 79750 | N/A | 11 | 10 | 41.25 | 41 | N/A | N/A | N/A | 99.98
CM0038901 | TAI TREVOR PS LLANNERCHYMOR | 1 | N/A | N/A | N/A | 70661 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team | GB111067057050 | Nant Sir Roger (Dee estuary) | SJ 18470 78690 | N/A | 11 | 9 | 37.5 | 37 | N/A | N/A | N/A | 99.91
CM0052701 | MARINE PARK PS | 1 | N/A | N/A | N/A | 1202 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 05353 82194 | N/A | 3 | 3 | 7.25 | 7.25 | N/A | N/A | N/A | 99.79
CM0052801 | CORONATION GARDENS PS | 1 | N/A | N/A | N/A | 2188 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 07600 83450 | N/A | 24 | 19 | 71.25 | 70 | N/A | N/A | N/A | 96.88
CM0070801 | MOSTYN ARMS PS MOSTYN | 1 | N/A | N/A | N/A | 2104 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 15290 81050 | N/A | 0 | 0 | 0 | 0 | N/A | N/A | N/A | 99.97
CM0070901 | MOSTYN DOCKS CAR PARK - SSO | 1 | N/A | N/A | N/A | 2105 | MOSTYN | EO at pumping station | Flintshire & Wrexham Environment Team |  |  | SJ 15570 80960 | N/A | 35 | 34 | 698.5 | 698.25 | N/A | N/A | N/A | 48.65 | Sensor failure / issue | 01/01/2023 - 07/07/2023
CM0102002 | HOLT STW | 1 | N/A | N/A | N/A | 2900 | HOLT | EO at WwTW | Flintshire & Wrexham Environment Team | GB111067057080 | Dee - Chester Weir to Ceiriog | SJ 40320 54460 | N/A | 2 | 1 | 0.75 | 0.5 | N/A | N/A | N/A | 99.96
CM0144301 | CROOKED HORN SPS NO 3 BRYNFORD | 1 | N/A | N/A | N/A | 2726 | MOSTYN | EO at pumping station |  |  |  |  | N/A | - | - | - | - | N/A | N/A | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
CM0148301 | PRESTATYN SEVEN SISTERS ROAD SPS | 1 | N/A | N/A | N/A | 1193 | LLANASA | EO at pumping station | Denbighshire Environment Team |  |  | SJ 06410 83320 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.98
WQD004967 | DYFATTY PARK SPS | 1 | N/A | N/A | N/A | 72181 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team | GB110059032310 | Loughor - confluence with Aman to tidal limit | SN 45756 00984 | N/A | 1 | 0 | 0.25 | 0 | N/A | N/A | N/A | 99.97
BH0053402 | LLANDDOWROR VILLAGE PS EO | 1 | N/A | N/A | N/A | 70875 | St Clears | EO at pumping station |  |  |  |  | N/A | 91 | 87 | 1019 | 1018 | N/A | N/A | N/A | 99.7603
BO5099701 | LINKS PEMBREY PS EMERG , , | 1 | N/A | N/A | N/A | 50997 | PEMBREY | EO at pumping station | Carmarthenshire Environment Team |  |  | SN 42500 00600 | N/A | 28 | 25 | 137.75 | 137 | N/A | N/A | N/A | 99.26
BO5104001 | LLWYNUHILWG PS EMERG , , | 1 | N/A | N/A | N/A | 70887 | LLANELLI COASTAL | EO at pumping station | Carmarthenshire Environment Team | GB110059025500 | Dafen - headwaters to tidal limit | SS 51900 99800 | N/A | 16 | 15 | 306.75 | 306.5 | N/A | N/A | N/A | 100
BW2200401 | HALFWAY PS DAFEN LLANELLI CARMS | 1 | N/A | N/A | N/A | 52239 | LLANELLI COASTAL | Storm discharge at pumping station | Carmarthenshire Environment Team | GB110059025500 | Dafen - headwaters to tidal limit | SN 52478 00342 | N/A | 2 | 2 | 1.25 | 1.25 | N/A | N/A | N/A | 99.94
AB3798FY | CSO at Heol Cropin SPS | 1 | N/A | N/A | N/A | 73129 | LLANELLI COASTAL | Storm discharge at pumping station | Carmarthenshire Environment Team | GB110059025500 | Dafen - headwaters to tidal limit | SN 53326 01905 | N/A | 12 | 12 | 93.25 | 93.25 | N/A | N/A | N/A | 99.97
BP0295601 | Aberbanc Sewage Pumping Station | 1 | N/A | N/A | N/A | 72100 | HENLLAN | Storm discharge at pumping station | Ceredigion Environment Team | GB110062039090 | Cynllo - headwaters to confluence with Teifi | SN 35415 41862 | N/A | 184 | 182 | 3725.5 | 3725 | N/A | N/A | N/A | 99.93
CG0182101 | Idris Villas Sewage Pumping Station | 1 | N/A | N/A | N/A | 2443 | TYWYN | Storm discharge at pumping station | Dwyfor ac Meirionnydd Environment Team | GB110064048310 | Tywyn - Main Drain | SH 58378 01001 | N/A | - | - | - | - | N/A | N/A | N/A | 0 | Sensor failure / issue | 01/01/2023-31/12/2023