## Unpermitted SO EDM return
|  | Annual Unpermitted Storm Overflow (uSO) EDM Return | [5 empty] | Version 22/12/22
Water Company: | Dwr Cymru Welsh Water | Year reported below: |  |  | 2023 | Date return submitted to NRW: |  | 2024-02-29
[6 empty] | General site information | [6 empty] | Annual EDM data
NRW permit reference (only complete if permitted as an EO, use N/A if unpermitted asset/unpermitted reference if available) | Site name | No. of "effluents and discharge points" | Sample point reference | EDM effective date | EDM surrender date | Water company's asset ID | Water company's sewerage catchment | Unpermitted storm overflow asset type | NRW's Environment Team | Receiving WFD waterbody ID (where applicable) | Receiving WFD waterbody name (where applicable) | Outlet discharge NGR | Name of shellfish water | No. of block counted spills - annual (no.) Det: 3355 | No. of significant block counted spills - annual (no.) Det: 1787 | Duration of all spills - annual (hrs) Det: 3105 | Duration of significant spills - annual (hrs) Det: 1788 | Shellfish water trigger limit (no.) | Has shellfish water trigger been exceeded? (yes/no) | Date shellfish water trigger exceeded Det: 1784 | Percentage time EDM operational - annual (%) Det: 3103 | Primary reason if % time operational <90% - annual Det: 1780 | Date range/s data unavailable | Additional comments
Unpermitted-2019 | Conwy Harbour CSO | 1 | N/A | N/A | N/A | 2019 | GANOL | CSO on sewer network |  |  |  | SH 78235 77674 | N/A | - | - | - | - | N/A |  | N/A | 0 | Telemetry or data archiving failure / issue | 01/01/2023-31/12/2023
Unpermitted-2148 | Slaughterhouse CSO, Blaenau Ffestiniog | 1 | N/A | N/A | N/A | 2148 | BLAENAU FFESTINIOG | CSO on sewer network |  |  |  | SH 69356 46091 | N/A | 8 | 8 | 11.25 | 11.25 | N/A |  | N/A | 99.97
Unpermitted-2266 | CONNAHS QUAY SYPHONS TO STW | 1 | N/A | N/A | N/A | 2266 | CONNAHS QUAY | CSO on sewer network |  |  |  | SJ3020669260 | N/A | 350 | 350 | 3252.5 | 3252.5 | N/A |  | N/A | 95.27
Unpermitted-2276 | Dee Road CSO, Connahs Quay | 1 | N/A | N/A | N/A | 2276 | CONNAHS QUAY | CSO on sewer network |  |  |  | SJ 29825 68896 | N/A | - | - | - | - | N/A |  | N/A | 1.92 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-2356 | Bro Alun CSO, Mold | 1 | N/A | N/A | N/A | 2356 | MOLD | CSO on sewer network |  |  |  | SJ 24069 64526 | N/A | 37 | 23 | 66.75 | 63.25 | N/A |  | N/A | 99.22
Unpermitted-2492 | 31 Trofryn CSO, Penycae | 1 | N/A | N/A | N/A | 2492 | FIVE FORDS (WREXHAM) | CSO on sewer network |  |  |  | SJ 28874 45120 | N/A | 37 | 37 | 83.5 | 83.5 | N/A |  | N/A | 86.31 | Comms failure / issue | Frequent short duration intemittent data loss during the year
Unpermitted-2707 | Tre Taliesin SPS | 1 | N/A | N/A | N/A | 2707 | BORTH | Storm discharge at pumping station |  |  |  | SN 65659 91486 | N/A | 85 | 80 | 1025.5 | 1024.25 | N/A |  | N/A | 80 | Telemetry or data archiving failure / issue | Frequent short duration intemittent data loss for most year.
Unpermitted-2744 | Tal-y-Bont SPS Overflow | 1 | N/A | N/A | N/A | 2744 | TALYBONT (NE of Aberystwyth) | Storm discharge at pumping station |  |  |  | SN 65373 89128 | N/A | 2 | 2 | 31 | 31 | N/A |  | N/A | 100
Unpermitted-2770 | Isallt Bach SPS, Trearddur Bay | 1 | N/A | N/A | N/A | 2770 | HOLYHEAD | Storm discharge at pumping station |  |  |  | SH 24870 79498 | N/A | 10 | 4 | 4.25 | 2.75 | N/A |  | N/A | 99.96
Unpermitted-2775 | Tai Lleuar CSO, Pontllyfni | 1 | N/A | N/A | N/A | 2775 | PONTLLYFNI | CSO on sewer network |  |  |  | SH 43483 52608 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 85.93 | Comms failure / issue | Frequent short duration intemittent data loss from Jan to May
Unpermitted-2891 | Trefnant WwTW | 1 | N/A | N/A | N/A | 2891 | TREFNANT | Discharge from Storm tank at WwTW |  |  |  | SJ 06086 71702 | N/A | 151 | 143 | 1008.25 | 1006.25 | N/A |  | N/A | 99.98
Unpermitted-2901 | Lavister WwTW Overflow | 1 | N/A | N/A | N/A | 2901 | LAVISTER | Discharge from Storm tank at WwTW |  |  |  | SJ 37680 58299 | N/A | 136 | 130 | 2184.25 | 2182.75 | N/A |  | N/A | 100
Unpermitted-2907 | Glyn Ceiriog WwTW | 1 | N/A | N/A | N/A | 2907 | GLYNCEIRIOG | Discharge from Storm tank at WwTW |  |  |  | SJ 20946 37844 | N/A | 91 | 85 | 635 | 633.5 | N/A |  | N/A | 99.95
Unpermitted-2912 | Connahs Quay WwTW Storm overflow | 1 | N/A | N/A | N/A | 2912 | CONNAHS QUAY | Discharge from Storm tank at WwTW |  |  |  | SJ 30244 69386 | N/A | 28 | 24 | 139.75 | 138.75 | N/A |  | N/A | 99.85
Unpermitted-2930 | Llanuwchllyn WwTW | 1 | N/A | N/A | N/A | 2930 | LLANUWCHLLYN | Inlet CSO at WwTW |  |  |  | SH 8809830300 | N/A | 190 | 179 | 1381.25 | 1378.5 | N/A |  | N/A | 99.96
Unpermitted-2992 | Llanfachraeth WwTW | 1 | N/A | N/A | N/A | 2992 | LLANFACHRAETH | Inlet CSO at WwTW |  |  |  | SH7537322343 | N/A | 224 | 224 | 3414.75 | 3414.75 | N/A |  | N/A | 99.19
Unpermitted-2998 | Llangybi WwTW, Pwllheli | 1 | N/A | N/A | N/A | 2998 | LLANGYBI (W OF Porthmadog) | Inlet CSO at WwTW |  |  |  | SH 43098 40337 | N/A | 281 | 274 | 5408.75 | 5407 | N/A |  | N/A | 98.45
Unpermitted-30806 | Bonvilston East WwTW Overflow | 1 | N/A | N/A | N/A | 30806 | BONVILSTON (EAST) | Inlet CSO at WwTW |  |  |  | ST 07148 73686 | N/A | 230 | 230 | 2498 | 2498 | N/A |  | N/A | 94.9
Unpermitted-30807 | BONVILSTON WEST | 1 | N/A | N/A | N/A | 30807 | BONVILSTON (WEST) | Discharge from Storm tank at WwTW |  |  |  | ST0619972978 | N/A | 58 | 58 | 1236.5 | 1236.5 | N/A |  | N/A | 99.9877 |  |  | EDM commisioned in Apr 2023, data available from 22/04/2023
Unpermitted-30932 | LLANCARFAN STW | 1 | N/A | N/A | N/A | 30932 | Llancarfan | Discharge from Storm tank at WwTW |  |  |  | ST0516569597 | N/A | 127 | 127 | 1914.25 | 1914.25 | N/A |  | N/A | 66.17 | Sensor failure / issue | 01/01/2023 - 04/05/2023
Unpermitted-31103 | Tintern WwTW | 1 | N/A | N/A | N/A | 31103 | TINTERN | Inlet CSO at WwTW |  |  |  | SO 53498 00427 | N/A | 94 | 34 | 84 | 69 | N/A |  | N/A | 99.98
Unpermitted-31962 | Ddole Rd SPS, Llandrindod Wells | 1 | N/A | N/A | N/A | 31962 | LLANDRINDOD WELLS | Storm discharge at pumping station |  |  |  | SO 05975 62443 | N/A | 57 | 57 | 431.75 | 431.75 | N/A |  | N/A | 74.23 | Sensor failure / issue | 01/01/2023 - 03/04/2023
Unpermitted-32106 | Rear of Bush Hotel CSO, Abertillery | 1 | N/A | N/A | N/A | 32106 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21636 04103 | N/A | 1 | 0 | 0.25 | 0 | N/A |  | N/A | 97.07
Unpermitted-32118 | Woodland Rd Recreation Ground CSO, Cwmbran | 1 | N/A | N/A | N/A | 32118 | PONTHIR | CSO on sewer network |  |  |  | ST 30128 95489 | N/A | 152 | 140 | 1675.5 | 1672.5 | N/A |  | N/A | 97.71
Unpermitted-32269 | Taff Terrace CSO, Abercynon | 1 | N/A | N/A | N/A | 32269 | CYNON | CSO on sewer network |  |  |  | ST 08099 94178 | N/A | 4 | 1 | 1.25 | 0.5 | N/A |  | N/A | 99.95
Unpermitted-32285 | Martins Terrace CSO, Abercynon | 1 | N/A | N/A | N/A | 32285 | CYNON | CSO on sewer network |  |  |  | ST 08320 94733 | N/A | 1 | 0 | 0.25 | 0 | N/A |  | N/A | 100
Unpermitted-32331 | Rear of William St CSO, Ystrad | 1 | N/A | N/A | N/A | 32331 | CARDIFF BAY | CSO on sewer network |  |  |  | SS 98424 95037 | N/A | 58 | 58 | 113.25 | 113.25 | N/A |  | N/A | 79.86 | Comms failure / issue | 17/10/2023-29/12/2023. Short duration intermittent data for majority year
Unpermitted-32405 | River Row CSO, Abercynon | 1 | N/A | N/A | N/A | 32405 | CYNON | CSO on sewer network |  |  |  | ST 08308 95101 | N/A | 134 | 134 | 1926.25 | 1926.25 | N/A |  | N/A | 98.88
Unpermitted-32487 | Pit Place CSO, Cwmbach | 1 | N/A | N/A | N/A | 32487 | CYNON | CSO on sewer network |  |  |  | SO 02317 01955 | N/A | - | - | - | - | N/A |  | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-32602 | Rear of No134 Gladstone Rd CSO | 1 | N/A | N/A | N/A | 32602 | Cog Moors (Barry West) | CSO on sewer network |  |  |  | ST1149968209 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 98.22
Unpermitted-32603 | Rear of No144 Gladstone Rd CSO | 1 | N/A | N/A | N/A | 32603 | Cog Moors (Barry West) | CSO on sewer network |  |  |  | ST1149968209 | N/A | 1 | 0 | 0.25 | 0 | N/A |  | N/A | 99.1
Unpermitted-33313 | Lewistown Park CSO, Treforest | 1 | N/A | N/A | N/A | 33313 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08239 89574 | N/A | 171 | 171 | 402.25 | 402.25 | N/A |  | N/A | 77.21 | Comms failure / issue | 13/06/2023-25/08/2023 and frequent short duration intermittent data loss during the year.
Unpermitted-33314 | 95 James St CSO, Pontypridd | 1 | N/A | N/A | N/A | 33314 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08210 89587 | N/A | 50 | 50 | 40.25 | 40.25 | N/A |  | N/A | 99.5
Unpermitted-33315 | 38 Poplar Rd CSO, Rhydyfelin | 1 | N/A | N/A | N/A | 33315 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 09575 87970 | N/A | 3 | 3 | 1 | 1 | N/A |  | N/A | 100
Unpermitted-33316 | Llys Tripp CSO, Gwaelod-y-Garth | 1 | N/A | N/A | N/A | 33316 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 12121 83213 | N/A | - | - | - | - | N/A |  | N/A | 0 | Sensor failure / issue | 01/01/2023 - 31/12/2023
Unpermitted-33347 | Prospect Place CSO, Llanhilleth | 1 | N/A | N/A | N/A | 33347 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 22255 00510 | N/A | 10 | 4 | 13.75 | 12.25 | N/A |  | N/A | 99.8
Unpermitted-33356 | No32 Castle St CSO, Abertillery | 1 | N/A | N/A | N/A | 33356 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21743 03743 | N/A | 54 | 54 | 28.25 | 28.25 | N/A |  | N/A | 99
Unpermitted-33357 | ABERTILLERY ROSEHAYWORTH | 1 | N/A | N/A | N/A | 33357 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 20598 05237 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 99.07
Unpermitted-33367 | Beaufort Terrace Clubhouse CSO, Ebbw Vale | 1 | N/A | N/A | N/A | 33367 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 16885 11002 | N/A | 3 | 3 | 0.75 | 0.75 | N/A |  | N/A | 68.8 | Comms failure / issue | 09/09/2023 - 31/12/2023
Unpermitted-33375 | Holland St CSO, Ebbw Vale | 1 | N/A | N/A | N/A | 33375 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 16806 09188 | N/A | 16 | 16 | 7.25 | 7.25 | N/A |  | N/A | 43.08 | Comms failure / issue | 01/01/2023 - 26/07/2023
Unpermitted-33383 | Muriel Terrace CSO, Dowlais | 1 | N/A | N/A | N/A | 33383 | CILFYNYDD | CSO on sewer network |  |  |  | SO 06882 08035 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 100
Unpermitted-33395 | Castle Coch SPS | 1 | N/A | N/A | N/A | 33395 | NASH | Storm discharge at pumping station |  |  |  | ST 42371 88567 | N/A | 211 | 204 | 2092.5 | 2090.75 | N/A |  | N/A | 100
Unpermitted-33403 | 31 Allt-Yr-Yn Avenue CSO, Newport | 1 | N/A | N/A | N/A | 33403 | NASH | CSO on sewer network |  |  |  | ST 30351 88451 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-33520 | Westville CSO, Abertysswg | 1 | N/A | N/A | N/A | 33520 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 13206 05355 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 98.84
Unpermitted-33569 | Mill Lane SPS, Usk | 1 | N/A | N/A | N/A | 33569 | USK | Storm discharge at pumping station |  |  |  | SO 37695 00102 | N/A | 62 | 62 | 154.5 | 154.5 | N/A |  | N/A | 99.93
Unpermitted-33625 | Erwood SPS | 1 | N/A | N/A | N/A | 33625 | ERWOOD | Storm discharge at pumping station |  |  |  | SO 09712 43074 | N/A | 18 | 18 | 41 | 41 | N/A |  | N/A | 99.77
Unpermitted-33643 | Mill St SPS, Rhayader | 1 | N/A | N/A | N/A | 33643 | rhayader | Storm discharge at pumping station |  |  |  | SN 29681 67735 | N/A | 22 | 15 | 45.5 | 43.75 | N/A |  | N/A | 99.6
Unpermitted-50704 | Meidrim WwTW | 1 | N/A | N/A | N/A | 50704 | MEIDRIM | Inlet CSO at WwTW |  |  |  | SN 28875 20347 | N/A | 81 | 81 | 241.25 | 241.25 | N/A |  | N/A | 99.96
Unpermitted-51710 | Oakridge Acres SPS | 1 | N/A | N/A | N/A | 51710 | TENBY | Storm discharge at pumping station |  |  |  | SN1183200809 | N/A | 72 | 72 | 94.5 | 94.5 | N/A |  | N/A | 97.61
Unpermitted-51924 | Bwrw Rd CSO, Loughor | 1 | N/A | N/A | N/A | 51924 | GOWERTON | CSO on sewer network |  |  |  | SS 56352 97834 | N/A | 118 | 118 | 768.25 | 768.25 | N/A |  | N/A | 99.25
Unpermitted-51947 | Newton Lady Housty CSO | 1 | N/A | N/A | N/A | 51947 | SWANSEA BAY | CSO on sewer network |  |  |  | SS6163688231 | N/A | 2 | 2 | 1.25 | 1.25 | N/A |  | N/A | 23.3 | Comms failure / issue | 01/01/2023 - 13/05/2023, 22/07/2023-29/08/2023, 18/09/2023-05/10/2023, 12/10/2023 - 31/12/2023
Unpermitted-52043 | London Close CSO, Cwmafan | 1 | N/A | N/A | N/A | 52043 | AFAN NEW WORKS | CSO on sewer network |  |  |  | SS7781891809 | N/A | 168 | 162 | 2101.25 | 2099.75 | N/A |  | N/A | 98.51
Unpermitted-52106 | Cynonville CSO, Port Talbot | 1 | N/A | N/A | N/A | 52106 | AFAN NEW WORKS | CSO on sewer network |  |  |  | SS8189795102 | N/A | 37 | 23 | 36.25 | 32.75 | N/A |  | N/A | 91.45
Unpermitted-52297 | LOUGHOR APPROX 100YDS D/S CONF LLIW&LLAN | 1 | N/A | N/A | N/A | 52297 | Gowerton | CSO on sewer network |  |  |  | SS5807097258 | N/A | 13 | 13 | 88.5 | 88.5 | N/A |  | N/A | 9.19 | Comms failure / issue | 01/01/2023 - 28/11/2023
Unpermitted-52408 | Riverside Cottages CSO, Coytrahen | 1 | N/A | N/A | N/A | 52408 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89056 85422 | N/A | 7 | 7 | 2 | 2 | N/A |  | N/A | 99.96
Unpermitted-52459 | BISHOPSTON G CHURCH LANE PS | 1 | N/A | N/A | N/A | 52459 | Bishopston | Storm discharge at pumping station |  |  |  | SS5773089380 | N/A | 1 | 1 | 0.75 | 0.75 | N/A |  | N/A | 99.93
Unpermitted-52469 | Newton Rd CSO | 1 | N/A | N/A | N/A | 52469 | Swansea Port Tennent | CSO on sewer network |  |  |  | SS6163688233 | N/A | 118 | 118 | 238.25 | 238.25 | N/A |  | N/A | 98.88
Unpermitted-52472 | Ynys Y Mond Rd CSO, Glais | 1 | N/A | N/A | N/A | 52472 | SWANSEA BAY | CSO on sewer network |  |  |  | SN 70244 00796 | N/A | 23 | 23 | 57.5 | 57.5 | N/A |  | N/A | 99.97
Unpermitted-52804 | Ffostrasol WwTW | 1 | N/A | N/A | N/A | 52804 | FFOSTRASOL | Inlet CSO at WwTW |  |  |  | SN3746247438 | N/A | 143 | 143 | 795 | 795 | N/A |  | N/A | 99.86
Unpermitted-52821 | Wick WwTW Overflow | 1 | N/A | N/A | N/A | 52821 | Wick | Discharge from Storm tank at WwTW |  |  |  | SS9289872792 | N/A | 155 | 155 | 2783 | 2783 | N/A |  | N/A | 99.95
Unpermitted-70290 | Llangeitho stw | 1 | N/A | N/A | N/A | 70290 | LLANGEITHO | Inlet CSO at WwTW |  |  |  | SN 61073 58744 | N/A | 106 | 106 | 1183.5 | 1183.5 | N/A |  | N/A | 99.9524 |  |  | EDM commisioned in Apr 2023, data available from 07/02/2023
Unpermitted-70353 | TREDEGAR | 1 | N/A | N/A | N/A | 70353 | Cardiff Bay | CSO on sewer network |  |  |  | SO1589005902 | N/A | 9 | 9 | 33.75 | 33.75 | N/A |  | N/A | 99.28
Unpermitted-70420 | Malpas Park CSO, Newport | 1 | N/A | N/A | N/A | 70420 | NASH | CSO on sewer network |  |  |  | ST 30318 90003 | N/A | 61 | 61 | 345 | 345 | N/A |  | N/A | 98.97
Unpermitted-70689 | No168 Oxford St CSO, Blaengarw | 1 | N/A | N/A | N/A | 70689 | Sweetwells | CSO on sewer network |  |  |  | SS9047790764 | N/A | 1 | 1 | 0.25 | 0.25 | N/A |  | N/A | 98.36
Unpermitted-70696 | Mill Street CSO, Cwmfelin | 1 | N/A | N/A | N/A | 70696 | MAESTEG | CSO on sewer network |  |  |  | SS 86387 89958 | N/A | 69 | 69 | 142.5 | 142.5 | N/A |  | N/A | 74.81 | Comms failure / issue | 20/02/2023-30/03/2023, frequent short duration intermittent data loss during remainder of the year
Unpermitted-70716 | 34 High St CSO, Pontycymer | 1 | N/A | N/A | N/A | 70716 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90464 91112 | N/A | 2 | 2 | 0.5 | 0.5 | N/A |  | N/A | 100
Unpermitted-70877 | Llanfihangel-Ar-Arth WwTW Storm | 1 | N/A | N/A | N/A | 70877 | LLANFIHANGEL-AR-ARTH | Inlet CSO at WwTW |  |  |  | SN4550540130 | N/A | 38 | 29 | 113.25 | 111 | N/A |  | N/A | 99.46
Unpermitted-70930 | Carmarthen Decorators CSO | 1 | N/A | N/A | N/A | 70930 | Parc-y-Splott (Carmarthen) | CSO on sewer network |  |  |  | SN4194719726 | N/A | 140 | 140 | 964.75 | 964.75 | N/A |  | N/A | 98.9
Unpermitted-70961 | No6 Heol Dyfan CSO, Morriston | 1 | N/A | N/A | N/A | 70961 | SWANSEA BAY | CSO on sewer network |  |  |  | SS 66771 99095 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-71079 | Newton Road (Underhill Park) CSO | 1 | N/A | N/A | N/A | 71079 | SWANSEA BAY | CSO on sewer network |  |  |  | SS6163588233 | N/A | 6 | 6 | 9.5 | 9.5 | N/A |  | N/A | 22.75 | Comms failure / issue | 01/01/2023 -10/05/2023, 04/08/2023-31/08/2023, 04/07/2023-28/07/2023
Unpermitted-71286 | Caerleon Rd CSO, Ponthir | 1 | N/A | N/A | N/A | 71286 | PONTHIR | CSO on sewer network |  |  |  | ST 33312 92270 | N/A | 126 | 121 | 441 | 439.75 | N/A |  | N/A | 94.69
Unpermitted-71317 | Drury Lane CSO, Aberaeron | 1 | N/A | N/A | N/A | 71317 | ABERAERON | CSO on sewer network |  |  |  | SN 45578 62980 | N/A | 11 | 11 | 9.75 | 9.75 | N/A |  | N/A | 99.65
Unpermitted-71371 | Temple St CSO, Llandrindod Wells | 1 | N/A | N/A | N/A | 71371 | LLANDRINDOD WELLS | CSO on sewer network |  |  |  | SO 05919 60863 | N/A | 9 | 6 | 15.25 | 14.5 | N/A |  | N/A | 17.35 | Comms failure / issue | 18/02/2023-15/03/2023, 06/04/2023-01/05/2023, 08/05/2023-30/05/2023, 06/06/2023- 31/12/2023
Unpermitted-71377 | Llangorse SPS | 1 | N/A | N/A | N/A | 71377 | TALGARTH | Storm discharge at pumping station |  |  |  | SO1279028081 | N/A | 6 | 6 | 43.25 | 43.25 | N/A |  | N/A | 95.36
Unpermitted-71398 | RAILWAY TERRACE, CWYMLLYNFELL | 1 | N/A | N/A | N/A | 71398 | Ystradgynlais | CSO on sewer network |  |  |  | SN7484112904 | N/A | 77 | 77 | 152.75 | 152.75 | N/A |  | N/A | 99.73
Unpermitted-71402 | 3 Brynymor Rd CSO | 1 | N/A | N/A | N/A | 71402 | Gowerton | CSO on sewer network |  |  |  | SS5826897073 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 23.71 | Comms failure / issue | 26/01/2023-15/03/2023, 07/05/2023-24/05/2023, 31/05/2023-27/09/2023, 04/10/2023-30/11/2023, 07/12/2023, 23/12/2023.
Unpermitted-71408 | 72 Bethel Rd CSO, Lower Cwmtwrch | 1 | N/A | N/A | N/A | 71408 | YSTRADGYNLAIS | CSO on sewer network |  |  |  | SN 77212 09822 | N/A | 90 | 90 | 905 | 905 | N/A |  | N/A | 99.3
Unpermitted-71430 | 22 Cricklewood Close CSO Bridgend | 1 | N/A | N/A | N/A | 71430 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89219 80727 | N/A | 14 | 9 | 13.5 | 12.25 | N/A |  | N/A | 99.57
Unpermitted-71442 | No2 Oxford St CSO, Pontycymmer | 1 | N/A | N/A | N/A | 71442 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90378 91471 | N/A | 38 | 38 | 81.75 | 81.75 | N/A |  | N/A | 99.92
Unpermitted-71445 | Yr Hafon CSO, Pontycymmer | 1 | N/A | N/A | N/A | 71445 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 90667 90137 | N/A | 7 | 7 | 1.75 | 1.75 | N/A |  | N/A | 85.06 | Comms failure / issue | Short duration intermittent data loss in Feb, April, May and Sept
Unpermitted-71570 | Woodfield Rd CSO, Blackwood | 1 | N/A | N/A | N/A | 71570 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 17874 96609 | N/A | 56 | 35 | 118.5 | 113.25 | N/A |  | N/A | 95.65
Unpermitted-71640 | 2 Pont Rectory Lane CSO, Llanllyfni | 1 | N/A | N/A | N/A | 71640 | LLANLLYFNI | CSO on sewer network |  |  |  | SH 47112 52112 | N/A | 21 | 2 | 6.25 | 1.5 | N/A |  | N/A | 96.92
Unpermitted-71663 | Penally Rd CSO | 1 | N/A | N/A | N/A | 71663 | COG MOORS | CSO on sewer network |  |  |  | ST 15371 75950 | N/A | 2 | 1 | 1.5 | 1.25 | N/A |  | N/A | 98.87
Unpermitted-71691 | School St CSO, Tirphil | 1 | N/A | N/A | N/A | 71691 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 14056 03309 | N/A | 33 | 33 | 46 | 46 | N/A |  | N/A | 99.99
Unpermitted-71696 | 30 Church St CSO, Ystrad Mynach | 1 | N/A | N/A | N/A | 71696 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 14411 94272 | N/A | 1 | 1 | 1.25 | 1.25 | N/A |  | N/A | 99.73
Unpermitted-72018 | Rock Park Close CSO, Llandrindod Wells | 1 | N/A | N/A | N/A | 72018 | LLANDRINDOD WELLS | CSO on sewer network |  |  |  | SO 05383 61117 | N/A | 112 | 112 | 602.25 | 602.25 | N/A |  | N/A | 98.71
Unpermitted-72330 | Pwll y Glaw CSO, Front of No 2 | 1 | N/A | N/A | N/A | 72330 | Afan Baglan | CSO on sewer network |  |  |  | SS7932093214 | N/A | 8 | 1 | 2.25 | 0.5 | N/A |  | N/A | 99.99
Unpermitted-72428 | Pentre Felin CSO, Betws Y Coed | 1 | N/A | N/A | N/A | 72428 | BETWS-Y-COED | CSO on sewer network |  |  |  | SH 79268 56746 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-72447 | 25 Cricklewood Close CSO Bridgend | 1 | N/A | N/A | N/A | 72447 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS 89242 80702 | N/A | 18 | 14 | 19 | 18 | N/A |  | N/A | 99.9
Unpermitted-72560 | Cynon Terrace CSO, Penrhiwceiber | 1 | N/A | N/A | N/A | 72560 | CYNON | CSO on sewer network |  |  |  | ST 06157 97505 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 100
Unpermitted-72597 | 15 Alexandra Rd CSO, Treforest | 1 | N/A | N/A | N/A | 72597 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 07889 89742 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 100
Unpermitted-72624 | Blaen-y-Cwm Rd CSO, Blaenau | 1 | N/A | N/A | N/A | 72624 | Rhondda Valleys Trunk Sewer | CSO on sewer network |  |  |  | SS9245999043 | N/A | 26 | 26 | 30 | 30 | N/A |  | N/A | 99.85
Unpermitted-72631 | 9 Countess Place CSO, Penarth | 1 | N/A | N/A | N/A | 72631 | COG MOORS | CSO on sewer network |  |  |  | ST 17673 71410 | N/A | 2 | 2 | 0.5 | 0.5 | N/A |  | N/A | 100
Unpermitted-72669 | Foundry View CSO, Aberdare | 1 | N/A | N/A | N/A | 72669 | CYNON | CSO on sewer network |  |  |  | SO 01384 00419 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 100
Unpermitted-72681 | Glyndwr Avenue CSO, Pontypridd | 1 | N/A | N/A | N/A | 72681 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 08853 88094 | N/A | 1 | 1 | 0.25 | 0.25 | N/A |  | N/A | 99.99
Unpermitted-72709 | 4 HILLCREST ROAD CSO, MONMOUTH | 1 | N/A | N/A | N/A | 72709 | MONMOUTH (WYESHAM) | CSO on sewer network |  |  |  | SO 51525 12148 | N/A | 81 | 81 | 148.75 | 148.75 | N/A |  | N/A | 99.95
Unpermitted-72710 | 24 HILLCREST ROAD CSO, MONMOUTH | 1 | N/A | N/A | N/A | 72710 | MONMOUTH (WYESHAM) | CSO on sewer network |  |  |  | SO 51525 12148 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 100
Unpermitted-72760 | Libanus Road CSO Gorseinon | 1 | N/A | N/A | N/A | 72760 | Gowerton | CSO on sewer network |  |  |  | SH8809830300 | N/A | 104 | 104 | 153 | 153 | N/A |  | N/A | 99.71
Unpermitted-72762 | Higher Berse Rd CSO, Wrexham | 1 | N/A | N/A | N/A | 72762 | FIVE FORDS (WREXHAM) | CSO on sewer network |  |  |  | SJ 30375 51502 | N/A | 66 | 66 | 486 | 486 | N/A |  | N/A | 99.82
Unpermitted-72763 | ABERSOCH STW CSO | 1 | N/A | N/A | N/A | 72763 | Abersoch | Inlet CSO at WwTW |  |  |  | SH 32596 26339 | N/A | 72 | 72 | 284.25 | 284.25 | N/A |  | N/A | 99.9708 |  |  | EDM commisioned in Mar 2023, data available from 22/03/2023
Unpermitted-72770 | Bryngoleu St CSO, Cefn Fforest | 1 | N/A | N/A | N/A | 72770 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 16358 97343 | N/A | 7 | 7 | 2 | 2 | N/A |  | N/A | 99.95
Unpermitted-72835 | The Nook CSO Oxwich | 1 | N/A | N/A | N/A | 72835 | Oxwich | CSO on sewer network |  |  |  | SS4989686605 | N/A | 53 | 53 | 1114.25 | 1114.25 | N/A |  | N/A | 99.65
Unpermitted-73001 | Park Hill CSO, Penrhiwceiber Rd, Mountain Ash | 1 | N/A | N/A | N/A | 73001 | CYNON | CSO on sewer network |  |  |  | ST 05402 98130 | N/A | 11 | 11 | 5 | 5 | N/A |  | N/A | 99.95
Unpermitted-73031 | Rogart Terrace SPS, Glyncoch | 1 | N/A | N/A | N/A | 73031 | CARDIFF BAY | Storm discharge at pumping station |  |  |  | ST0800491608 | N/A | 27 | 19 | 19.5 | 17.5 | N/A |  | N/A | 99.94
Unpermitted-73044 | Forge Bridge SPS, Machen | 1 | N/A | N/A | N/A | 73044 | CARDIFF BAY | Storm discharge at pumping station |  |  |  | ST 21006 89041 | N/A | 6 | 3 | 5 | 4.25 | N/A |  | N/A | 99.85
Unpermitted-73047 | St Clears Car Park SPS Overflow | 1 | N/A | N/A | N/A | 73047 | ST. CLEARS | Storm discharge at pumping station |  |  |  | SN2802616374 | N/A | 92 | 87 | 646 | 644.75 | N/A |  | N/A | 99.86
Unpermitted-73061 | CSO in rear of 79 St Annes Drive, Llantwit Fardre | 1 | N/A | N/A | N/A | 73061 | RHIWSAESON (NEW) | CSO on sewer network |  |  |  | ST 07807 84615 | N/A | 11 | 11 | 29.75 | 29.75 | N/A |  | N/A | 98.64
Unpermitted-73072 | 18 Wainfelin Rd CSO, Pontypool | 1 | N/A | N/A | N/A | 73072 | PONTHIR | CSO on sewer network |  |  |  | SO 27681 01523 | N/A | 54 | 44 | 758.5 | 756 | N/A |  | N/A | 99.73
Unpermitted-73075 | Bridgend Rd CSO, Llanharan | 1 | N/A | N/A | N/A | 73075 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | ST 00112 82858 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 99.1
Unpermitted-73180 | MANORDEILO SPS CSO | 1 | N/A | N/A | N/A | 73180 | Llangadog | Storm discharge at pumping station |  |  |  | SO1293826455 | N/A | 169 | 166 | 3736.25 | 3735.5 | N/A |  | N/A | 99.93
Unpermitted-73219 | Ivr Tor CSO, Wainfelin Rd, Pontypool | 1 | N/A | N/A | N/A | 73219 | PONTHIR | CSO on sewer network |  |  |  | SO 27725 01491 | N/A | 15 | 6 | 8 | 5.75 | N/A |  | N/A | 99.96
Unpermitted-73254 | Blaenavon RFC | 1 | N/A | N/A | N/A | 73254 | Eastern Valley | CSO on sewer network |  |  |  | SO2578108822 | N/A | 2 | 1 | 3.75 | 3.5 | N/A |  | N/A | 99.9
Unpermitted-73314 | Duke St CSO, Aberdare | 1 | N/A | N/A | N/A | 73314 | CYNON | CSO on sewer network |  |  |  | SO0044002668 | N/A | 65 | 65 | 47.25 | 47.25 | N/A |  | N/A | 97.88
Unpermitted-73315 | Duffryn Rd CSO, Mountain Ash | 1 | N/A | N/A | N/A | 73315 | CYNON | CSO on sewer network |  |  |  | ST 04383 99837 | N/A | 31 | 31 | 82.75 | 82.75 | N/A |  | N/A | 95.72
Unpermitted-73316 | Ty Mawr Rd CSO, Pontypridd | 1 | N/A | N/A | N/A | 73316 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 05828 90680 | N/A | 5 | 2 | 3.25 | 2.5 | N/A |  | N/A | 99.89
Unpermitted-73328 | Glanowen Rd CSO | 1 | N/A | N/A | N/A | 73328 | Swansea Port Tennent | CSO on sewer network |  |  |  | SS6498094197 | N/A | 5 | 5 | 1.75 | 1.75 | N/A |  | N/A | 94.77
Unpermitted-73332 | Richmond Road CSO, Connahs Quay | 1 | N/A | N/A | N/A | 73332 | CONNAHS QUAY | CSO on sewer network |  |  |  | SJ2961168748 | N/A | 2 | 2 | 0.75 | 0.75 | N/A |  | N/A | 100
Unpermitted-73334 | 153 Foryd Rd CSO, Kinmel Bay | 1 | N/A | N/A | N/A | 73334 | KINMEL BAY | CSO on sewer network |  |  |  | SH9887780353 | N/A | 4 | 4 | 11 | 11 | N/A |  | N/A | 100
Unpermitted-73425 | Llanwrthwl WwTW | 1 | N/A | N/A | N/A | 73425 | LLANWRTHWL | Inlet CSO at WwTW |  |  |  | SN9779663387 | N/A | - | - | - | - | N/A |  | N/A | 0 | Comms failure / issue | 01/01/2023-31/12/2023
Unpermitted-73430 | Nanternis WwTW | 1 | N/A | N/A | N/A | 73430 | NANTERNIS | Discharge from Storm tank at WwTW |  |  |  | SN3687157153 | N/A | 142 | 142 | 2379 | 2379 | N/A |  | N/A | 99.95
Unpermitted-73436 | Porthgain WwTW | 1 | N/A | N/A | N/A | 73436 | PORTHGAIN | Inlet CSO at WwTW |  |  |  | SM8143232536 | N/A | 89 | 86 | 1225.75 | 1225 | N/A |  | N/A | 99.98
Unpermitted-73438 | Caio WwTW | 1 | N/A | N/A | N/A | 73438 | CAIO | Inlet CSO at WwTW |  |  |  | SN6747039692 | N/A | 40 | 40 | 586 | 586 | N/A |  | N/A | 99.78
Unpermitted-73493 | Llansteffan WwTW | 1 | N/A | N/A | N/A | 73493 | LLANSTEPHAN | Inlet CSO at WwTW |  |  |  | SN3557510988 | N/A | 136 | 124 | 1261 | 1258 | N/A |  | N/A | 99.95
Unpermitted-73568 | Pontrhydyceirt WwTW | 1 | N/A | N/A | N/A | 73568 | PONTRHYDYCEIRT | Inlet CSO at WwTW |  |  |  | SN2114142538 | N/A | 10 | 9 | 53.75 | 53.5 | N/A |  | N/A | 99.53
Unpermitted-73571 | Rhossili WwTW | 1 | N/A | N/A | N/A | 73571 | RHOSSILLI | Inlet CSO at WwTW |  |  |  | SS4282887660 | N/A | 39 | 39 | 150.25 | 150.25 | N/A |  | N/A | 99.92
Unpermitted-73721 | O/S 23 Y Gaer Dafen CSO Llanelli | 1 | N/A | N/A | N/A | 73721 | LLANELLI COASTAL | CSO on sewer network |  |  |  | SN5275801737 | N/A | 14 | 3 | 5.5 | 2.75 | N/A |  | N/A | 99.97
Unpermitted-73799 | Ysgol Griffith Jones CSO | 1 | N/A | N/A | N/A | 73799 | St Clears | CSO on sewer network |  |  |  | SN2852616632 | N/A | 87 | 72 | 558.75 | 555 | N/A |  | N/A | 99.56
Unpermitted-74688 | 57 Glandwr St CSO, Abertillery | 1 | N/A | N/A | N/A | 74688 | CARDIFF BAY | CSO on sewer network |  |  |  | SO 21132 04442 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 99.97
Unpermitted-74689 | Pontypridd Railway Station CSO | 1 | N/A | N/A | N/A | 74689 | CARDIFF BAY | CSO on sewer network |  |  |  | ST 07140 89974 | N/A | 24 | 24 | 11.75 | 11.75 | N/A |  | N/A | 99.99
Unpermitted-74695 | 48 Eaton St CSO, Swansea | 1 | N/A | N/A | N/A | 74695 | SWANSEA BAY | CSO on sewer network |  |  |  | SS 65429 95398 | N/A | 2 | 2 | 0.5 | 0.5 | N/A |  | N/A | 96.53
Unpermitted-74727 | Forgeside Rd CSO, Blaenavon | 1 | N/A | N/A | N/A | 74727 | PONTHIR | CSO on sewer network |  |  |  | SO 24642 08481 | N/A | 94 | 94 | 1836.75 | 1836.75 | N/A |  | N/A | 100
Unpermitted-74766 | Tan Y Bryn Gardens CSO, Llwydcoed | 1 | N/A | N/A | N/A | 74766 | CYNON | CSO on sewer network |  |  |  | SN 99185 04316 | N/A | 52 | 52 | 174.25 | 174.25 | N/A |  | N/A | 99.29
Unpermitted-74812 | Mach Worth Rd CSO, Porthcawl | 1 | N/A | N/A | N/A | 74812 | PENYBONT (MERTHYR MAWR) | CSO on sewer network |  |  |  | SS8196376550 | N/A | 42 | 42 | 53.75 | 53.75 | N/A |  | N/A | 99.61
Unpermitted-74868 | Crown St CSO, Caernarfon | 1 | N/A | N/A | N/A | 74868 | CAERNARFON | CSO on sewer network |  |  |  | SH4789562943 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 45.38 | Comms failure / issue | 01/01/2023-19/07/2023
Unpermitted-74870 | Bryngwran WwTW Storm Overflow | 1 | N/A | N/A | N/A | 74870 | BRYNGWRAN | Inlet CSO at WwTW |  |  |  | SH 34374 77485 | N/A | 249 | 246 | 4491.5 | 4490.75 | N/A |  | N/A | 99.88
Unpermitted-74958 | LLANELLI TROSTRE ROAD NO 2 SPS | 1 | N/A | N/A | N/A | 74958 | LLANELLI COASTAL | Storm discharge at pumping station |  |  |  | SS5186799225 | N/A | 8 | 7 | 64.5 | 64.25 | N/A |  | N/A | 91.55
Unpermitted-74960 | Llangernyw WwTW Storm Overflow | 1 | N/A | N/A | N/A | 74960 | LLANGERNYW | Inlet CSO at WwTW |  |  |  | SH8776667575 | N/A | 102 | 98 | 1576.25 | 1575.25 | N/A |  | N/A | 99.92
Unpermitted-75024 | Paddys Goose CSO, Tonypandy | 1 | N/A | N/A | N/A | 75024 | CARDIFF BAY | CSO on sewer network |  |  |  | SS9964192360 | N/A | 103 | 88 | 348.75 | 345 | N/A |  | N/A | 98.93
Unpermitted-75078 | Ty Sign Primary School CSO, Risca | 1 | N/A | N/A | N/A | 75078 | CARDIFF BAY | CSO on sewer network |  |  |  | ST2443189805 | N/A | 2 | 2 | 0.5 | 0.5 | N/A |  | N/A | 95.83
Unpermitted-75109 | Varteg Road CSO, Blaenafon | 1 | N/A | N/A | N/A | 75109 | PONTHIR | CSO on sewer network |  |  |  | SO2519008609 | N/A | 117 | 96 | 435.75 | 430.5 | N/A |  | N/A | 99.77
Unpermitted-75163 | Penygroes CSO | 1 | N/A | N/A | N/A | 75163 | GARNSWLLT | CSO on sewer network |  |  |  | SN5911313426 | N/A | 2 | 2 | 2 | 2 | N/A |  | N/A | 62.62 | Comms failure / issue | Short duration intermittent data loss between Jan - Aug
Unpermitted-75175 | Turners End Cwmbran | 1 | N/A | N/A | N/A | 75175 | Ponthir | CSO on sewer network |  |  |  | ST 27858 94176 | N/A | 10 | 10 | 53.75 | 53.75 | N/A |  | N/A | 99.5348
Unpermitted-75176 | Coed Eva Primary Cwmbran | 1 | N/A | N/A | N/A | 75176 | Ponthir | CSO on sewer network |  |  |  | ST 27858 94176 | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 99.9916 |  |  | EDM commisioned in Apr 2023, data available from 28/04/2023
Unpermitted-71673 | Railway Sidings CSO, Merthyr Vale | 1 | N/A | N/A | N/A | 71673 | Cilfynydd | CSO on sewer network |  |  |  | ST0772498513 | N/A | 1 | 1 | 0.75 | 0.75 | N/A |  | N/A | 97.6716
Unpermitted-51748 | Camrose STW | 1 | N/A | N/A | N/A | 51748 | Camrose | Inlet CSO at WwTW |  |  |  | SM 92475 20085 | N/A | - | - | - | - | N/A |  | N/A | 0 | Installation set-up / design issue | 01/01/2023 - 31/12/2023
Unpermitted-2988 | Llanaelhaearn STW | 1 | N/A | N/A | N/A | 2988 | Llanaelhaearn | Inlet CSO at WwTW |  |  |  | SH 38483 45397 | N/A | 228 | 228 | 3255.75 | 3255.75 | N/A |  | N/A | 99.9772
Unpermitted-51105 | Pensarn SPS | 1 | N/A | N/A | N/A | 51105 | Parc Y Splotts | Storm discharge at pumping station |  |  |  | SN 41490 19567 | N/A | 3 | 3 | 1 | 1 | N/A |  | N/A | 99.9658
Unpermitted-2375 | HOLYWELL CAR PARK STRAND WALK/RING RD | 1 | N/A | N/A | N/A | 2375 | GREENFIELD | CSO on sewer network |  |  |  |  | N/A | 0 | 0 | 0 | 0 | N/A |  | N/A | 94.22
Unpermitted-2484 | WREXHAM PARK AVENUE - SSO | 1 | N/A | N/A | N/A | 2484 | FIVE FORDS (WREXHAM) | CSO on sewer network |  |  |  |  | N/A | 10 | 5 | 6.75 | 5.5 | N/A |  | N/A | 99.9

## Drop downs (hidden)
Drop down options
Storm discharge asset type | Y/N | Reasons for <90%
Same as EA
CSO on sewer network | Yes | Access – unable to retrieve data from non-telemetry data logger | Yes | (NB: not to be used for delayed access to fix existing fault)
Storm discharge at pumping station | No | Capital / maintenance works affected EDM operation | Yes
Inlet CSO at WwTW |  | Comms failure / issue | Yes
Discharge from Storm tank at WwTW |  | Installation set-up / design issue | Yes
Other storm discharge asset type (detailed comment required) |  | No longer operational as an overflow – permit revoked or to be revoked | Yes
|  | Power failure / issue | Yes
EO at pumping station |  | Sensor failure / issue | No - additional
EO at WwTW |  | Telemetry or data archiving failure / issue | Yes
Other EO asset type (detailed comment required) |  | Other – you must give explanation in "additional comments" box | Yes
Yes
No - additional
No category for “unable to determine” or “under investigation”. Reporting period is Jan – Dec 2021. Return due in February 2022. Expect investigations into low EDM operability provided to have been complete by the time of submission.