## Summary
SMF - July 2019
Note: impacts are not aligned between drivers
Service Measure Driver | Frequency of Service Failure PA | Duration of event in a year | Quantity | Severity
Clean Water
Drinking Water Quality | 0 - 365 |  | Number of Properties affected | Threshold Value Failure | PCV Failure- Non Public Health | PCV Failure-Public Health/ Customer Acceptability (Non including Worst Bacti/Crypto) | Significant Public Health
Drinking Water Quality - Complaints | 0-365 |  | Number of Properties affected | Water Quality Complaint - Taste and Odour | Water Quality Complaint - Discolouration | Significant Acceptability Complaints
Interruption to Supply | 0 - 365 |  | Number of Properties affected | 0 to 3 Hour Interruption to Supply | >3 to 6 Hour Interruption to Supply | >6 to 12 Hour Interruption to Supply | >12 to 24 Hour Interruption to Supply | >24 Hour Interruption to Supply
Pressure | 0 - 365 |  | Number of Properties affected | Low pressure within guidelines (but noticed by customer) | High Pressure (customer complaint) | Low pressure below guidelines (<9l/m; 9m head)
Loss of production / resource | 0 - 365 |  | Ml/d | Ml/d loss into supply
Water Use Restrictions | 0 - 1 |  | 1 | Drought Trigger level 1 (Issue of customer communication) | Drought Trigger level 2: (Implementation of hosepipe ban) | Drought Trigger level 3: (Implementation of drought order) | Emergency Measures
Customer Flooding - Internal | 0 - 365 |  | Number of Properties affected | No permanent damage. | Repairable damage (Fittings) | Irreparable damage (Fixtures) | House destruction
Customer Flooding - External | 0 - 365 |  | Number of areas / Properties affected (area = external amenity - if road, 250m in length) | Public amenity area | Roads or public access / Footpath | Non curtilage private | Curtilage not inhibiting access | Curtilage inhibiting access
Breach of NRW Licence conditions | 0-365 or 0- 1 |  | Ml/d (for over abstraction) | Failure of measurement instrumentation | Failure of recording / reporting requirements | Over Abstraction - Annual | Over Abstraction - Daily | Over Abstraction - Hourly | Breach of consent conditions (technical eg fish screens...)
Waste Water
Customer Sewer Flooding Internal (HO/OC) | 0 - 365 |  | Number of Properties affected | Restricted Toilet Use reported | No permanent damage - Low | Repairable Damage - Medium | Irreparable Damage - High
Customer Sewer Flooding - External - Flooding (HO/OC) | 0 - 365 |  | Number of areas / Properties affected (area = external amenity - if road, 250m in length) | Public amenity area | Roads or public access / Footpath | Non curtilage private | Curtilage not inhibiting access | Curtilage inhibiting access
Nuisance - Odour | Prob 0 - 1 | No of Events 0-52 | No of Complaints | Customer Complaint (Telephone) | Customer Complaint (Letter) | Customer complaint (Trigger cost 5-10 events) | Customer complaint (Trigger cost 11 onwards events) | Pressure group involvement | Environmental health involvement | Statutory Nuisance Abatement Notice
Final Effluent Quality- Numeric Consent Small WwTW | 0 - 365 or 0-1 |  | 1 | Sub-threshold exceedance (Near Miss) | Individual Look up determinant failure Single Sample | Works at risk of failing Look up (EPR or UWWTD) | Works Failure cumulative(look up, EPR, UV annual, UWWTD, Phosphorus) | Works Failure - one off ( Upper Tier, UV daily) | Breach of consent conditions (technical etc...)
Final Effluent Quality- Numeric Consent Medium WwTW | 0 - 365 or 0-1 |  | 1 | Sub-threshold exceedance (Near Miss) | Individual Look up determinant failure Single Sample | Works at risk of failing Look up (EPR or UWWTD) | Works Failure cumulative(look up, EPR, UV annual, UWWTD, Phosphorus) | Works Failure - one off ( Upper Tier, UV daily) | Breach of consent conditions (technical etc...)
Final Effluent Quality- Numeric Consent Large WwTW | 0 - 365 or 0-1 |  | 1 | Sub-threshold exceedance (Near Miss) | Individual Look up determinant failure Single Sample | Works at risk of failing Look up (EPR or UWWTD) | Works Failure cumulative(look up, EPR, UV annual, UWWTD, Phosphorus) | Works Failure - one off ( Upper Tier, UV daily) | Breach of consent conditions (technical etc...)
Final Effluent Quality- Descriptive Consent Compliance | 0 - 1 |  | 1 | Works Failure
Flow Compliance | 0- 365 or 0-1 |  | 1 | Failure to record flow | Failure to report flow | Q80 Exceed Dry Weather Flow consent | Q90 Exceed Dry Weather Flow consent | Consecutive Q90 Exceedances
Network / Storm Storage Consent Compliance | 0-365 then 0-1 for Breach of consent compliance |  | 1 | No consent spills | Screened spills outside of consent | Unscreened spills outside of consent | Breach of consent conditions (technical etc...)
Asset Failures
Leakage |  |  | Ml/d | Average annual cost of leakage
Burst | 0 - 365 |  |  | Diameter under 200mm | Diameter under 450mm | Diameter under 600mm | Diameter under 900mm | Diameter under 1200mm | Diameter under 1400mm
Rising Main Bursts | 0 - 365 |  |  | Diameter 150mm | Diameter 225mm | Diameter 300mm | Diameter 450mm | Diameter >450mm
Blockages | 0 - 365 |  |  | 0-1 blockage | 2-3 blockages | 4-5 blockages | 6+ blockages
Collapses | 0 - 365 |  |  | Collapses <1m deep | Collapses 1.5m deep | Collapses 2m deep | Collapses 2.5m deep | Collapses 3m deep | Collapses 4m deep
Unplanned Maintenance | 0 - 365 |  |  | Average cost of an Unplanned Maintenance Event
Environmental
Sludge Treatment and Disposal | 0 - 365 |  | Tonnes dry solids / Day | Sludge compliance failure leading to dewatering | Sludge compliance failure leading to re-treatment | Sludge compliance failure leading to re-treatment TTA | Sludge to Landfill | Additional Tankering
General Nuisance - Noise, Flies, Pest, Other | 0 - 1 | Length of disruption in days | Properties affected | Customer Complaint | Pressure group involvement | Environmental Health Involvement | Statutory Nuisance Abatement Notice
Environmental Pollution (Aquatic) | 0 - 365 |  |  | Category 4: No environmental impact | Category 3: Minor environmental impact e.g. small spills with little visual impact | Category 2: Significant environmental impact (e.g. cancellation of a local water sport event) | Category 1: Major environmental impact e.g. >100 dead fish
Environmental Impact- (Long Term) | 0-1 |  | Length of river impacted / Number of areas | River Water Quality | Bathing Water Quality | Shellfish Water Quality | Special Protection Areas
Traffic and Transport Disruption | 0 - 365 | Number of days |  | B roads or non commuting roads | A roads and main commute roads | Motorway | Railway
Legal
Health & Safety | Number of days the task is performed / year | Return Period of the injury occuring | Number of people at risk | Near hit | Minor Injury | Serious Injury / Serious work related illness | Permanently Incapacitating Injury / illness | Fatality
Legal Compliance | 0 - 1 |  |  | Enforcement Notice issued | Court case
Additional OPEX Costs
Other costs of failure | 0 - 365 |  | £ | Other cost of failure
Staff Productivity | 0 - 365 |  | Number of FTEs Impacted | 0 - 4 Hours lost productivity | >4 - 8 hours lost productivity | >8-24 hours lost productivity | > 24hours lost productivity
Customer Complaints (others)
Customer Complaints (others) | 0 - 1 |  | Number of contacts | Customer Complaint by Telephone | Customer Complaint in Writing / Email | Complaint Escalated to Director Level | Complaint Escalated to CC Water / OFWAT / DWI / EA