## Sheet1
Please see corresponding SAGIS reports for information on the data used in the modelling, caveats and limitations. All modelling information should be used as intended, in this case it has been agreed with NRW that this data is for water industry planning purposes. The modelled concentration is given at the end point of each designated waterbody. Not all waterbodies are designated SACs but included here are all waterbodies draining to a SAC water.
Feature Name | Reach Name | X | Y | Total Load kg/d | WwTW_Conc mg/l | Intermittents_Conc mg/l | Rural_Land_Use_Conc mg/l | Other_Conc mg/l | SAC Catchment
GB110061030660 Boundary | Narbeth Brook - | 206654 | 215135 | 0.66547 | 0 | 0.0005 | 0.0418 | 0.0024 | Cleddau
GB110061030680 Boundary | Longford Brook - | 207573 | 216661 | 3.0047 | 0.0308 | 0.0007 | 0.1097 | 0.0037 | Cleddau
GB110061030700 Boundary | Syfynwy - Llys-y | 208416 | 219452 | 2.5147 | 0.0013 | 0 | 0.0217 | 0.0005 | Cleddau
GB110061031180 Boundary | Camrose Brook - | 194069 | 218799 | 1.1318 | 0.0367 | 0.0002 | 0.0071 | 0.0002 | Cleddau
GB110061031190 Boundary | Rudbaxton Water | 194539 | 219859 | 1.0033 | 0.0524 | 0.0003 | 0.0523 | 0.0036 | Cleddau
GB110061031340 Boundary | W Cleddau - Angh | 195523 | 215660 | 21.265 | 0.0118 | 0.0009 | 0.0344 | 0.0027 | Cleddau
GB110061031350 Boundary | Spittal Brook - | 196172 | 223400 | 1.4785 | 0.0102 | 0 | 0.1057 | 0.0022 | Cleddau
GB110061038290 Boundary | E. Cleddau - con | 208419 | 219469 | 2.6996 | 0.0006 | 0 | 0.0134 | 0.0005 | Cleddau
GB110061038651 Boundary | Western Cleddau | 195714 | 226412 | 9.5149 | 0.0216 | 0.0002 | 0.0352 | 0.001 | Cleddau
GB110061038670 Boundary | W Cleddau - head | 192099 | 230798 | 3.2805 | 0.0234 | 0.0002 | 0.0631 | 0.0016 | Cleddau
GB110061038680 Boundary | Cleddau North - | 192106 | 230799 | 1.9272 | 0 | 0.0001 | 0.0363 | 0.001 | Cleddau
GB110061038690 Boundary | Anghof - headwat | 195774 | 226363 | 4.1149 | 0.0058 | 0.0025 | 0.0321 | 0.0006 | Cleddau
GB110062043563 Boundary | Teifi - Afon Cer | 219321 | 243509 | 42.908 | 0.016 | 0.0002 | 0.0097 | 0.0003 | Teifi
GB110062043564 Boundary | Teifi - Afon Cle | 229529 | 241902 | 32.529 | 0.0188 | 0.0002 | 0.005 | 0.0002 | Teifi
GB110062043565 Boundary | Teifi - Afon Dul | 244464 | 240349 | 17.418 | 0.0173 | 0.0002 | 0.0029 | 0.0002 | Teifi
GB110062043566 Boundary | Teifi - Afon Bre | 258056 | 247593 | 7.6994 | 0.0072 | 0.0001 | 0.0096 | 0.0005 | Teifi
GB110062043501 Boundary | Teifi - conf Ff | 267315 | 258875 | 5.1724 | 0.0205 | 0.0001 | 0.0033 | 0.0001 | Teifi
GB110062039110 Boundary | Ceri - Dulas to | 229524 | 241907 | 3.7027 | 0.0099 | 0.0001 | 0.0336 | 0.0009 | Teifi
GB110062039020 Boundary | Tyweli - conflue | 241200 | 240160 | 2.7838 | 0.0243 | 0.0001 | 0.0015 | 0.0002 | Teifi
GB110062039041 Boundary | Cych - headwater | 224565 | 241429 | 2.6299 | 0.0084 | 0.0001 | 0.0196 | 0.0005 | Teifi
GB110062043540 Boundary | Teifi - headwate | 271834 | 266744 | 1.9525 | 0.0181 | 0.0001 | 0.008 | 0.0001 | Teifi
GB110062039220 Boundary | Clettwr - headwa | 244465 | 240386 | 1.752 | 0.0013 | 0 | 0.0338 | 0.0008 | Teifi
GB110062039130 Boundary | Hirwaun - headwa | 225738 | 242279 | 1.1635 | 0 | 0 | 0.0754 | 0.0009 | Teifi
GB110062039190 Boundary | Ceri - headwater | 231864 | 246247 | 1.1266 | 0.0083 | 0.0001 | 0.0203 | 0.0008 | Teifi
GB110062039050 Boundary | Morgenau - headw | 221284 | 243586 | 1.0815 | 0.0373 | 0.0002 | 0.0561 | 0.0014 | Teifi
GB110062039030 Boundary | Bargod - headwat | 234788 | 240502 | 1.0338 | 0 | 0 | 0.022 | 0.0006 | Teifi
GB110062039170 Boundary | Arberth - headwa | 221892 | 243644 | 1.0321 | 0 | 0.0006 | 0.0666 | 0.003 | Teifi
GB110062039180 Boundary | Dulas - headwate | 231861 | 246249 | 0.97505 | 0 | 0 | 0.0785 | 0.0019 | Teifi
GB110062039010 Boundary | Dulas - headwate | 225369 | 238684 | 0.79702 | 0.0072 | 0 | 0.0183 | 0.0003 | Teifi
GB110062039140 Boundary | Cerdin - headwat | 242184 | 241513 | 0.73756 | 0.004 | 0 | 0.0159 | 0.0009 | Teifi
GB110062039090 Boundary | Cynllo - headwat | 234748 | 240918 | 0.52645 | 0 | 0 | 0.0268 | 0.0011 | Teifi
GB110062039250 Boundary | Brefi - headwate | 264100 | 254800 | 0.37975 | 0.0127 | 0.0001 | 0 | 0 | Teifi
GB110062039150 Boundary | Cledlyn - headwa | 249312 | 242955 | 0.33812 | 0.0072 | 0.0002 | 0 | 0 | Teifi
GB110062043470 Boundary | Berwyn/Brennig - | 267318 | 258879 | 0.32641 | 0 | 0 | 0.0094 | 0.0003 | Teifi
GB110062039230 Boundary | Grannell - headw | 253539 | 246222 | 0.31205 | 0.0129 | 0 | 0.0001 | 0.0001 | Teifi
GB110062039240 Boundary | Dulas - headwate | 258064 | 247612 | 0.25449 | 0.0053 | 0.0003 | 0 | 0 | Teifi
GB110062038960 Boundary | Cneifa - headwat | 227029 | 237258 | 0.24612 | 0 | 0 | 0.0104 | 0.0002 | Teifi
GB110062039000 Boundary | Siedi - headwate | 238702 | 239158 | 0.22622 | 0 | 0 | 0.0147 | 0.0004 | Teifi
GB110062043490 Boundary | Groes - headwate | 269156 | 259869 | 0.16705 | 0 | 0 | 0.012 | 0.0002 | Teifi
GB110062038950 Boundary | Tyweli - headwat | 244574 | 236299 | 0.1578 | 0 | 0 | 0.0064 | 0.0006 | Teifi
GB110062039210 Boundary | Creuddyn - headw | 257294 | 247232 | 0.14534 | 0 | 0.0014 | 0 | 0 | Teifi
GB110062043510 Boundary | Fflur - headwate | 269878 | 264617 | 0.12855 | 0 | 0 | 0.0104 | 0.0001 | Teifi
GB110062039200 Boundary | Clywedog - headw | 262084 | 251321 | 0.11648 | 0.0045 | 0 | 0.0015 | 0.0001 | Teifi
GB110062043530 Boundary | Camddwr - headwa | 267713 | 262285 | 0.071124 | 0 | 0 | 0.0031 | 0.0001 | Teifi
GB110062039060 Boundary | Duar - headwater | 252518 | 244548 | 0.0015231 | 0 | 0 | 0 | 0.0001 | Teifi
GB110062038980 Boundary | Talog - headwate | 244603 | 236305 | 0.00028453 | 0 | 0 | 0 | 0 | Teifi
GB110062043550 Boundary | Meurig - headwat | 271830 | 266756 | 4.4034e-05 | 0 | 0 | 0 | 0 | Teifi
GB109056039970 Boundary | Usk - source to | 286135 | 227646 | 1.5952 | 0 | 0 | 0.029189 | 0.000754 | Usk
GB109056033030 Boundary | Afon Hydfer - so | 286124 | 227637 | 1.1515 | 0 | 0 | 0.025487 | 0.000278 | Usk
GB109056033080 Boundary | Afon Crai - sour | 290109 | 229056 | 1.9134 | 0.000134 | 0 | 0.019711 | 0.000325 | Usk
GB109056039980 Boundary | Usk - conf Afon | 291994 | 228600 | 6.9606 | 0.001088 | 0 | 0.02074 | 0.000517 | Usk
GB109056033040 Boundary | Cwm Treweryn - s | 292360 | 227861 | 0.75415 | 0.006077 | 0 | 0.013349 | 0.00081 | Usk
GB109056033050 Boundary | Senni - source t | 292044 | 228565 | 5.7996 | 0.001053 | 0 | 0.023037 | 0.000871 | Usk
GB109056040030 Boundary | Cilieni - source | 293848 | 229833 | 1.413 | 0 | 0 | 0.013553 | 0.000571 | Usk
GB109056040040 Boundary | Nant Bran - sour | 298725 | 229194 | 4.4523 | 0.000263 | 0 | 0.02127 | 0.001197 | Usk
GB109056040070 Boundary | Afon Yscir - sou | 299594 | 234106 | 2.0389 | 0 | 0 | 0.017218 | 0.000515 | Usk
GB109056040050 Boundary | Yscir Fechan - s | 299588 | 234112 | 1.5934 | 0 | 0 | 0.014773 | 0.000221 | Usk
GB109056040020 Boundary | Afon Yscir - con | 300099 | 229488 | 3.847 | 0.001016 | 0 | 0.014803 | 0.000847 | Usk
GB109056033070 Boundary | Afon Tarell - so | 303856 | 228818 | 5.0901 | 0.0139 | 0 | 0.025081 | 0.005077 | Usk
GB109056040060 Boundary | Honddu - source | 304293 | 228635 | 3.5408 | 0.002818 | 0 | 0.025521 | 0.004506 | Usk
GB109056033020 Boundary | Afon Cynrig - so | 306824 | 227424 | 0.63651 | 0 | 0 | 0.003969 | 0.000724 | Usk
GB109056033010 Boundary | Nant Menasgin - | 309495 | 225353 | 2.2017 | 0.007935 | 0 | 0.018255 | 0.000615 | Usk
GB109056033000 Boundary | Caerfanell - sou | 312357 | 223195 | 1.6236 | 0.005292 | 0 | 0.006459 | 0.000157 | Usk
GB109056040081 Boundary | Usk - conf Afon | 314311 | 220053 | 47.951 | 0.0127 | 0 | 0.014942 | 0.002264 | Usk
GB109056032970 Boundary | Afon Crawnon - s | 314431 | 220042 | 1.8609 | 0 | 0 | 0.038021 | 0.000123 | Usk
GB109056032960 Boundary | Nant Cleisfer - | 316699 | 219730 | 0.95686 | 0 | 0 | 0.021222 | 0.001252 | Usk
GB109056039990 Boundary | Rhiangoll - sour | 319288 | 219926 | 2.7716 | 0.001286 | 0 | 0.021124 | 0.002818 | Usk
GB109056032950 Boundary | Nant Onnau - sou | 321434 | 218118 | 1.1092 | 0 | 0 | 0.022816 | 0.00108 | Usk
GB109056040000 Boundary | Grwyne Fawr - so | 324591 | 219801 | 0.89964 | 0 | 0 | 0.012288 | 0.001494 | Usk
GB109056039960 Boundary | Grwyne-Fechan - | 324579 | 219800 | 1.2268 | 0 | 0 | 0.023823 | 0.001882 | Usk
GB109056032980 Boundary | Grwyne Fawr - co | 323545 | 215893 | 2.7143 | 0.002093 | 0 | 0.017296 | 0.00178 | Usk
GB109056033090 Boundary | Clydach - source | 324249 | 215491 | 8.3174 | 0.084945 | 0.006197 | 0.007323 | 0.00948 | Usk
GB109056040082 Boundary | Usk conf Afon Cr | 329927 | 213614 | 72.83 | 0.016181 | 0.000287 | 0.013059 | 0.003214 | Usk
GB109056040082 Boundary | Usk conf Afon Cr | 330067 | 213670 | 9.2369 | 0 | 0 | 0.18728 | 0.085335 | Usk
GB109056032990 Boundary | Gavenny - source | 330001 | 213578 | 12.856 | 0 | 0 | 0.09673 | 0.047168 | Usk
GB109056032940 Boundary | Clawdd Bk - sour | 335957 | 209262 | 8.4241 | 0.026191 | 0 | 0.19161 | 0.007624 | Usk
GB109056026950 Boundary | Berthin Bk - sou | 337262 | 201717 | 5.8196 | 0.031361 | 0.001342 | 0.049328 | 0.046053 | Usk
GB109056040083 Boundary | Usk - conf R Gav | 338807 | 197944 | 155.27 | 0.018842 | 0.000307 | 0.041738 | 0.006863 | Usk
GB109056026920 Boundary | Pill Bk - source | 340856 | 202577 | 2.9919 | 0.03022 | 0 | 0.053377 | 0.005584 | Usk
GB109056032920 Boundary | Olway Bk - sourc | 341635 | 203595 | 5.9282 | 0.00978 | 0 | 0.14183 | 0.014048 | Usk
GB109056032930 Boundary | Nant y Wilcae - | 341623 | 203597 | 7.7548 | 0.047834 | 0 | 0.14501 | 0.008096 | Usk
GB109056026940 Boundary | Olway Bk - conf | 338813 | 197920 | 18.428 | 0.022641 | 0.001553 | 0.097429 | 0.007632 | Usk
GB109056026890 Boundary | Usk - conf Olway | 338520 | 194777 | 182.51 | 0.017146 | 0.000352 | 0.049653 | 0.0072 | Usk
GB109055036680 Boundary | Cledan - source | 289297 | 245954 | 0.52249 | 0 | 0 | 0.011569 | 0.000307 | Upper Wye
GB109055036690 Boundary | Tirabad Dulas - | 291669 | 246939 | 0.4041 | 0.001479 | 1.4e-05 | 0.003407 | 0.002046 | Upper Wye
GB109055036760 Boundary | Irfon - conf Afo | 289293 | 245976 | 2.7064 | 0 | 0 | 0.009426 | 0.000112 | Upper Wye
GB109055036900 Boundary | Afon Llynfi - so | 314933 | 234372 | 6.7336 | 0 | 4.4e-05 | 0.13405 | 0.011855 | Upper Wye
GB109055036910 Boundary | Ennig - source t | 315006 | 234629 | 1.4731 | 0 | 0.000601 | 0.05515 | 0.006251 | Upper Wye
GB109055036910 Boundary | Afon Llynfi - co | 314994 | 234612 | 11.485 | 0.002225 | 3.6e-05 | 0.091235 | 0.007363 | Upper Wye
GB109055036920 Boundary | Dulas Bk - sourc | 314931 | 234388 | 4.7398 | 0.004259 | 2.1e-05 | 0.054144 | 0.003947 | Upper Wye
GB109055036930 Boundary | Norton Bk - sour | 351804 | 238417 | 0.66993 | 0 | 0.007019 | 0.091135 | 0.015664 | Upper Wye
GB109055036950 Boundary | Afon Llynfi - co | 317815 | 238938 | 13.93 | 0.013077 | 0.000439 | 0.05757 | 0.004413 | Upper Wye
GB109055036960 Boundary | Cage Bk - source | 345779 | 239353 | 8.9699 | 0.19261 | 0.001364 | 0.17702 | 0.027994 | Upper Wye
GB109055036970 Boundary | Triffrwd - sourc | 312670 | 234279 | 0.74244 | 0.002828 | 0 | 0.041701 | 0.002202 | Upper Wye
GB109055036980 Boundary | Digedi Bk - sour | 319822 | 240793 | 4.1814 | 0.021264 | 0.000162 | 0.14717 | 0.012989 | Upper Wye
GB109055036990 Boundary | Scithwen Bk - so | 311368 | 241463 | 1.9952 | 0 | 0 | 0.01883 | 0.000605 | Upper Wye
GB109055037000 Boundary | Preston Bk - sou | 340143 | 242323 | 9.7382 | 0.002266 | 5.7e-05 | 0.11746 | 0.003414 | Upper Wye
GB109055037010 Boundary | Hay Dulas Bk - s | 322964 | 242804 | 0.23106 | 0 | 0 | 0.00223 | 6.8e-05 | Upper Wye
GB109055037020 Boundary | Clyro Bk - sourc | 323176 | 245466 | 5.9834 | 0.01695 | 0.000119 | 0.13795 | 0.008656 | Upper Wye
GB109055037030 Boundary | Clettwr Bk - sou | 309679 | 243136 | 1.6565 | 0.001076 | 9e-06 | 0.031358 | 0.002503 | Upper Wye
GB109055037040 Boundary | Yazor Bk - sourc | 350590 | 240132 | 1.2669 | 0 | 0.02432 | 0.069306 | 0.080024 | Upper Wye
GB109055037040 Boundary | Yazor Bk - sourc | 352238 | 239208 | 1.4563 | 0 | 0.036433 | 0.048039 | 0.055869 | Upper Wye
GB109055037050 Boundary | Duhonw - source | 306385 | 251059 | 1.0061 | 0 | 0 | 0.01272 | 0.000176 | Upper Wye
GB109055037060 Boundary | Bach Howey Bk - | 310503 | 242832 | 5.7877 | 0.000625 | 8e-06 | 0.02794 | 0.00173 | Upper Wye
GB109055037070 Boundary | Willersley Bk - | 332261 | 246863 | 9.9331 | 0 | 0 | 0.13919 | 0.00222 | Upper Wye
GB109055037080 Boundary | Edw - conf Clas | 307635 | 246929 | 4.3076 | 0.00069 | 1e-05 | 0.022129 | 0.000116 | Upper Wye
GB109055037090 Boundary | Irfon - conf Cle | 303434 | 251573 | 12.062 | 0.001954 | 4.1e-05 | 0.008561 | 0.000355 | Upper Wye
GB109055037100 Boundary | Kinnersley Bk - | 332791 | 246540 | 6.5759 | 0 | 0 | 0.1613 | 0.005089 | Upper Wye
GB109055037113 Boundary | Wye - Bredwardin | 354928 | 238174 | 140.03 | 0.01292 | 0.000986 | 0.011947 | 0.000736 | Upper Wye
GB109055037115 Boundary | Wye - conf R Irf | 311346 | 241549 | 47.895 | 0.005715 | 0.000114 | 0.007003 | 0.000481 | Upper Wye
GB109055037116 Boundary | Wye - Scithwen B | 333873 | 245478 | 77.154 | 0.00416 | 0.000111 | 0.009169 | 0.000487 | Upper Wye
GB109055037120 Boundary | Letton Lake Bk - | 333902 | 245499 | 37.983 | 0 | 0 | 0.34257 | 0.004397 | Upper Wye
GB109055037130 Boundary | Edw - conf Camna | 312327 | 251792 | 3.0274 | 0.00035 | 4e-06 | 0.02531 | 0.00017 | Upper Wye
GB109055037140 Boundary | Clas Bk - source | 312343 | 251771 | 1.2643 | 0 | 0 | 0.074644 | 0.000107 | Upper Wye
GB109055037150 Boundary | Wye (Avon Gwy) - | 303448 | 251627 | 16.987 | 0.003092 | 0.000132 | 0.003466 | 0.000508 | Upper Wye
GB109055037160 Boundary | Builth Dulas Bk | 302078 | 252959 | 0.83884 | 0.006282 | 7.1e-05 | 0.017937 | 0.000192 | Upper Wye
GB109055041870 Boundary | Afon Gwesyn - so | 285389 | 252524 | 0.91613 | 0 | 0 | 0.012982 | 0.000302 | Upper Wye
GB109055041880 Boundary | Afon Cammarch - | 293445 | 247072 | 2.5283 | 0.001626 | 2e-05 | 0.007545 | 0.000228 | Upper Wye
GB109055041890 Boundary | Afon Garth Dulas | 295516 | 249281 | 0.96341 | 0.003705 | 1.2e-05 | 0.005918 | 0.000291 | Upper Wye
GB109055041900 Boundary | Howey Bk - sourc | 303563 | 258907 | 0.38327 | 0 | 0.000284 | 0.04553 | 0.000175 | Upper Wye
GB109055041910 Boundary | Irfon - source t | 285376 | 252485 | 1.9573 | 0 | 0 | 0.025521 | 0.000131 | Upper Wye
GB109055041960 Boundary | Mithil Bk - sour | 311512 | 262956 | 0.88191 | 0.011699 | 4.7e-05 | 0.021224 | 0.000207 | Upper Wye
GB109055042070 Boundary | Clywedog Bk - co | 307711 | 264852 | 1.9917 | 0.001018 | 0 | 0.01319 | 0.000195 | Upper Wye
GB109055042080 Boundary | Nantmel Dulas - | 306402 | 263735 | 1.0656 | 0 | 0 | 0.014491 | 0.007426 | Upper Wye
GB109055042090 Boundary | Clywedog Bk - so | 307365 | 270870 | 0.16181 | 0.00407 | 0 | 0.004781 | 5.7e-05 | Upper Wye
GB109055042110 Boundary | Aran - source to | 311427 | 265336 | 1.9444 | 0 | 0 | 0.02473 | 0.000105 | Upper Wye
GB109055042120 Boundary | Bachell Bk - sou | 307380 | 270873 | 0.43061 | 0 | 0 | 0.01226 | 4.8e-05 | Upper Wye
GB109055042130 Boundary | Camddwr Bk - sou | 310540 | 270131 | 0.17368 | 0 | 0 | 0.014997 | 0.001179 | Upper Wye
GB109055042140 Boundary | Ithon - conf Gwe | 310527 | 270140 | 2.7235 | 0.001624 | 1.3e-05 | 0.011158 | 4.2e-05 | Upper Wye
GB109055042150 Boundary | Ithon - conf Lla | 309699 | 278140 | 0.4333 | 0 | 0 | 0.006236 | 5.5e-05 | Upper Wye
GB109055042160 Boundary | Llaethdy Bk - so | 308455 | 280701 | 0.053314 | 0 | 0 | 0.006108 | 3.7947e-19 | Upper Wye
GB109055042170 Boundary | Gwenlas Bk - sou | 309715 | 278144 | 0.15854 | 0 | 0 | 0.026171 | 7.2e-05 | Upper Wye
GB109055042180 Boundary | Ithon - source t | 308454 | 280708 | 0.39181 | 0 | 0 | 0.008734 | 0.000104 | Upper Wye
GB109055042190 Boundary | Afon Chwefru - s | 303232 | 251291 | 1.64 | 0.001634 | 1.6e-05 | 0.015002 | 0.000605 | Upper Wye
GB109055042200 Boundary | Edw - source to | 311646 | 253938 | 1.2483 | 0 | 0 | 0.017288 | 0.00019 | Upper Wye
GB109055042210 Boundary | Rhiwnant - sourc | 289904 | 261637 | 0.44263 | 0 | 0 | 0.013865 | 1.2e-05 | Upper Wye
GB109055042230 Boundary | Afon Claerwen - | 291705 | 263158 | 2.0299 | 0 | 0 | 0.011062 | 8.9e-05 | Upper Wye
GB109055042240 Boundary | Afon Arban - sou | 286961 | 263322 | 0.34338 | 0 | 0 | 0.014291 | 3.4e-05 | Upper Wye
GB109055042250 Boundary | Wye - conf Afon | 301225 | 256443 | 7.9746 | 0.003285 | 7.2e-05 | 0.003002 | 0.000893 | Upper Wye
GB109055042260 Boundary | Afon Elan - Caba | 296606 | 265659 | 5.1263 | 0.000598 | 0 | 0.008742 | 0.00336 | Upper Wye
GB109055042270 Boundary | Ithon - conf Cam | 301282 | 256414 | 10.016 | 0.00774 | 0.000324 | 0.006082 | 0.000208 | Upper Wye
GB109055042280 Boundary | Wye - conf to co | 296667 | 265670 | 3.5574 | 0.007821 | 0.000142 | 0.001741 | 7.9e-05 | Upper Wye
GB109055042290 Boundary | Afon Claerwen - | 286970 | 263355 | 0.97867 | 0 | 0 | 0.01119 | 4.5e-05 | Upper Wye
GB109055042300 Boundary | Afon Elan - sour | 291563 | 263625 | 1.9538 | 0 | 0 | 0.010096 | 0.000119 | Upper Wye
GB109055042310 Boundary | Afon Marteg - so | 295199 | 271482 | 0.39954 | 0.002273 | 1e-05 | 0.00148 | 0.000114 | Upper Wye
GB109055042320 Boundary | Wye - conf Afon | 295176 | 271491 | 1.2156 | 0.001599 | 0 | 0.002316 | 6.6e-05 | Upper Wye
GB109055042330 Boundary | Wye - conf Afon | 289237 | 280354 | 0.56217 | 0 | 0 | 0.001897 | 1.6e-05 | Upper Wye
GB109055042340 Boundary | Afon Bidno - sou | 289312 | 280361 | 0.10851 | 0 | 0 | 0.002464 | 9.1e-05 | Upper Wye
GB109055042350 Boundary | Afon Tarenig - s | 284064 | 282608 | 0.002203 | 0 | 0 | 2.4e-05 | 4.8e-05 | Upper Wye
GB109055042360 Boundary | Wye - source to | 284099 | 282621 | 0.56083 | 0 | 0 | 0.005738 | 4.3368e-19 | Upper Wye
GB109055042370 Boundary | Camnant Brook - | 311638 | 253927 | 1.0749 | 0.001432 | 1.3e-05 | 0.031256 | 0.000209 | Upper Wye
GB111067052120 Boundary | Aldford Brook | 341924 | 360229 | 11.568 | 0.083 | 0.0014 | 0.5255 | 0.0093 | Dee
GB111067052130 Boundary | Pulford Brook | 340893 | 357759 | 5.8692 | 0.1127 | 0.0069 | 0.206 | 0.0098 | Dee
GB111067051770 Boundary | Cegidog | 331270 | 355582 | 2.9287 | 0.0605 | 0.0008 | 0.0466 | 0.0029 | Dee
GB111067051800 Boundary | Terrig | 326536 | 361936 | 0.1987 | 0.013 | 0.0004 | 0.0384 | 0.0017 | Dee
GB111067051810 Boundary | Alyn - upper riv | 320688 | 366134 | 1.5923 | 0.1428 | 0.0011 | 0.0022 | 0.0002 | Dee
GB111067056870 Boundary | Dolfechlas Brook | 320718 | 366146 | 2.2819 | 0.5281 | 0.004 | 0 | 0.0002 | Dee
GB111067052171 Boundary | Alyn - Rhydymwyn | 324379 | 364231 | 5.2847 | 0.1709 | 0.0013 | 0.0014 | 0.0005 | Dee
GB111067052172 Boundary | Alyn - Leadmill | 330139 | 358548 | 17.258 | 0.1614 | 0.0053 | 0.0075 | 0.0015 | Dee
GB111067052173 Boundary | Alyn - Hope to c | 339873 | 356052 | 28.405 | 0.1309 | 0.0058 | 0.0197 | 0.0035 | Dee
GB111067052200 Boundary | Worthenbury Broo | 348641 | 344394 | 5.9627 | 0.2441 | 0.0216 | 0.072 | 0.0082 | Dee
GB111067052230 Boundary | Wych Brook | 348645 | 344402 | 2.0022 | 0.3614 | 0.0038 | 0.0214 | 0.0008 | Dee
GB111067052220 Boundary | Worthenbury Broo | 341953 | 345979 | 8.8367 | 0.1943 | 0.0095 | 0.1066 | 0.0057 | Dee
GB111067052211 Boundary | Emral Brook | 341951 | 345973 | 2.5558 | 0.0835 | 0.0005 | 0.1277 | 0.0023 | Dee
GB111067052090 Boundary | Worthenbury Broo | 342112 | 348011 | 11.232 | 0.1442 | 0.0056 | 0.1065 | 0.0042 | Dee
GB111067051700 Boundary | Black Brook (Upp | 332769 | 348739 | 1.5545 | 0 | 0.0045 | 0.0388 | 0.0062 | Dee
GB111067051720 Boundary | Clywedog - above | 332784 | 348746 | 1.0492 | 0 | 0.0017 | 0.0461 | 0.0043 | Dee
GB111067051690 Boundary | Clywedog - Gwenf | 334721 | 349138 | 2.9962 | 0 | 0.0026 | 0.0484 | 0.0049 | Dee
GB111067051730 Boundary | Gwenfro | 334732 | 349154 | 3.0871 | 0 | 0.0202 | 0.0315 | 0.0316 | Dee
GB111067052110 Boundary | Clywedog - Dee t | 340937 | 347314 | 60.081 | 0.2781 | 0.0052 | 0.1388 | 0.0322 | Dee
GB111067052050 Boundary | Eitha | 330184 | 340992 | 0.3154 | 0 | 0.0058 | 0.0033 | 0.0012 | Dee
GB111067052010 Boundary | Trefnant Brook | 327334 | 341771 | 0.6997 | 0 | 0.0096 | 0.0406 | 0.0076 | Dee
GB111067052080 Boundary | Eglwyseg | 320523 | 343589 | 0.4866 | 0 | 0 | 0.0206 | 0.0015 | Dee
GB111067052100 Boundary | Morwynion | 311089 | 343194 | 0.3649 | 0.0087 | 0.0001 | 0.0073 | 0.0002 | Dee
GB111067051630 Boundary | Ffrauer | 305428 | 343074 | 0.6435 | 0.0021 | 0.0002 | 0.0302 | 0.0008 | Dee
GB111067051650 Boundary | Medrad | 297842 | 345272 | 0.2918 | 0 | 0 | 0.016 | 0.0001 | Dee
GB111067051680 Boundary | Ceirw - above Nu | 295365 | 347501 | 2.4076 | 0 | 0 | 0.0788 | 0.0003 | Dee
GB111067051710 Boundary | Nug | 295373 | 347503 | 0.7983 | 0.0743 | 0.0003 | 0.0027 | 0 | Dee
GB111067051670 Boundary | Ceirw - Medrad t | 297838 | 345276 | 3.0836 | 0.0105 | 0.0001 | 0.0438 | 0.0002 | Dee
GB111067051640 Boundary | Merddwr (Dee) | 300649 | 344572 | 0.1015 | 0.0012 | 0 | 0.0054 | 0.0001 | Dee
GB111067051660 Boundary | Ceirw - Alwen to | 302200 | 344260 | 3.4127 | 0.0049 | 0.0001 | 0.0219 | 0.0001 | Dee
GB111067051760 Boundary | Alwen - above Af | 297384 | 352735 | 0.187 | 0.0005 | 0 | 0.0093 | 0.0001 | Dee
GB111067051790 Boundary | Brenig - east of | 297390 | 352746 | 0.1378 | 0.0003 | 0 | 0.005 | 0 | Dee
GB111067051750 Boundary | Alwen - Ceirw to | 302209 | 344267 | 1.0683 | 0.0043 | 0 | 0.0051 | 0.0001 | Dee
GB111067052020 Boundary | Alwen - Dee to C | 306035 | 342533 | 4.9728 | 0.0039 | 0 | 0.0137 | 0.0002 | Dee
GB111067051940 Boundary | Trystion | 305214 | 340987 | 0.0961 | 0 | 0 | 0.0052 | 0.0001 | Dee
GB111067051890 Boundary | Llynor | 303359 | 338943 | 0.0311 | 0 | 0 | 0.0021 | 0 | Dee
GB111067051880 Boundary | Ceidiog | 302732 | 338277 | 0.5337 | 0.0066 | 0 | 0.0037 | 0 | Dee
GB111067051840 Boundary | Caletwr | 297286 | 335636 | 0.0001 | 0 | 0 | 0 | 0 | Dee
GB111067051960 Boundary | Meloch | 295148 | 336725 | 0.2774 | 0 | 0 | 0.0105 | 0.0002 | Dee
GB111067051860 Boundary | Hirnant | 294924 | 336645 | 0 | 0 | 0 | 0 | 0 | Dee
GB111067051820 Boundary | Glyn | 290130 | 332211 | 0.0154 | 0.0004 | 0 | 0 | 0 | Dee
GB111067046420 Boundary | Twrch | 288156 | 331230 | 2.1268 | 0.0082 | 0.0001 | 0.0123 | 0.0001 | Dee
GB111067051850 Boundary | Lliw | 287346 | 330741 | 0.2027 | 0 | 0 | 0.0037 | 0 | Dee
GB111067052000 Boundary | Hesgin | 289353 | 340076 | 0.3308 | 0 | 0 | 0.0119 | 0 | Dee
GB111067051980 Boundary | Tryweryn - Hesgi | 290561 | 339116 | 1.8648 | 0 | 0 | 0.0102 | 0.0001 | Dee
GB111067051990 Boundary | Mynach | 290588 | 339128 | 0.7108 | 0 | 0.0003 | 0.0194 | 0.0001 | Dee
GB111067051900 Boundary | Tryweryn - Dee t | 293364 | 335520 | 3.1969 | 0.0004 | 0 | 0.0112 | 0.0001 | Dee
GB111067052240 Boundary | Dee - Alwen to L | 306006 | 342520 | 10.393 | 0.0043 | 0.0001 | 0.0037 | 0.0001 | Dee
GB111067052070 Boundary | Camddwr | 306602 | 342989 | 0.5593 | 0 | 0.0006 | 0.033 | 0.0009 | Dee
GB111067052060 Boundary | Dee - Ceiriog to | 331740 | 339538 | 28.302 | 0.0071 | 0.0004 | 0.0056 | 0.0004 | Dee
GB111067051620 Boundary | Teirw | 319542 | 335902 | 0.1438 | 0 | 0 | 0.0178 | 0.0002 | Dee
GB111067051610 Boundary | Ceiriog - upstre | 319547 | 335896 | 1.1112 | 0.0022 | 0 | 0.0186 | 0.0002 | Dee
GB111067051600 Boundary | Morlas Brook | 331173 | 338354 | 0.9372 | 0 | 0.0006 | 0.0623 | 0.0044 | Dee
GB111067051910 Boundary | Ceiriog - conflu | 331761 | 339500 | 3.643 | 0.0058 | 0.0002 | 0.0122 | 0.0008 | Dee
GB111067051930 Boundary | Shell Brook | 335029 | 341172 | 0.6228 | 0.0099 | 0.0001 | 0.1613 | 0.0028 | Dee
GB111067052040 Boundary | Dungrey Brook | 340033 | 346366 | 0.7458 | 0 | 0 | 0.3203 | 0.009 | Dee
GB111067052140 Boundary | Henlake Brook | 341598 | 362860 | 2.4586 | 0.14997 | 0.00046341 | 1.2689 | 0.010001 | Dee
GB111067057080 Boundary | Dee - Chester We | 339771 | 366404 | 125.41 | 0.0245 | 0.0015 | 0.0253 | 0.0025 | Dee
GB111067052150 Boundary | Balderton drain | 337865 | 365316 | 12.47 | 0 | 0.0046337 | 1.1358 | 0.15739 | Dee
GB111067056930 Boundary | Finchetts Gutter | 333938 | 367671 | 6.9748 | 0.024845 | 0.013126 | 0.53058 | 0.22145 | Dee
GB111067052160 Boundary | Sandycroft Drain | 333850 | 367606 | 1.2615 | 0 | 0.0171 | 0.0474 | 0.0161 | Dee
GB111067056960 Boundary | Shotwick Brook | 331906 | 368931 | 1.921 | 0 | 0.013058 | 0.87153 | 0.12366 | Dee
GB111067056880 Boundary | Wepre Brook | 330276 | 369481 | 31.185 | 1.6593 | 0.035419 | 0.16625 | 0.062582 | Dee
GB111067056940 Boundary | Swinchiard Brook | 324320 | 373566 | 4.0577 | 0 | 0.0012367 | 0.86564 | 0.046986 | Dee
GB111067057050 Boundary | Unnamed Dee estu | 317949 | 379608 | 1.6131 | 0.08957 | 0.00026211 | 0.95547 | 0.029562 | Dee
GB111067057060 Boundary | New reach | 314271 | 382026 | 0.070924 | 0 | 5.3267e-05 | 0.070026 | 0.0011335 | Dee
GB110060029290 Boundary | Tywi - confluenc | 243187 | 220460 | 60.655 | 0.002165 | 4.1e-05 | 0.007076 | 0.000473 | Tywi
GB110060036250 Boundary | Tywi (Llandovery | 249977 | 220056 | 50.976 | 0.00243 | 6.5e-05 | 0.008889 | 0.000448 | Tywi
GB110060036350 Boundary | Tywi - conf with | 275293 | 232776 | 15.685 | 0.000188 | 0 | 0.01118 | 0.000582 | Tywi
GB110060029370 Boundary | Sawdde - conf wi | 269461 | 228087 | 14.572 | 0.004772 | 0 | 0.027986 | 0.000603 | Tywi
GB110060035950 Boundary | Bran - conf with | 275304 | 232756 | 13.269 | 0.015112 | 7.4e-05 | 0.016177 | 0.001555 | Tywi
GB110060036300 Boundary | Cothi - headwate | 249965 | 220080 | 11.651 | 0.003774 | 0 | 0.004027 | 0.000674 | Tywi
GB110060036180 Boundary | Bran - confluenc | 269586 | 228415 | 6.497 | 0.001208 | 0 | 0.029674 | 0.001765 | Tywi
GB110060036040 Boundary | Cothi - conf wit | 264177 | 236679 | 5.6111 | 0.00103 | 0 | 0.008738 | 0.000326 | Tywi
GB110060029340 Boundary | Sawdde - headwat | 273655 | 223467 | 5.5195 | 0.000545 | 0 | 0.041403 | 0.000368 | Tywi
GB110060029310 Boundary | Dulas - conf wit | 254499 | 220698 | 5.4235 | 0.01529 | 0 | 0.021732 | 0.001145 | Tywi
GB110060036090 Boundary | Twrch - headwate | 265515 | 240439 | 5.2135 | 0.001486 | 0 | 0.020137 | 0.00069 | Tywi
GB110060035970 Boundary | Bran - headwater | 278884 | 237170 | 4.4121 | 0.001347 | 0 | 0.011509 | 0.001268 | Tywi
GB110060029300 Boundary | Clydach - headwa | 273655 | 223446 | 4.3 | 0.00038 | 0 | 0.021829 | 0.000433 | Tywi
GB110060036220 Boundary | Bran - headwater | 272483 | 229130 | 4.2537 | 0.00212 | 0 | 0.029914 | 0.001698 | Tywi
GB110060029380 Boundary | Myddfi - headwat | 259750 | 222010 | 3.4603 | 0.012165 | 0 | 0.057893 | 0.001914 | Tywi
GB110060035940 Boundary | Gwydderig - head | 277057 | 234241 | 3.3907 | 0 | 0 | 0.029531 | 0.001009 | Tywi
GB110060036020 Boundary | Clydach - headwa | 254197 | 230614 | 3.2388 | 0 | 0 | 0.017369 | 0.003119 | Tywi
GB110060029350 Boundary | Annell - headwat | 246492 | 220702 | 2.8897 | 0.001255 | 0 | 0.049393 | 0.00764 | Tywi
GB110060036190 Boundary | Dulas - headwate | 256067 | 223249 | 2.8874 | 0.000159 | 0 | 0.036451 | 0.000894 | Tywi
GB110060036380 Boundary | Tywi - Llyn Bria | 277781 | 246660 | 2.8291 | 0 | 0 | 0.006117 | 8.4e-05 | Tywi
GB110060036240 Boundary | Ydw - headwaters | 272484 | 229134 | 2.6224 | 0 | 0 | 0.066773 | 0.002779 | Tywi
GB110060036200 Boundary | Sannan - headwat | 256056 | 223248 | 2.2785 | 0.044542 | 0 | 0.019219 | 0.002454 | Tywi
GB110060036320 Boundary | Dunant - headwat | 275819 | 238484 | 2.215 | 0 | 0 | 0.028155 | 0.001189 | Tywi
GB110060036340 Boundary | Gwenlais - headw | 275977 | 238773 | 2.0637 | 0.000935 | 0 | 0.021602 | 0.00056 | Tywi
GB110060036080 Boundary | Marlais - headwa | 264160 | 236646 | 1.9948 | 0.005065 | 0 | 0.01121 | 0.000493 | Tywi
GB110060035960 Boundary | Crychan - headwa | 278910 | 237165 | 1.2564 | 0 | 0 | 0.0111 | 0.001202 | Tywi
GB110060036260 Boundary | Ddu - headwaters | 264909 | 230360 | 1.2146 | 0.045402 | 0 | 2e-06 | 1.1e-05 | Tywi
GB110060036290 Boundary | Marlais - headwa | 269590 | 228899 | 1.1923 | 0 | 0 | 0.095705 | 0.050147 | Tywi
GB110060036310 Boundary | Mynys - headwate | 272515 | 231742 | 1.1244 | 0 | 0 | 0.016442 | 0.003353 | Tywi
GB110060036360 Boundary | Doethie - Pysgo | 277754 | 246657 | 1.1176 | 0 | 0 | 0.003819 | 0.000104 | Tywi
GB110060036210 Boundary | Dulais - conf wi | 264699 | 223999 | 0.91487 | 0.017519 | 0 | 9e-06 | 3.6e-05 | Tywi
GB110060036370 Boundary | Gwenffrwd - head | 276542 | 245106 | 0.88265 | 0 | 0 | 0.011207 | 6.8e-05 | Tywi
GB110060036330 Boundary | Dulais - headwat | 271783 | 231126 | 0.62513 | 0 | 0 | 0.021743 | 0.011972 | Tywi
GB110060029280 Boundary | Cennen - headwat | 263231 | 221806 | 0.59239 | 0.005188 | 0 | 0.020045 | 0.000714 | Tywi
GB110060036050 Boundary | Cothi - headwate | 265524 | 240429 | 0.47287 | 0.001418 | 0 | 0.001586 | 9.1e-05 | Tywi
GB110060036060 Boundary | Melinddwr - head | 262193 | 236090 | 0.46335 | 0 | 0 | 0.009059 | 0.000552 | Tywi
GB110060029040 Boundary | Cloidach - headw | 250899 | 222514 | 0.33053 | 0.007907 | 0 | 0.003135 | 0.000285 | Tywi
GB110060036000 Boundary | Marlais (Brechfa | 253529 | 230012 | 0.32517 | 0.003719 | 0 | 0.000505 | 8.8e-05 | Tywi
GB110060036070 Boundary | Annell - headwat | 264457 | 235562 | 0.30868 | 0.008301 | 0 | 0.006789 | 0.001139 | Tywi
GB110060036400 Boundary | Doethie - headwa | 276518 | 248275 | 0.20374 | 0 | 0 | 0.001498 | 0 | Tywi
GB110060036030 Boundary | Gorlech - headwa | 258552 | 233583 | 0.15822 | 0.005517 | 0 | 0 | 0 | Tywi
GB110060036390 Boundary | Pysgotwr Fawr - | 276511 | 248268 | 0.14304 | 0 | 0 | 0.000985 | 1.6e-05 | Tywi
GB110060035990 Boundary | Pib - headwaters | 252651 | 230219 | 0.056322 | 0 | 0 | 0.000617 | 8e-05 | Tywi
GB110060036230 Boundary | Dulais - headwat | 264901 | 230348 | 0.000189 | 0 | 0 | 3.6e-05 | 0 | Tywi
GB110065053960 Boundary | Glaslyn - upstre | 259138 | 348100 | 0.73516 | 0.001548 | 0.000305 | 0.000356 | 2.4e-05 | Meironydd Oakwoods
GB110065053950 Boundary | Colwyn | 259131 | 348098 | 0.27164 | 0 | 0 | 0.001827 | 7.5e-05 | Meironydd Oakwoods
GB110065053910 Boundary | Glaslyn - Nanmor | 259528 | 343793 | 2.8534 | 0.006145 | 0.000205 | 0.000424 | 2.6e-05 | Meironydd Oakwoods
GB110065053930 Boundary | Nanmor | 259532 | 343792 | 0.18318 | 0 | 0 | 0.004261 | 0.000696 | Meironydd Oakwoods
GB110065053890 Boundary | Croesor | 259201 | 343263 | 0.82098 | 0.003516 | 1.2e-05 | 0.006662 | 0.000685 | Meironydd Oakwoods
GB110065053840 Boundary | Gaseg - upper | 259838 | 341137 | 0.43136 | 0.022247 | 8.3e-05 | 0.002563 | 0.000421 | Meironydd Oakwoods
GB110065053810 Boundary | Glaslyn estuary | 259127 | 340663 | 0.03812 | 0 | 0 | 0.004756 | 0.000765 | Meironydd Oakwoods
GB110065053860 Boundary | Glaslyn - tidal | 257250 | 338565 | 5.598 | 0.006821 | 0.000143 | 0.002152 | 0.00023 | Meironydd Oakwoods
GB110064048710 Boundary | Mawddach - lower | 271816 | 319319 | 4.4242 | 0.001697 | 1.1e-05 | 0.002475 | 3e-05 | Eden
GB110064054630 Boundary | Eden - upper | 271110 | 328989 | 0.86094 | 0.014726 | 0.000104 | 0.001344 | 0.000154 | Eden
GB110064054610 Boundary | Crawcwellt South | 271094 | 328982 | 0.25076 | 0 | 0 | 0.002101 | 4.6e-05 | Eden
GB110064048750 Boundary | Eden - lower | 272821 | 324707 | 1.0141 | 0.004792 | 3.3e-05 | 0.001226 | 6.4e-05 | Eden
GB110064054620 Boundary | Mawddach - upper | 273559 | 327393 | 1.8182 | 0 | 0 | 0.006949 | 4.9e-05 | Eden
GB110064054640 Boundary | Gain | 273546 | 327383 | 1.6991 | 0 | 0 | 0.009551 | 4.3e-05 | Eden
GB110064048730 Boundary | Mawddach - middl | 272835 | 324708 | 3.4564 | 0 | 0 | 0.006922 | 5.6e-05 | Eden
GB110064048720 Boundary | Gamlan | 272755 | 324269 | 0.20004 | 0 | 0 | 0.001644 | 2.9e-05 | Eden
GB110064048740 Boundary | Wen (Mawddach) | 273354 | 322503 | 0.000472 | 0 | 0 | 6e-06 | 0 | Eden
GB110065054191 Boundary | Gwyrfai - upstre | 255416 | 355381 | 0.13116 | 0.000515 | 0 | 0.000974 | 3.1e-05 | Gwyrfai
GB110065054190 Boundary | Gwyrfai - downst | 246421 | 359439 | 3.7524 | 0.017616 | 0.000109 | 0.002126 | 0.00022 | Gwyrfai